## Protection Kits
Part Number | Manufacturer | Price | Description | Application Level | Applications | Base Product Number | Capacitance @ Frequency | Current - Peak Pulse (10/1000 µs) | Kit Contents | Kit Type | Length/Width/Height | Moisture Sensitivity Level (MSL) | Mounting Type | Mounting Type | Operating Temperature | Operating Temperature | Overload Protection | Package/Case | Packaging | Power - Peak Pulse | Power Line Protection | Rid | RoHS | Series | Supplier Device Package | Voltage-Input | Voltage - Breakdown (Min) | Voltage - Clamping (Max) @Ipp | Voltage - Reverse Standoff (Typ) | datasheet | Stock | Datasheet URL | Source URL
1018366 | PHOENIX CONTACT | 1: 1273.8759 10: 1246.7722 | Phoenix Contact 1+2 Class Combination Surge Protector, SYS-SET/7 | [27 empty] | 100 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/kits/1018366/20858803.html
106133 PKZ0-XRH | EATON | 1: 109.9094 | Eaton Door Operator Handle, Moeller Series, For EN60204 NA Circuit Breaker | [27 empty] | 10 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/kits/106133-pkz0-xrh/31965709.html
1SDA054841R1 WMP T4 3P | ABB | 1: 273.7136 | ABB Conversion Kit, Conversion Kit for Tmax T | [27 empty] | 2 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/kits/1sda054841r1-wmp-t4-3p/13737534.html
2800116 | PHOENIX CONTACT | 1: 536.9245 10: 525.5006 | Phoenix Contact 1+2 Class Surge Protector FLT-PLUS Series Max Surge Current 50kA | Industrial | [6 empty] | 35.5mm*35.5mm*150mm |  | DIN rail mounting |  | -40℃~85℃ | [7 empty] | Non-compliant | [6 empty] | 2800116 PHOENIX CONTACT | 100 | https://www.unikeyic.com/media/datasheet/6e/4f/2de1/6e/8678cddd2939bd6a04069b9abc8d7f4b.pdf | https://www.unikeyic.com/products/kits/2800116/12552172.html
2905414 | PHOENIX CONTACT | 1: 382.91 4: 365.497 | Phoenix Contact Type 1+2 Surge Protector, FLT-SEC-P-T1-1C-350/25-FM | [8 empty] | Not Applicable |  | DIN Rail |  |  | Fuse Holder |  | Bulk |  |  |  |  | FLT |  | 240V |  |  |  |  | 4 | https://www.unikeyic.com/media/datasheet/17/6c/60b6/17/f4be60302888819e74b5c9ae333e4c16.pdf | https://www.unikeyic.com/products/kits/2905414/11868129.html
2905415 | PHOENIX CONTACT | 1: 715.867 5: 715.867 10: 715.867 | Phoenix,1+2Combined Surge Protector Type,FLT-SEC-P-T1-1S-350/25-FM,Type 2 Surge Protection Device | [8 empty] | Not Applicable |  | DIN Rail |  |  | Fuse Holder |  | Bulk |  |  | 7808885 |  | FLT |  | 240V |  |  |  |  | 2 | https://www.unikeyic.com/media/datasheet/e2/f2/468c/e2f2468c8cda5b12c792dc73ffc9922e.pdf | https://www.unikeyic.com/products/kits/2905415/12662929.html
2905419 | PHOENIX CONTACT | 1: 1899.9428 | Phoenix Contact FLT-SEC-P-T1-3C-350/25-FM Class 1+2 Surge Protector, Plug-in | [8 empty] | Not Applicable |  | DIN Rail |  |  | Fuse Holder |  | Bulk |  |  |  |  | FLT |  | 240V, 415V |  |  |  |  | 4 | https://www.unikeyic.com/media/datasheet/c1/90/b8c1/c1/0f2d934cf3526ce08308fa24ea1cb700.pdf | https://www.unikeyic.com/products/kits/2905419/1433019.html
2905421 | PHOENIX CONTACT | 1: 1741.6979 5: 1741.6979 10: 1741.6979 | Phoenix Contact FLT-SEC-P-T1-3S-350/25-FM Class 1+2 Combination Surge Suppressor, Plug-In | [8 empty] | Not Applicable |  | DIN Rail |  |  | Fuse Holder |  | Bulk |  |  |  |  | FLT |  | 240V, 415V |  |  |  |  | 2 | https://www.unikeyic.com/media/datasheet/29/aa/b858/29/e927b7acc02219dddd9ac0114df723c9.pdf | https://www.unikeyic.com/products/kits/2905421/12019814.html
2905472 | PHOENIX CONTACT | 1: 358.0979 | Phoenix Contact 1+2 Class Surge Protector, FLT-SEC-P-T1-N/PE-350/100-FM | [8 empty] | Not Applicable |  | DIN Rail |  |  | None |  | Bulk |  |  | 7808896 |  | FLT |  | 240V |  |  |  |  | 1 | https://www.unikeyic.com/media/datasheet/89/67/f625/8967f62578b75647623024e095a79aa8.pdf | https://www.unikeyic.com/products/kits/2905472/12017747.html
2905987 | PHOENIX CONTACT | 1: 682.2336 | Phoenix Contact 1+2 Class Combination Surge Protector, FLT-SEC-P-T1-1C-440/35-FM, Plug-In Lightning Suppressor | [8 empty] | 1 (Unlimited) |  | DIN Rail |  |  | Fuse Holder |  | Bulk |  |  |  |  | FLT |  | - |  |  |  |  | 7 | https://www.unikeyic.com/media/datasheet/7e/13/f17f/7e13f17f6aa2b302a8063ec8300bde52.pdf | https://www.unikeyic.com/products/kits/2905987/12227639.html
2905988 | PHOENIX CONTACT | 1: 1300.1075 | Phoenix,1+2Combined Surge Protector Type,FLT-SEC-P-T1-3C-440/35-FM, | [8 empty] | 1 (Unlimited) |  | DIN Rail |  |  | Fuse Holder |  | Bulk |  |  |  |  | FLT |  | - |  |  |  |  | 2 | https://www.unikeyic.com/media/datasheet/63/d3/9736/63d39736f2d0b3bf042859b54b741b9a.pdf | https://www.unikeyic.com/products/kits/2905988/12899945.html
2907262 | PHOENIX CONTACT | 1: 406.9346 10: 398.2764 | Phoenix Contact FLT-SEC-P-T1-N/PE-440/100-FM Surge Protector, Type 1+2 Combo, FLT Series, Single Phase | Industrial | [6 empty] | 95.2mm*35.6mm*95.2mm |  | DIN rail mounting |  | -40℃~80℃ | [15 empty] | 100 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/kits/2907262/1191924.html
2907390 | PHOENIX CONTACT | 1: 2190.5256 10: 2143.9187 | Phoenix Contact 1+2 Class Surge Protector, FLT-SEC-P-T1-3C-264/50-FM, FLT Series, 3-Phase | Industrial | [6 empty] | 74.5mm*106.8mm*95.2mm |  | DINRail installation, threaded mounting |  | -40℃~80℃ | [14 empty] | 2907390 PHOENIX CONTACT | 100 | https://www.unikeyic.com/media/datasheet/07/28/d45f/0728d45f62b04907234d92ff1e93bf41.pdf | https://www.unikeyic.com/products/kits/2907390/12077452.html
2908264 | PHOENIX CONTACT | 1: 3338.9249 | Phoenix,1+2Combined Surge Protector Type,FLT-SEC-P-T1-3S-440/35-FM,surge protector, FLT series, 3 Mutually | [10 empty] | DIN Rail |  |  | Fuse Holder |  | Bulk |  |  |  |  | - |  | - |  |  |  |  | 8 | https://www.unikeyic.com/media/datasheet/e4/38/6d57/e4386d576ad1a5ce9a6900e2df9f0f29.pdf | https://www.unikeyic.com/products/kits/2908264/1454348.html
2909589 | PHOENIX CONTACT | 1: 2813.1401 10: 2753.286 | Phoenix Contact, Type 1+2 Surge Protector, FLT-SEC-P-T1-3S-264/50-FM | [9 empty] | DIN rail mounting | [17 empty] | 100 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/kits/2909589/906843.html
2910495 | PHOENIX CONTACT | 1: 252.757 10: 247.3792 | Phoenix,1+2Combined Surge Protector Type,FLT-EE-T1-1+0-264/25, | [27 empty] | 100 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/kits/2910495/32796381.html
2910496 | PHOENIX CONTACT | 1: 286.4565 10: 280.3617 | Phoenix Contact Type 1+2 Surge Protector FLT-EE-T1-1+0-264/50 | [27 empty] | 100 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/kits/2910496/27885907.html
2910497 | PHOENIX CONTACT | 1: 252.757 10: 247.3792 | Phoenix Contact 1+2 Class Combination Surge Protector, FLT-EE-T1-N/PE-264/100 | [27 empty] | 100 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/kits/2910497/31746545.html
2CCA183441R0001 ZLS919 | ABB | 1: 173.2519 | ABB Terminal Block Kit, ZLS Series, for SMISSLINE TP System | [27 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/kits/2cca183441r0001-zls919/26376780.html
2CDS200918R0001 S2C-Nt | ABB | 1: 34.6052 | ABB Manual Neutral, Mounting Kit for S200, S200M, S200P, S200S Series MCB | [27 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/kits/2cds200918r0001-s2c-nt/18120781.html
8GK4501-5KK32 | SIEMENS | 1: 189.1805 | [28 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/kits/8gk4501-5kk32/999413753.html
A-2130 | Amphenol | 1: 223.267 5: 219.2076 10: 219.2076 | Inrush Current Limiter Kit |  |  | A-213 |  |  | 160 Pieces - 32 Values (5 Each) | Inrush Current Limiters (ICL) |  | 1 (Unlimited) | [6 empty] | Box |  |  |  |  | - | [6 empty] | 17 | https://www.unikeyic.com/media/datasheet/b1/02/2164/b1/5cc71567562a182fdee9d05fa0232c2e.pdf | https://www.unikeyic.com/products/kits/a-2130/12333037.html
A9V6E225 | Schneider Electric | 1: 891.9777 | Schneider Electric A9V6E225 Miniature Circuit Breaker (MCB) | [27 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/kits/a9v6e225/1001185803.html
A9Y6E640 | Schneider Electric | 1: 878.7799 | Schneider Electric A9Y6E640 Miniature Circuit Breaker (MCB) | [27 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/kits/a9y6e640/1001178346.html
ABB1SDA075922R1 | ABB | 1: 32.2814 | ABB Partition, Mounting Kit for XT1-XT3 | [27 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/kits/abb1sda075922r1/9202207.html
AK5PA212N1 | Schneider Electric | 1: 43.462 | Schneider Electric AK5PA212N1 Installation plate | [27 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/kits/ak5pa212n1/1000619778.html
B57127P-KIT | TDK | 1: 110.1658 | (ICL) - 60 piece - 6 | [5 empty] | 60 pcs - 6 values | Inrush Current Limiters (ICL) |  | 1 (Unlimited) | [6 empty] | Case |  |  | 5813096 |  | P27 | [6 empty] | 4 | https://www.unikeyic.com/media/datasheet/9f/d9/ba7f/9fd9ba7fbbed781f88e5f842dc57265c.pdf | https://www.unikeyic.com/products/kits/b57127p-kit/1232198.html
B57127P0100M301 | TDK | 10: 2.4614 25: 2.2054 50: 2.166 200: 2.166 | EPCOS NTC Thermistor B57127P0***M301 Series 10Ω ±20% at 25°C | Commercial Grade | [6 empty] | 31mm*7mm*7mm |  | threaded mounting |  | 0℃~65℃ | [7 empty] | Compliant | [6 empty] | B57127P0100M301 TDK | 4459 | https://www.unikeyic.com/media/datasheet/be/15/df03/be15df03a1beab4d39184039c1c3273a.pdf | https://www.unikeyic.com/products/kits/b57127p0100m301/12630769.html
B57127P0508M301 | TDK | 10: 2.3249 50: 2.2834 200: 2.2834 400: 2.2419 800: 2.2419 | EPCOS NTC Thermistor B57127P0***M301 Series, 500mΩ @ 25°C, ±20% | Commercial Grade | [6 empty] | 31mm*7mm*7mm |  | threaded mounting |  | 0℃~65℃ | [7 empty] | Compliant | [6 empty] | B57127P0508M301 TDK | 713 | https://www.unikeyic.com/media/datasheet/59/5d/4e4d/59/6a601aa1c06c226ef0269294fff0b013.pdf | https://www.unikeyic.com/products/kits/b57127p0508m301/12794358.html
B57127P0509M301 | TDK | 10: 1.9788 50: 1.8139 200: 1.8139 400: 1.7809 800: 1.7809 | EPCOS NTC Thermistor B57127P0***M301 Series, 5Ω @ 25°C, ±20% | Commercial Grade | [6 empty] | 31mm*7mm*7mm |  | threaded mounting |  | 0℃~65℃ | [7 empty] | Compliant | [6 empty] | B57127P0509M301 TDK | 1868 | https://www.unikeyic.com/media/datasheet/06/02/3406/06/8d0d9f59e00e14a0152042bea858e0b5.pdf | https://www.unikeyic.com/products/kits/b57127p0509m301/1206120.html
B72499A9999K199 | TDK | 4: 33.297 9: 31.966 | Circuit Protection Kits Chip Varistors / Ceramic Transient Voltage Suppressors Sample Kit E series | [19 empty] | Non-compliant | [6 empty] | B72499A9999K199 TDK | 11 | https://www.unikeyic.com/media/datasheet/93/aa/dd29/93/dd1ce27436280382f9a617a85b746b3d.pdf | https://www.unikeyic.com/products/kits/b72499a9999k199/533040.html
CD-LAB10 | BOURNS | 1: 79.9308 10: 69.4192 | Discrete TVS Diode Design Kit, 5kW, SMC Package | [6 empty] | ESD Protection |  | 1 (Unlimited) |  | Surface Mount |  |  |  |  | Case |  |  | 9826662 |  | 5.0SMDJ | [6 empty] | 2 | https://www.unikeyic.com/media/datasheet/6e/db/7ed8/6e/0e30ed59d1387556f93a257fabf70729.pdf | https://www.unikeyic.com/products/kits/cd-lab10/514781.html
EBB-KP | NVENT ERIFLEX | 1: 12.4938 | Kit de montage pour barre de mise a la t | [27 empty] | 31 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/kits/ebb-kp/725938347.html
NO.140 | EATON | 1: 775.0155 3: 771.2355 5: 732.6795 | BUSS ASSORTMENT | [8 empty] | Not Applicable | [6 empty] | Bulk |  |  | 5441666 |  | * | [6 empty] | 1 | https://www.unikeyic.com/media/datasheet/41/3a/9f1e/41/d7072a3bc5d21347bd80206fe6427c6d.pdf | https://www.unikeyic.com/products/kits/no-140/434966.html
PLED6N | Littelfuse | 1: 0.1471 | PLED Open LED Protector 1500mW |  | LED Protection | [6 empty] | 1 (Unlimited) |  | Surface Mount |  |  |  | SOD-123F | [5 empty] | PLED® | SOD-123F | [5 empty] | 335940 | https://www.unikeyic.com/media/datasheet/95/73/c077/9573c077a629e53c043c709315891bd3.pdf | https://www.unikeyic.com/products/kits/pled6n/841187.html
TESD5V0V4UA RDG | Taiwan Semiconductor | 3,000: 0.122 9,000: 0.105 | ESD Suppressor Diode Diode Array Uni-Dir 5V 10-Pin DSON T/R |  | General Purpose | TESD5 | 0.5pF @ 1MHz | 5A (8/20µs) |  |  |  | 1 (Unlimited) |  | Surface Mount |  | -55°C ~ 125°C (TJ) |  | 10-UFDFN |  | 95W | Yes |  |  | - | 2510P10 |  | 6V | 19V | 5V (Max) |  | 19472 | https://www.unikeyic.com/media/datasheet/13/56/318f/13/77adde25073f657ae1e1f4851ef1a2f4.pdf | https://www.unikeyic.com/products/kits/tesd5v0v4ua-rdg/12850947.html
TESD5V0V4UCX6 RFG | Taiwan Semiconductor | 3,000: 0.1022 9,000: 0.0875 | ESD Suppressor Diode Array Uni-Dir 5V 6-Pin SOT-26 T/R |  | General Purpose | TESD5 | 0.6pF @ 1MHz | 5A (8/20µs) |  |  |  | 1 (Unlimited) |  | Surface Mount |  | -55°C ~ 150°C (TJ) |  | SOT-23-6 |  | 75W | Yes |  |  | - | SOT-26 |  | 6V | 15V | 5V (Max) |  | 96000 | https://www.unikeyic.com/media/datasheet/33/2d/3c42/33/f778fa7d168fb664b9ce7580dc9a27e0.pdf | https://www.unikeyic.com/products/kits/tesd5v0v4ucx6-rfg/12329031.html
TESDU12V RGG | Taiwan Semiconductor | 4,000: 0.1406 12,000: 0.1221 | ESD Suppressor Diode TVS Bi-Dir 12V 2-Pin 0603(1608Metric) T/R |  | USB |  | 12pF @ 1MHz | 5A |  |  |  | 1 (Unlimited) |  | Surface Mount |  | -55°C ~ 150°C (TJ) |  | 0603 (1608 Metric) |  | 25W | No | 16269949 |  | - | 0603 |  | 13V | 33V | 12V |  | 15313 | https://www.unikeyic.com/media/datasheet/4e/4e/a8f2/4e4ea8f2cba847ef4a79cdeb697d08e7.pdf | https://www.unikeyic.com/products/kits/tesdu12v-rgg/12435811.html
TESDU5V0 RGG | Taiwan Semiconductor | 4,000: 0.1096 12,000: 0.0947 | ESD Suppressor Diode TVS Bi-Dir 5V 2-Pin Case 0603(1608Metric) T/R |  | USB |  | 15pF @ 1MHz | 5A |  |  |  | 1 (Unlimited) |  | Surface Mount |  | -55°C ~ 150°C (TJ) |  | 0603 (1608 Metric) |  | 75W | No | 16269941 |  | - | 0603 |  | 5.1V | 15V | 5V |  | 9671 | https://www.unikeyic.com/media/datasheet/4e/4e/a8f2/4e4ea8f2cba847ef4a79cdeb697d08e7.pdf | https://www.unikeyic.com/products/kits/tesdu5v0-rgg/12753709.html