## Power Distribution Blocks
Part Number | Manufacturer | Price | Description | Base Product Number | Current Rating (Amps) | Datasheet | Length/Width/Height | Line Side Connections Per Pole | Line Side Connection Type | Line Side Wire / Stud Size | Load Side Connections Per Pole | Load Side Connection Type | Load Side Wire / Stud Size | Moisture Sensitivity Level (MSL) | Mounting Type | Number of Poles | Packaging | Positions/Poles | Rid | SPM | Series | Voltage-Rated | Width | Wire Gauge | Stock | Datasheet URL | Source URL
0LD2570-3ZXDIN | Littelfuse | 1: 126.1707 10: 94.3884 25: 86.6867 50: 82.2541 100: 78.7821 | Box Lug Connector 600V |  | 175 A |  |  | 1 | Screw Connection | 2/0 - #14CU/AL | 4 | Screw Connection | 4 - #14CU/AL | 1 (Unlimited) |  | 3 | Bulk |  |  |  | POWR-BLOKS® LD | 600 V |  |  | 244 | https://www.unikeyic.com/media/datasheet/d0/67/5535/3c/cb97e0765c4cc0995004205ab3b3c0e8.pdf | https://www.unikeyic.com/products/power-distribution-blocks/0ld2570-3zxdin/16916701.html
0LD2580-3ZXDIN | Littelfuse | 1: 122.8864 5: 122.8864 10: 120.6521 25: 120.6521 50: 120.6521 100: 120.6521 | Box Lug Connectors 600V |  | 175 A |  |  | 1 | Screw Connection | 2/0 - #14CU/AL | 6 | Screw Connection | 4 - #14CU/AL | 1 (Unlimited) |  | 3 | Bulk |  | 2517923 |  | POWR-BLOKS® LD | 600 V |  |  | 4 | https://www.unikeyic.com/media/datasheet/d0/67/5535/3c/cb97e0765c4cc0995004205ab3b3c0e8.pdf | https://www.unikeyic.com/products/power-distribution-blocks/0ld2580-3zxdin/20389757.html
1003260000 | Weidmüller | 1: 455.5548 10: 358.8624 25: 336.7056 | FP BOX ON/OFF | [16 empty] | bulk |  |  |  |  | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1003260000/31509561.html
1126840000 | Weidmüller | 1: 26.975 | PT6 DC |  |  | 1126840000 Weidmüller | [13 empty] | bulk |  |  |  |  | 4 | https://www.unikeyic.com/media/datasheet/0d/60/c672/0d60c672bdf722a6b2ca065ecf88d422.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1126840000/829429.html
11725-2 | EATON | 1: 92.8512 | Conn Distribution Terminal Block F 2 POS 17.3mm Screw Cable Mount 70A |  | 70 A |  |  | 1 | Screw Connection | 2-8 AWG AL; 2-14 AWG CU | 4 | 1/4" Quick Connects | - | Not Applicable |  | 2 | Bulk |  | 2173091 |  | Magnum® 11725 | 600 V |  |  | 76 | https://www.unikeyic.com/media/datasheet/0c/ba/a474/0c/7a4d941ce11d98ad3e31fd8104d86853.pdf | https://www.unikeyic.com/products/power-distribution-blocks/11725-2/34937508.html
11725-3 | EATON | 96: 111.3987 | Conn Distribution Terminal Block F 3 POS 17.3mm Screw Cable Mount 70A |  | 70 A |  |  | 1 | Screw Connection | 2-8 AWG AL; 2-14 AWG CU | 4 | 1/4" Quick Connects | - | Not Applicable |  | 3 | Bulk |  |  |  | Magnum® 11725 | 600 V |  |  | 129 | https://www.unikeyic.com/media/datasheet/0c/ba/a474/0c/7a4d941ce11d98ad3e31fd8104d86853.pdf | https://www.unikeyic.com/products/power-distribution-blocks/11725-3/13655240.html
11725-4 | EATON | 96: 102.225 | Conn Distribution Terminal Block F 4 POS 17.3mm Screw Cable Mount 70A |  | 70 A |  |  | 1 | Screw Connection | 2-8 AWG AL; 2-14 AWG CU | 4 | 1/4" Quick Connects | - | Not Applicable |  | 4 | Bulk |  |  |  | Magnum® 11725 | 600 V |  |  | 500 | https://www.unikeyic.com/media/datasheet/0c/ba/a474/0c/7a4d941ce11d98ad3e31fd8104d86853.pdf | https://www.unikeyic.com/products/power-distribution-blocks/11725-4/4321690.html
1405387 | PHOENIX CONTACT | 1: 268.779 | Phoenix Power Connectors power distributor, VS-PPC-J-4X-1227series, surface, 16A |  | 16 A |  |  | 1 | Terminal Blocks | - | 1 | Terminal Blocks | - | 1 (Unlimited) |  | 5 | Bulk |  | 4458166 |  | - | 24 V |  |  | 4 | https://www.unikeyic.com/media/datasheet/ac/8e/fde1/ac/ae075ff8f3f827db3f1303f894b6bd3d.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1405387/33612877.html
1534930000 | Weidmüller | 1: 70.2466 5: 68.9922 10: 67.7378 25: 67.7378 50: 67.7378 100: 67.7378 | TB, POWER DISTRIBUTION, 1POS, 14-10AWG; | [16 empty] | bulk |  |  |  |  | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1534930000/28279425.html
1561910000 | Weidmüller | 3: 22.3152 | Weidmüller Junction box, 6road, 100A |  |  | 1561910000 Weidmüller | 30.2mm*49mm*55.4mm | [12 empty] | bulk |  |  |  |  | 141 | https://www.unikeyic.com/media/datasheet/0a/11/5265/0a/8f3880a2305dd89b124b8b00366dbd46.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1561910000/5976270.html
1561920000 | Weidmüller | 3: 22.1748 | Weidmüller Junction box, 6road, 100A |  |  | 1561920000 Weidmüller | 49mm*30.2mm*55.4mm | [12 empty] | bulk |  |  |  |  | 129 | https://www.unikeyic.com/media/datasheet/cb/9f/c264/cb/76ba4b993c4131edee4a8604aa2bdd5a.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1561920000/24414728.html
1562000000 | Weidmüller | 1: 30.5496 5: 30.5496 10: 30.004 25: 29.4585 50: 29.4585 100: 29.4585 | TB, POWER DISTRIBUTION, 1POS, 25MM2; Rated Current:101A; Rated Voltage:1kV; No. of Poles:1 Pole; Line Side Connections Per Pole:2; Line Side Connection Method:Screw; Line Side Wire Size Max:-; Load Side |  |  | 1562000000 Weidmüller | [13 empty] | bulk |  |  |  |  | 6 | https://www.unikeyic.com/media/datasheet/73/0d/62ec/730d62ec3e22b0934c88efb982f8d723.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1562000000/28868263.html
1562090000 | Weidmüller | 1: 111.1174 5: 111.1174 10: 109.0971 25: 109.0971 | Weidmüller Junction box, 9road, 353A , 350 AWGWire specification |  |  | 1562090000 Weidmüller | 52.6mm*67mm*94mm | [17 empty] | 5 | https://www.unikeyic.com/media/datasheet/03/7e/15a5/03/284dfce8b180a9eae155d708c113b9c5.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1562090000/20012568.html
1562100000 | Weidmüller | 1: 99.9227 | Weidmüller Junction box, 9road, 250A , 4 AWGWire specification |  |  | 1562100000 Weidmüller | 52.5mm*67mm*94mm | [17 empty] | 41 | https://www.unikeyic.com/media/datasheet/b9/02/0b71/b9/888def4c2184b206c150364ef77f9e25.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1562100000/20238973.html
1562170000 | Weidmüller | 1: 53.7333 5: 52.7738 10: 52.7738 25: 51.8143 50: 51.8143 | Weidmüller Junction box, 5road, 125A , 12 → 2 AWGWire specification |  |  | 1562170000 Weidmüller | 37.1mm*53.7mm*70mm | [7 empty] | DIN rail mounting |  |  |  |  | bulk |  |  |  |  | 14 | https://www.unikeyic.com/media/datasheet/70/24/6d9e/70/2570649c22ca75bb5dfcd2e723a9dd59.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1562170000/8656137.html
1562210000 | Weidmüller | 1: 56.6512 | Weidmuller Junction box, 5road, 192A , 10 AWGWire specification |  |  | 1562210000 Weidmüller | 41mm*50.4mm*74.5mm | [12 empty] | bulk |  |  |  |  | 53 | https://www.unikeyic.com/media/datasheet/3c/a3/bfaa/3c/85851d842a03fc794db7d33d2255959b.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1562210000/32157464.html
1562220000 | Weidmüller | 1: 69.1014 | Weidmuller Junction box, 8road, 192A , 6 AWGWire specification |  |  | 1562220000 Weidmüller | 52.5mm*54.5mm*73mm | [12 empty] | bulk |  |  |  |  | 64 | https://www.unikeyic.com/media/datasheet/78/8d/9c58/78/9dc55d73fc28c1730ab21e062408789f.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1562220000/32253050.html
16000-4 | EATON | 1: 313.2 10: 218.3976 | Conn Barrier Strip 4 POS Screw ST Panel Mount |  |  |  |  | 1 | Screw Connection | 2/0 - #8CU/AL | 1 | Screw Connection | 2/0 - #8CU/AL | Not Applicable |  | 4 | Bulk |  | 1875170 |  | PDB | 600 V |  |  | 9 | https://www.unikeyic.com/media/datasheet/3a/6e/942d/3a6e942d8f6143d06d3a1d954566360e.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16000-4/23946709.html
16005-4 | EATON | 1: 402.2028 3: 387.219 5: 373.5585 | Conn Barrier Strip 4 POS Screw ST Panel Mount |  |  |  |  | 1 | Screw Connection | 350MCM (kcmil) - #6CU/AL | 1 | Screw Connection | 350MCM (kcmil) - #6CU/AL | Not Applicable |  | 4 | Bulk |  | 1875173 |  | PDB | 600 V |  |  | 5 | https://www.unikeyic.com/media/datasheet/3a/6e/942d/3a6e942d8f6143d06d3a1d954566360e.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16005-4/17349431.html
16021-2 | EATON | 1: 257.0616 5: 242.613 10: 221.067 20: 197.3895 50: 178.836 100: 178.3845 | Conn Barrier Strip 2 POS Screw ST Panel Mount |  | 175 A |  |  | 1 | Screw Connection | 2/0 - #14CU; 2/0 - #8AL | 6 | Screw Connection | #4 - #14CU; 4 - #8AL | Not Applicable |  | 2 | Bulk |  | 1645047 |  | Magnum® 160 | 600 V |  |  | 8 | https://www.unikeyic.com/media/datasheet/40/e7/0ce3/40/8bccb03f80062279b65621af9b89788b.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16021-2/21564900.html
16021-3 | EATON | 1: 220.02 | Conn Barrier Strip 3 POS Screw ST Panel Mount |  | 175 A |  |  | 1 | Screw Connection | 2/0 - #14CU; 2/0 - #8AL | 6 | Screw Connection | #4 - #14CU; 4 - #8AL | Not Applicable |  | 3 | Bulk |  | 1645048 |  | Magnum® 160 | 600 V |  |  | 158 | https://www.unikeyic.com/media/datasheet/40/e7/0ce3/40/8bccb03f80062279b65621af9b89788b.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16021-3/8574664.html
16021-4 | EATON | 1: 472.0464 3: 454.461 5: 418.6245 | Conn Barrier Strip 4 POS Screw ST Panel Mount |  | 175 A |  |  | 1 | Screw Connection | 2/0 - #14CU; 2/0 - #8AL | 6 | Screw Connection | #4 - #14CU; 4 - #8AL | Not Applicable |  | 4 | Bulk |  | 1645049 |  | Magnum® 160 | 600 V |  |  | 6 | https://www.unikeyic.com/media/datasheet/40/e7/0ce3/40/8bccb03f80062279b65621af9b89788b.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16021-4/1686175.html
16023-2 | EATON | 1: 398.142 10: 309.474 24: 286.524 | Conn Barrier Strip 2 POS Screw ST Panel Mount |  | 310 A |  |  | 1 | Screw Connection | 350MCM (kcmil) - #6CU/AL | 6 | Screw Connection | #4 - 14CU; #4 - #12AL | Not Applicable |  | 2 | Bulk |  | 1645050 |  | Magnum® 160 | 600 V |  |  | 13 | https://www.unikeyic.com/media/datasheet/40/e7/0ce3/40/8bccb03f80062279b65621af9b89788b.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16023-2/24866667.html
16200-3 | EATON | 1: 86.086 5: 75.9672 10: 71.799 25: 66.3075 50: 66.1395 100: 64.6695 250: 62.3805 | Conn Barrier Strip 3 POS 20.57mm Screw ST Panel Mount |  | 115 A |  |  | 1 | Screw Connection | 2-8 AWG AL; 2-14 AWG CU | 1 | Screw Connection | 2-8 AWG AL, 2-14 AWG CU | Not Applicable |  | 3 | Bulk |  | 5449644 |  | PDB | 600 V |  |  | 3 | https://www.unikeyic.com/media/datasheet/3a/6e/942d/3a6e942d8f6143d06d3a1d954566360e.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16200-3/1528255.html
16201-2 | EATON | 1: 155.304 10: 105.8076 24: 103.1616 48: 100.4184 | Barrier Strip Connector 2 POS 20.57mm Screw ST Panel Mount |  | 150 A |  |  | 1 | Screw Connection | 1/0-#14CU | 1 | Screw Connection | 1/0-#14CU | Not Applicable |  | 2 | Bulk |  | 5449646 |  | PDB | 600 V |  |  | 4 | https://www.unikeyic.com/media/datasheet/3a/6e/942d/3a6e942d8f6143d06d3a1d954566360e.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16201-2/56512.html
16201-3 | EATON | 1: 155.4336 5: 139.839 10: 133.8435 20: 128.3415 50: 124.9185 100: 123.2805 | Conn Barrier Strip 3 POS 20.57mm Screw ST Panel Mount |  | 150 A |  |  | 1 | Screw Connection | 1/0-#14CU | 1 | Screw Connection | 1/0-#14CU | Not Applicable |  | 3 | Bulk |  | 5449647 |  | PDB | 600 V |  |  | 24 | https://www.unikeyic.com/media/datasheet/3a/6e/942d/3a6e942d8f6143d06d3a1d954566360e.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16201-3/34744390.html
16204-1 | EATON | 48: 59.712 | Conn Barrier Strip 1 POS Screw ST Panel Mount |  | 175 A |  |  | 1 | Screw Connection | 2/0 - #8CU/AL | 1 | Screw Connection | 2/0 - #8CU/AL | Not Applicable |  | 1 | Bulk |  |  |  | PDB | 600 V |  |  | 48 | https://www.unikeyic.com/media/datasheet/3a/6e/942d/3a6e942d8f6143d06d3a1d954566360e.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16204-1/11495920.html
16204-2 | EATON | 1: 108.7232 5: 103.0863 10: 78.192 24: 77.4 48: 76.62 100: 75.852 250: 75.096 | Barrier Strip Connector 2 POS 20.57mm Screw ST Panel Mount |  | 175 A |  |  | 1 | Screw Connection | 2/0 - #8CU/AL | 1 | Screw Connection | 2/0 - #8CU/AL | Not Applicable |  | 2 | Bulk |  |  |  | Magnum® 162 | 600 V |  |  | 512 | https://www.unikeyic.com/media/datasheet/3a/6e/942d/3a6e942d8f6143d06d3a1d954566360e.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16204-2/17350706.html
16204-3 | EATON | 1: 83.328 | Conn Barrier Strip 3 POS 20.57mm Screw ST Panel Mount |  | 175 A |  |  | 1 | Screw Connection | 2/0 - #8CU/AL | 1 | Screw Connection | 2/0 - #8CU/AL | Not Applicable |  | 3 | Bulk |  | 3985714 |  | Magnum® 162 | 600 V |  |  | 345 | https://www.unikeyic.com/media/datasheet/3a/6e/942d/3a6e942d8f6143d06d3a1d954566360e.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16204-3/24469494.html
16220-1 | EATON | 3: 54.637 6: 52.041 23: 49.676 | Conn Barrier Strip 1 POS Screw ST Panel Mount |  | 175 A |  |  | 1 | Screw Connection | 2/0 - #14CU; 2/0 - #8AL | 4 | Screw Connection | 500MCM (kcmil) - #6CU/AL | Not Applicable |  | 1 | Bulk |  |  |  | Magnum® 162 | 600 V |  |  | 42 | https://www.unikeyic.com/media/datasheet/40/e7/0ce3/40/8bccb03f80062279b65621af9b89788b.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16220-1/713477.html
16220-2 | EATON | 1: 160.0344 5: 152.5545 10: 115.521 20: 111.111 50: 101.6295 100: 97.44 | Barrier Strip Connector 2 POS 20.57mm Screw ST Panel Mount |  | 175 A |  |  | 1 | Screw Connection | 2/0 - #14CU; 2/0 - #8AL | 4 | Screw Connection | 500MCM (kcmil) - #6CU/AL | Not Applicable |  | 2 | Bulk |  | 5449651 |  | Magnum® 162 | 600 V |  |  | 4 | https://www.unikeyic.com/media/datasheet/40/e7/0ce3/40/8bccb03f80062279b65621af9b89788b.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16220-2/10172802.html
16220-3 | EATON | 1: 146.7552 5: 144.0869 10: 144.0869 25: 144.0869 50: 144.0869 100: 144.0869 | Conn Barrier Strip 3 POS 20.57mm Screw ST Panel Mount |  | 175 A |  |  | 1 | Screw Connection | 2/0 - #14CU; 2/0 - #8AL | 4 | Screw Connection | #4 - #14CU; 4 - #8AL | Not Applicable |  | 3 | Bulk |  |  |  | Magnum® 162 | 600 V |  |  | 18 | https://www.unikeyic.com/media/datasheet/40/e7/0ce3/40/8bccb03f80062279b65621af9b89788b.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16220-3/12625122.html
16280-1 | EATON |  | Conn Barrier Strip 1 POS Screw ST Panel Mount |  | 175 A |  |  | 1 | Screw Connection | 2/0 - #14CU/AL | 1 | Stud | 1/4 - 20x3/4 Stud | Not Applicable |  | 1 | Bulk |  | 5449654 |  | Magnum® 162 | 600 V |  |  |  | https://www.unikeyic.com/media/datasheet/30/88/15d4/308815d42aea6171c8ac61a45e1bae2e.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16280-1/34124503.html
16280-3 | EATON | 1: 148.5324 5: 141.5925 10: 130.4625 20: 129.2235 50: 126.7455 100: 126.4305 | Conn Barrier Strip 3 POS 20.57mm Screw ST Panel Mount |  | 175 A |  |  | 1 | Screw Connection | 2/0 - #14CU/AL | 1 | Stud | 1/4 - 20x3/4 Stud | Not Applicable |  | 3 | Bulk |  | 5449657 |  | Magnum® 162 | 600 V |  |  | 22 | https://www.unikeyic.com/media/datasheet/c7/b2/e17d/c7/8c865d129908a9cefa67d44de95d40b9.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16280-3/26350007.html
16303-3 | EATON | 1: 355.8784 3: 338.5821 5: 327.036 14: 312.624 | Barrier Strip Connector, 3 POS, 41.14mm, Screw, Straight, Panel Mount |  | 310 A |  |  | 1 | Screw Connection | 350MCM (kcmil) - #6CU/AL | 1 | Screw Connection | 350MCM (kcmil) - #6CU/AL | Not Applicable |  | 3 | Bulk |  |  |  | PDB | 600 V |  |  | 26 | https://www.unikeyic.com/media/datasheet/3a/6e/942d/3a6e942d8f6143d06d3a1d954566360e.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16303-3/11458477.html
16306-1 | EATON | 1: 265.6152 | Conn Barrier Strip 1 POS Screw ST Panel Mount |  | 380 A |  |  | 1 | Screw Connection | 500MCM (kcmil) - #6CU/AL | 1 | Screw Connection | 500MCM (kcmil) - #6CU/AL | Not Applicable |  | 1 | Bulk |  |  |  | PDB | 600 V |  |  | 21 | https://www.unikeyic.com/media/datasheet/3a/6e/942d/3a6e942d8f6143d06d3a1d954566360e.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16306-1/27946472.html
16306-3 | EATON | 1: 521.1756 3: 495.684 5: 480.0285 10: 381.5385 20: 380.583 | Barrier Strip Connector, 3 POS, 41.14mm, Screw, Straight, Panel Mount |  | 380 A |  |  | 1 | Screw Connection | 500MCM (kcmil) - #6CU/AL | 1 | Screw Connection | 500MCM (kcmil) - #6CU/AL | Not Applicable |  | 3 | Bulk |  | 5449670 |  | PDB | 600 V |  |  | 4 | https://www.unikeyic.com/media/datasheet/24/6d/e65d/24/29c02dc33f0a42da440459927dd2d230.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16306-3/8304501.html
16321-1 | EATON | 1: 136.554 3: 130.042 12: 124.135 | Conn Barrier Strip 1 POS Screw ST Panel Mount |  | 175 A |  |  | 1 | Screw Connection | 2/0 - #14CU; 2/0 - #8AL | 6 | Screw Connection | 500MCM (kcmil) - #6CU/AL | Not Applicable |  | 1 | Bulk |  | 5449671 |  | Magnum® 163 | 600 V |  |  | 15 | https://www.unikeyic.com/media/datasheet/40/e7/0ce3/40/8bccb03f80062279b65621af9b89788b.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16321-1/25961539.html
16321-2 | EATON | 1: 207.5436 5: 199.0485 10: 197.736 20: 195.216 50: 194.0085 100: 191.688 | Barrier Strip Connector 2 POS 41.14mm Screw ST Panel Mount |  | 175 A |  |  | 1 | Screw Connection | 2/0 - #14CU; 2/0 - #8AL | 6 | Screw Connection | 500MCM (kcmil) - #6CU/AL | Not Applicable |  | 2 | Bulk |  |  |  | Magnum® 163 | 600 V |  |  | 1 | https://www.unikeyic.com/media/datasheet/40/e7/0ce3/40/8bccb03f80062279b65621af9b89788b.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16321-2/27704676.html
16321-3 | EATON | 9: 360.5175 | Conn Barrier Strip 3 POS 41.14mm Screw ST Panel Mount |  | 175 A |  |  | 1 | Screw Connection | 2/0 - #14CU; 2/0 - #8AL | 6 | Screw Connection | 500MCM (kcmil) - #6CU/AL | Not Applicable |  | 3 | Bulk |  | 5449673 |  | Magnum® 163 | 600 V |  |  | 40 | https://www.unikeyic.com/media/datasheet/40/e7/0ce3/40/8bccb03f80062279b65621af9b89788b.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16321-3/7127846.html
16323-1 | EATON | 1: 155.639 2: 148.236 8: 141.493 20: 135.333 | Conn Barrier Strip 1 POS Screw ST Panel Mount |  | 310 A |  |  | 1 | Screw Connection | 350MCM (kcmil) - #6CU/AL | 6 | Screw Connection | 4-#12AL, 4-#14CU | Not Applicable |  | 1 | Bulk |  | 5449674 |  | Magnum® 163 | 600 V |  |  | 24 | https://www.unikeyic.com/media/datasheet/9b/08/d2f3/9b08d2f387d612795d0b75fef5005cec.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16323-1/23581575.html
16323-3 | EATON | 15: 365.7984 | Barrier Strip Connector, 3 POS, 41.14mm, Screw, Straight, Panel Mount |  | 310 A |  |  | 1 | Screw Connection | 350MCM (kcmil) - #6CU/AL | 6 | Screw Connection | 4-#12AL, 4-#14CU | Not Applicable |  | 3 | Bulk |  | 5449676 |  | Magnum® 163 | 600 V |  |  | 15 | https://www.unikeyic.com/media/datasheet/9b/08/d2f3/9b08d2f387d612795d0b75fef5005cec.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16323-3/8304418.html
16325-1 | EATON | 24: 171.3587 48: 163.8601 | Conn Barrier Strip 1 POS Screw ST Panel Mount |  | 350 A |  |  | 2 | Screw Connection | 2/0 - #14CU; 2/0 - #8AL | 6 | Screw Connection | #4 - #14CU; 4 - #8AL | Not Applicable |  | 1 | Bulk |  | 1645053 |  | Magnum® 163 | 600 V |  |  | 26 | https://www.unikeyic.com/media/datasheet/40/e7/0ce3/40/8bccb03f80062279b65621af9b89788b.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16325-1/24910553.html
16325-2 | EATON | 1: 230.5476 3: 221.109 5: 220.5525 10: 219.6495 20: 216.8565 | Conn Barrier Strip 2 POS 41.14mm Screw ST Panel Mount |  | 350 A |  |  | 2 | Screw Connection | 2/0 - #14CU; 2/0 - #8AL | 6 | Screw Connection | #4 - #14CU; 4 - #8AL | Not Applicable |  | 2 | Bulk |  | 1645054 |  | Magnum® 163 | 600 V |  |  | 17 | https://www.unikeyic.com/media/datasheet/40/e7/0ce3/40/8bccb03f80062279b65621af9b89788b.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16325-2/19074674.html
16330-3 | EATON | 1: 571.4388 10: 512.6112 | Barrier Strip Connector, 3 POS, 41.14mm, Screw, Straight, Panel Mount |  | 380 A |  |  | 1 | Screw Connection | 500MCM (kcmil) - #6CU/AL | 6 | 1/4" Quick Connects | 2 - #12AL, 2 - #14CU | Not Applicable |  | 3 | Bulk |  |  |  | Magnum® 163 | 600 V |  |  | 14 | https://www.unikeyic.com/media/datasheet/40/e7/0ce3/40/8bccb03f80062279b65621af9b89788b.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16330-3/10741836.html
16332-2 | EATON | 1: 280.26 18: 230.7096 | Conn Barrier Strip 2 POS 41.14mm Screw ST Panel Mount |  | 310 A |  |  | 1 | Screw Connection | 350MCM (kcmil) - #6CU/AL | 5 | 1/4" Quick Connects | 2 - #8AL, 2 - #14CU; 1/0 - #8AL, 1/0 - #14CU | Not Applicable |  | 2 | Bulk |  |  |  | Magnum® 163 | 600 V |  |  | 35 | https://www.unikeyic.com/media/datasheet/40/e7/0ce3/40/8bccb03f80062279b65621af9b89788b.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16332-2/1132898.html
16332-3 | EATON | 1: 218.064 2: 207.68 6: 198.242 | Conn Barrier Strip 3 POS 41.14mm Screw ST Panel Mount |  | 310 A |  |  | 1 | Screw Connection | 350MCM (kcmil) - #6CU/AL | 5 | 1/4" Quick Connects | 2 - #8AL, 2 - #14CU; 1/0 - #8AL, 1/0 - #14CU | Not Applicable |  | 3 | Bulk |  |  |  | Magnum® 163 | 600 V |  |  | 7 | https://www.unikeyic.com/media/datasheet/40/e7/0ce3/40/8bccb03f80062279b65621af9b89788b.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16332-3/7782969.html
16370-1 | EATON | 1: 224.7804 5: 212.4675 10: 209.5485 20: 203.9625 50: 201.285 100: 196.119 | Conn Barrier Strip 1 POS Screw ST Panel Mount |  | 310 A |  |  | 1 | Screw Connection | 350MCM (kcmil) - #6CU/AL | 12 | 1/4" Quick Connects | 4-#12AL, 4-#14CU | Not Applicable |  | 1 | Bulk |  | 5449686 |  | Magnum® 163 | 600 V |  |  | 3 | https://www.unikeyic.com/media/datasheet/40/e7/0ce3/40/8bccb03f80062279b65621af9b89788b.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16370-1/19752131.html
16370-2 | EATON | 1: 446.08 3: 416.7486 5: 401.016 10: 397.044 18: 393.108 36: 389.22 72: 385.368 144: 381.552 | Barrier Strip Connector 2 POS 41.14mm Screw ST Panel Mount |  | 310 A |  |  | 1 | Screw Connection | 350MCM (kcmil) - #6CU/AL | 12 | 1/4" Quick Connects | 4-#12AL, 4-#14CU | Not Applicable |  | 2 | Bulk |  | 5449687 |  | Magnum® 163 | 600 V |  |  | 15 | https://www.unikeyic.com/media/datasheet/40/e7/0ce3/40/8bccb03f80062279b65621af9b89788b.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16370-2/10238807.html
16370-3 | EATON | 1: 532.56 3: 531.2265 5: 452.466 | Conn Barrier Strip 3 POS 41.14mm Screw ST Panel Mount |  | 310 A |  |  | 1 | Screw Connection | 350MCM (kcmil) - #6CU/AL | 12 | 1/4" Quick Connects | 4-#12AL, 4-#14CU | Not Applicable |  | 3 | Bulk |  | 5449688 |  | Magnum® 163 | 600 V |  |  | 14 | https://www.unikeyic.com/media/datasheet/40/e7/0ce3/40/8bccb03f80062279b65621af9b89788b.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16370-3/16747680.html
16371-1 | EATON | 1: 122.837 3: 116.996 10: 111.683 | Conn Barrier Strip 1 POS Screw ST Panel Mount |  | 310 A |  |  | 1 | Screw Connection | 350MCM (kcmil) - #6CU/AL | 9 | 1/4" Quick Connects | 2 - #8AL, 2 - #14CU; 1/0 - #8AL, 1/0 - #14CU | Not Applicable |  | 1 | Bulk |  | 5449689 |  | Magnum® 163 | 600 V |  |  | 21 | https://www.unikeyic.com/media/datasheet/40/e7/0ce3/40/8bccb03f80062279b65621af9b89788b.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16371-1/12562353.html
16371-3 | EATON | 1: 5538.9 | Barrier Strip Connector, 3 POS, 41.14mm, Screw, Straight, Panel Mount |  | 310 A |  |  | 1 | Screw Connection | 350MCM (kcmil) - #6CU/AL | 9 | 1/4" Quick Connects | 2 - #8AL, 2 - #14CU; 1/0 - #8AL, 1/0 - #14CU | Not Applicable |  | 3 | Bulk |  | 5449691 |  | Magnum® 163 | 600 V |  |  | 1 | https://www.unikeyic.com/media/datasheet/40/e7/0ce3/40/8bccb03f80062279b65621af9b89788b.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16371-3/4887609.html
16375-3 | EATON | 1: 536.949 3: 503.643 5: 498.666 | Conn Barrier Strip 3 POS 41.14mm Screw ST Panel Mount |  | 420 A |  |  | 1 | Screw Connection | 600MCM (kcmil) - #2CU/AL | 12 | 1/4" Quick Connects | 4-#12AL, 4-#14CU | Not Applicable |  | 3 | Bulk |  |  |  | Magnum® 163 | 600 V |  |  | 14 | https://www.unikeyic.com/media/datasheet/40/e7/0ce3/40/8bccb03f80062279b65621af9b89788b.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16375-3/2932606.html
16377-3 | EATON | 1: 682.3872 10: 675.594 | Conn Barrier Strip 3 POS 41.14mm Screw ST Panel Mount |  | 570 A |  |  | 2 | Screw Connection | 300MCM (kcmil) - #4CU/AL | 12 | 1/4" Quick Connects | 4-#12AL, 4-#14CU | Not Applicable |  | 3 | Bulk |  | 5449706 |  | Magnum® 163 | 600 V |  |  | 42 | https://www.unikeyic.com/media/datasheet/40/e7/0ce3/40/8bccb03f80062279b65621af9b89788b.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16377-3/5845431.html
16390-2 | EATON | 1: 331.1232 3: 311.6697 5: 301.044 10: 297.66 18: 292.932 50: 290.028 100: 287.136 | Conn Barrier Strip 2 POS 41.14mm Screw ST Panel Mount |  | 250 A |  |  | 1 | Stud | 3/8 - 16x1 1/8 Stud | 1 | Stud | 3/8 - 16x1 1/8 Stud | Not Applicable |  | 2 | Bulk |  | 5449713 |  | Magnum® 163 | 600 V |  |  | 29 | https://www.unikeyic.com/media/datasheet/30/88/15d4/308815d42aea6171c8ac61a45e1bae2e.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16390-2/802726.html
16390-3 | EATON | 1: 401.76 10: 360.9468 | Conn Barrier Strip 3 POS 41.14mm Screw ST Panel Mount |  | 250 A |  |  | 1 | Stud | 3/8 - 16x1 1/8 Stud | 1 | Stud | 3/8 - 16x1 1/8 Stud | Not Applicable |  | 3 | Bulk |  |  |  | Magnum® 163 | 600 V |  |  | 1 | https://www.unikeyic.com/media/datasheet/30/88/15d4/308815d42aea6171c8ac61a45e1bae2e.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16390-3/11710909.html
16395-1 | EATON | 2: 105.149 | Barrier Terminal Blocks 1P 600VAC/DC Pwr Dist Block |  | 310 A |  |  | 1 | Stud | 1/4 - 20x9/16 Stud | 2 | Stud | 3/8 - 16x1 7/16 Stud | Not Applicable |  | 1 | Bulk |  | 5449721 |  | Magnum® 163 | 600 V |  |  | 2 | https://www.unikeyic.com/media/datasheet/30/88/15d4/308815d42aea6171c8ac61a45e1bae2e.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16395-1/7805405.html
16395-3 | EATON | 1: 368.3664 10: 324.6264 | Conn Barrier Strip 3 POS 41.14mm Screw ST Panel Mount |  | 310 A |  |  | 1 | Stud | 1/4 - 20x9/16 Stud | 2 | Stud | 3/8 - 16x1 7/16 Stud | Not Applicable |  | 3 | Bulk |  | 5449723 |  | Magnum® 163 | 600 V |  |  | 3 | https://www.unikeyic.com/media/datasheet/30/88/15d4/308815d42aea6171c8ac61a45e1bae2e.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16395-3/3080627.html
16500-3 | EATON | 6: 698.2144 12: 664.2861 24: 641.676 48: 635.316 96: 629.028 | Conn Barrier Strip 3 POS 68.32mm Screw ST Panel Mount |  |  | 16500-3 EATON | 215.39mm*215.9mm*139.7mm | [7 empty] | threaded mounting | [9 empty] | 12 | https://www.unikeyic.com/media/datasheet/24/6d/e65d/24/29c02dc33f0a42da440459927dd2d230.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16500-3/24312837.html
16528-3 | EATON | 6: 803.6224 12: 764.5803 18: 738.552 48: 731.244 96: 723.996 | Conn Barrier Strip 3 POS 68.32mm Screw ST Panel Mount |  | 840 A |  |  | 2 | Screw Connection | 600MCM (kcmil) - #2CU/AL | 8 | 1/4" Quick Connects | 3/0 - #6CU/AL; 4 - #14CU/AL | Not Applicable |  | 3 | Bulk |  |  |  | Magnum® 165 | 600 V |  |  | 6 | https://www.unikeyic.com/media/datasheet/3a/6e/942d/3a6e942d8f6143d06d3a1d954566360e.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16528-3/33015087.html
16530-3 | EATON | 1: 881.4312 12: 698.9004 | Conn Barrier Strip 3 POS 68.32mm Screw ST Panel Mount |  | 760 A |  |  | 2 | Screw Connection | 500MCM (kcmil) - #6CU/AL | 12 | 1/4" Quick Connects | 4 - #14CU/AL | Not Applicable |  | 3 | Bulk |  | 5449735 |  | Magnum® 165 | 600 V |  |  | 6 | https://www.unikeyic.com/media/datasheet/3a/6e/942d/3a6e942d8f6143d06d3a1d954566360e.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16530-3/21342691.html
16582-3 | EATON | 1: 620.046 3: 603.057 5: 601.5555 | TERM. BLOCK ASSY 6PK |  | 760 A |  |  | 2 | Screw Connection | 500MCM (kcmil) - #6CU/AL | 2 | Stud | 3/8 - 16x1 5/8 Stud | Not Applicable |  | 3 | Bulk |  |  |  | Magnum® 165 | 600 V |  |  | 4 | https://www.unikeyic.com/media/datasheet/3a/6e/942d/3a6e942d8f6143d06d3a1d954566360e.pdf | https://www.unikeyic.com/products/power-distribution-blocks/16582-3/13038674.html
1957580000 | Weidmüller | 1: 120.4111 10: 90.1178 25: 82.7814 50: 78.5593 100: 75.2535 | Conn Power ST 1 Port |  |  | 1957580000 Weidmüller | [13 empty] | bulk |  |  |  |  | 3 | https://www.unikeyic.com/media/datasheet/16/89/03e7/16/c1f49238caec53f071e35f3b75518977.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1957580000/34321666.html
1957620000 | Weidmüller | 1: 47.5785 | Field Power Box IP65 Polycarbonate GF 10 |  |  | 1957620000 Weidmüller | [13 empty] | bulk |  |  |  |  | 1 | https://www.unikeyic.com/media/datasheet/72/c8/6914/72/b8f0815d2ba8ed601a5d1138dc5db57d.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1957620000/23327896.html
1SNF516011R0000 | TE Connectivity | 15: 7.623 40: 7.623 75: 6.721 150: 5.709 250: 5.115 | Power Distribution Blocks |  |  | 1SNF516011R0000 TE Connectivity | [13 empty] | bulk |  |  |  |  | 306 | https://www.unikeyic.com/media/datasheet/b2/2f/b752/b22fb75286e30d3d306becd37095a8de.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1snf516011r0000/31523553.html
1SNF516021R0000 | TE Connectivity | 18: 6.358 400: 6.358 750: 5.599 | Power Distribution Blocks |  |  | 1SNF516021R0000 TE Connectivity | [13 empty] | bulk |  |  |  |  | 342 | https://www.unikeyic.com/media/datasheet/e7/60/c757/e760c7574ff18c4b26f515382bf70703.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1snf516021r0000/3616877.html
1SNF516111R0000 | TE Connectivity | 10: 11.231 200: 11.231 400: 9.911 | Power Distribution Blocks |  |  | 1SNF516111R0000 TE Connectivity | [13 empty] | boxed, bulk |  |  |  |  | 50 | https://www.unikeyic.com/media/datasheet/57/5d/6bc8/575d6bc858feb8a02e7716435ad9582b.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1snf516111r0000/24169405.html
1SNF516121R0000 | TE Connectivity | 11: 10.89 400: 10.89 | Power Distribution Blocks |  |  | 1SNF516121R0000 TE Connectivity | [13 empty] | boxed, bulk |  |  |  |  | 200 | https://www.unikeyic.com/media/datasheet/17/b9/cf7a/17b9cf7a683cf3a805fe4b3e29993874.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1snf516121r0000/1314850.html
1SNF516131R0000 | TE Connectivity | 7: 16.214 20: 16.214 40: 14.311 150: 12.122 250: 10.89 | DIN Rail Terminal Blocks CBS50-4P-GR |  |  | 1SNF516131R0000 TE Connectivity | [13 empty] | boxed, bulk |  |  |  |  | 240 | https://www.unikeyic.com/media/datasheet/58/fa/4a30/58fa4a30ff1256badb1e9c2d2b863540.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1snf516131r0000/26131111.html
1SNF526011R0000 | TE Connectivity | 5: 24.981 12: 21.813 24: 21.285 36: 20.284 150: 17.193 220: 15.433 | DIN Rail Terminal Blocks CBS95-2P |  |  | 1SNF526011R0000 TE Connectivity | [13 empty] | bulk |  |  |  |  | 314 | https://www.unikeyic.com/media/datasheet/fc/02/9bd9/fc029bd928996e214b19f3721d2b31a3.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1snf526011r0000/18724153.html
1SNF526031R0000 | TE Connectivity | 6: 19.514 15: 19.151 29: 18.788 36: 18.073 150: 15.323 220: 13.75 | Power Distribution Blocks |  |  | 1SNF526031R0000 TE Connectivity | [13 empty] | bulk |  |  |  |  | 252 | https://www.unikeyic.com/media/datasheet/12/78/d3fc/1278d3fcb416e284a03ae1d8a6ad2e18.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1snf526031r0000/5872174.html
1SNF526111R0000 | TE Connectivity | 4: 28.512 10: 28.017 20: 27.522 39: 27.038 180: 24.574 | Power Distribution Blocks |  |  | 1SNF526111R0000 TE Connectivity | [13 empty] | bulk |  |  |  |  | 144 | https://www.unikeyic.com/media/datasheet/3b/e2/f88c/3be2f88c993275873ca8260d1f63c434.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1snf526111r0000/28175844.html
1SNF526121R0000 | TE Connectivity | 4: 34.43 8: 33.792 16: 33.154 18: 31.878 150: 27.027 | Power Distribution Blocks |  |  | 1SNF526121R0000 TE Connectivity | [13 empty] | bulk |  |  |  |  | 82 | https://www.unikeyic.com/media/datasheet/4e/42/f8f0/4e42f8f0495ac09ed67a8960077cf44f.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1snf526121r0000/25068723.html
1SNF526131R0000 | TE Connectivity | 4: 31.361 9: 30.811 18: 30.272 36: 29.733 | Power Distribution Blocks |  |  | 1SNF526131R0000 TE Connectivity | [13 empty] | bulk |  |  |  |  | 88 | https://www.unikeyic.com/media/datasheet/b7/f1/5d27/b7f15d2714b6f6088d056befafdfc662.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1snf526131r0000/26471732.html
1SNF536011R0000 | TE Connectivity | 4: 27.577 10: 27.104 20: 26.631 40: 26.147 | DIN Rail Terminal Blocks CBS185-2P |  |  | 1SNF536011R0000 TE Connectivity | [13 empty] | bulk |  |  |  |  | 96 | https://www.unikeyic.com/media/datasheet/4c/5f/0a93/4c5f0a9378f96140ada3d7088d23d14b.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1snf536011r0000/30454705.html
1SNF546011R0000 | TE Connectivity | 3: 45.749 7: 44.902 12: 42.361 | DIN Rail Terminal Blocks CBS300-2P... |  |  | 1SNF546011R0000 TE Connectivity | [13 empty] | bulk |  |  |  |  | 96 | https://www.unikeyic.com/media/datasheet/c2/a6/d08c/c2a6d08c592299f877bffbd9cbc5af3a.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1snf546011r0000/21443839.html
1SNL308010R0000 | TE Connectivity | 5: 4.3249 50: 4.1704 300: 3.9233 1,000: 3.6143 |  |  |  | 1SNL308010R0000 TE Connectivity | [13 empty] | boxed, bulk |  |  |  |  | 38 | https://www.unikeyic.com/media/datasheet/ca/61/7771/ca61777172efe24ac92e00a289a3b7fa.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1snl308010r0000/10347768.html
1SNL312510R0000 | TE Connectivity | 5: 7.763 50: 7.4858 300: 7.0422 1,000: 6.4877 |  | 1SNL | 115 A |  |  | 1 | Screw Connection | - | 7 | Screw Connection | - | 1 (Unlimited) |  | 1 | Box |  | 10473737 |  | ENTRELEC | 1000 V |  |  | 792 | https://www.unikeyic.com/media/datasheet/ca/61/7771/ca61777172efe24ac92e00a289a3b7fa.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1snl312510r0000/23399876.html
1SNL312530R0000 | TE Connectivity | 1: 119.02 3: 104.852 5: 102.41 10: 100.078 31: 97.867 100: 88.957 300: 81.169 500: 73.403 1,000: 66.726 | Distribution Terminal Block | 1SNL | 115 A |  |  | 3 | Screw Connection | - | 8 | Screw Connection | - | 1 (Unlimited) |  | 3 | Box |  | 10464685 |  | ENTRELEC | 1000 V |  |  | 35 | https://www.unikeyic.com/media/datasheet/47/6e/ee72/476eee723b6154faf106a9ca019ecc02.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1snl312530r0000/22399809.html
1SNL316010R0000 | TE Connectivity | 1: 12.4209 10: 10.4175 30: 8.2205 100: 8.0134 300: 7.0785 1,000: 6.6779 |  |  |  | 1SNL316010R0000 TE Connectivity | [13 empty] | boxed | [5 empty] | https://www.unikeyic.com/media/datasheet/9f/e7/bae6/9fe7bae6ec3bbcf6be1c30a4fdbba072.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1snl316010r0000/16348833.html
1SNL317531R0000 | TE Connectivity | 1: 161.59 2: 158.807 4: 156.024 7: 153.23 22: 139.304 | Distribution Terminal Block | 1SNL | [9 empty] | 1 (Unlimited) |  |  | Box |  | 10463457 |  | * |  |  |  | 24 | https://www.unikeyic.com/media/datasheet/00/3d/d8b8/003dd8b872ea4235fb8eb19066ccf1dc.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1snl317531r0000/15614916.html
1SNL325010R0000 | TE Connectivity | 1: 26.6597 10: 22.3856 30: 21.7932 100: 21.1584 |  | 1SNL | 225 A |  |  | 1 | Screw Connection | - | 11 | Screw Connection | - | 1 (Unlimited) |  | 1 | Box |  |  |  | ENTRELEC | 1000 V |  |  |  | https://www.unikeyic.com/media/datasheet/ca/61/7771/ca61777172efe24ac92e00a289a3b7fa.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1snl325010r0000/15045938.html
1SNL340010R0000 | TE Connectivity | 1: 24.3254 10: 20.4257 30: 19.8851 100: 19.3059 |  | 1SNL |  |  |  | 1 | Screw Connection | - | 11 | Screw Connection | - | 1 (Unlimited) |  | 1 | Box |  |  |  | - | 1000 V |  |  |  | https://www.unikeyic.com/media/datasheet/ca/61/7771/ca61777172efe24ac92e00a289a3b7fa.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1snl340010r0000/34746332.html
1SNL407610R0000 | TE Connectivity | 15: 8.228 | 1SNL Series 7 Position 1 Pole 76A DIN Rail Power |  | 85 A |  |  | 1 | Screw Connection | 4-16 AWG | 7 | Screw Connection | 4-16 AWG | 1 (Unlimited) |  | 1 | Box |  | 16669447 |  | DBL | 1000 V |  |  | 2281 | https://www.unikeyic.com/media/datasheet/b8/55/e3e3/b855e3e355315d1b3ca7279990bd9503.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1snl407610r0000/31627122.html
1SNL407611R0000 | TE Connectivity | 6: 18.447 58: 18.447 120: 16.269 | DIN Rail Terminal Blocks DBLK76-15 |  | 85 A |  |  | 1 | Screw Connection | 4-16 AWG | 7 | Screw Connection | 4-16 AWG | 1 (Unlimited) |  | 1 | Box |  | 16669421 |  | DBL | 1000 V |  |  | 25 | https://www.unikeyic.com/media/datasheet/59/a9/ebda/59a9ebda555d41f3bf20e439e6e8b8c5.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1snl407611r0000/23658343.html
1SNL412510R0000 | TE Connectivity | 5: 26.389 41: 26.389 81: 23.298 | DIN Rail Terminal Blocks DBLK125-16-2R |  |  | 1SNL412510R0000 TE Connectivity | [13 empty] | boxed |  |  |  |  | 89 | https://www.unikeyic.com/media/datasheet/22/8d/fc3b/228dfc3b0fe15ec84dc072a1a2880f08.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1snl412510r0000/6944516.html
1SNL850001R0000 | TE Connectivity | 3: 58.322 5: 49.445 10: 44.374 | Power Distribution Blocks |  |  | 1SNL850001R0000 TE Connectivity | [13 empty] | boxed |  |  |  |  | 11 | https://www.unikeyic.com/media/datasheet/e7/6b/3510/e76b3510b33c418950f15db5451d6616.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1snl850001r0000/12828560.html
1SNL905602R0000 | TE Connectivity | 5: 0.3588 50: 0.3459 300: 0.3254 1,000: 0.2998 |  |  |  | 1SNL905602R0000 TE Connectivity | [13 empty] | bulk |  |  |  |  | 220 | https://www.unikeyic.com/media/datasheet/a1/8c/1bf2/a18c1bf2b3d62512d67f997b6548c2ee.pdf | https://www.unikeyic.com/products/power-distribution-blocks/1snl905602r0000/694498341.html
2016-7111 | WAGO | 1: 91.5725 | WAGO 2016-7111 | [10 empty] | Not Applicable |  |  | Box |  | 15541669 |  | TOPJOB®S |  |  |  | 49 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/power-distribution-blocks/2016-7111/34174906.html
288-837 | WAGO | 1: 122.9919 5: 121.2349 10: 115.9638 |  |  | 32 A |  |  | 19 | Terminal Blocks | - | 19 | Terminal Blocks | - | Not Applicable |  | 4 | Box |  | 15522762 |  | - | 250 V |  |  | 20000 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/power-distribution-blocks/288-837/24230460.html
288-870/000-040 | WAGO | 1: 164.61 |  |  | 10 A |  |  | 6 | Terminal Blocks | - | 6 | Terminal Blocks | - | Not Applicable |  | 8 | Box |  |  |  | - | 24 V |  |  | 100 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/power-distribution-blocks/288-870-000-040/3293450.html
2966508 | PHOENIX CONTACT | 5: 20.1636 | Phoenix Rail type terminal block |  | 32 A |  |  | 1 | Terminal Blocks | 10-24 AWG | 1 | Terminal Blocks | 10-24 AWG | 1 (Unlimited) |  | 4 | Bulk |  |  |  | PLC |  |  |  | 183 | https://www.unikeyic.com/media/datasheet/13/d2/598d/13/eefcd80ebe614bd330c6a941515eb306.pdf | https://www.unikeyic.com/products/power-distribution-blocks/2966508/13434644.html
737 | Adafruit | 1: 2.535 | Conn Barrier Strip 7 POS Screw Panel Mount |  |  |  |  | 7 | Screw Connection | - | 7 | Screw Connection | - | 1 (Unlimited) |  | 1 | Bulk |  |  |  | - |  |  |  | 245 | https://www.unikeyic.com/media/datasheet/6e/db/6f66/a5/33083ee4b596f834fff10a946248c210.pdf | https://www.unikeyic.com/products/power-distribution-blocks/737/11083364.html
8000028513 | Weidmüller | 1: 628.1642 10: 534.0665 | [17 empty] | boxed |  |  |  |  | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/power-distribution-blocks/8000028513/17669731.html
810-902/000-002 | WAGO | 1: 45.258 5: 44.6114 10: 42.6718 | [11 empty] | Not Applicable |  |  | Box | 2 |  |  | - | - | 1.654" (42.00mm) | 12-28 AWG | 20000 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/power-distribution-blocks/810-902-000-002/385249.html
821-104 | WAGO | 2: 96.888 | Wanke power distributor, TOPJOB Sseries, grey | [5 empty] | - | - |  | - | - | Not Applicable |  | - | Box |  | 15522668 |  | TOPJOB®S |  |  |  | 2 | https://www.unikeyic.com/media/datasheet/98/eb/609e/98/a2c022b71835baf692ee8805bff3bf07.pdf | https://www.unikeyic.com/products/power-distribution-blocks/821-104/1059142.html
821-122 | WAGO | 1: 279.9601 | Wanke power distributor, TOPJOB Sseries, grey | [5 empty] | - | - |  | - | - | Not Applicable |  | - | Box |  | 15528479 |  | TOPJOB®S |  |  |  | 2 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/power-distribution-blocks/821-122/24629116.html
821-123 | WAGO | 1: 228.7214 | Wanke power distributor, TOPJOB Sseries, grey | [5 empty] | - | - |  | - | - | Not Applicable |  | - | Box |  |  |  | TOPJOB®S |  |  |  | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/power-distribution-blocks/821-123/6526281.html
821-129 | WAGO | 1: 428.3342 | Wanke power distributor, TOPJOB Sseries, grey | [5 empty] | - | - |  | - | - | Not Applicable |  | - | Box |  | 15521330 |  | TOPJOB®S |  |  |  | 2 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/power-distribution-blocks/821-129/34400033.html
830-800/000-306 | WAGO | 1: 122.9256 10: 92.0722 25: 84.6076 50: 80.314 100: 76.9521 | 12 Terminal block - - TO - 10-28 AWG | [10 empty] | Not Applicable |  |  | Box | 12 |  |  | - | 250VAC/DC | 2.717" (69.00mm) | 10-28 AWG | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/power-distribution-blocks/830-800-000-306/25073942.html
830-800/000-313/000-009 | WAGO | 1: 67.5108 10: 49.5385 25: 45.0446 50: 42.4328 100: 40.3744 250: 38.3288 | [11 empty] | Not Applicable |  |  | Bulk |  |  |  | - |  |  |  | 2 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/power-distribution-blocks/830-800-000-313-000-009/25290567.html
899-631/104-000 | WAGO | 1: 70.4738 10: 67.7633 100: 65.0527 | [6 empty] | - | - |  | - | - | Not Applicable |  | - | Box |  | 15574464 |  | WINSTA® Boxes |  |  |  | 8 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/power-distribution-blocks/899-631-104-000/408249.html
899-631/313-000 | WAGO | 1: 95.6255 5: 94.2594 10: 90.1612 | Wago Switchboard, Number of outputs:5, Maximum current25 A | [5 empty] | - | - |  | - | - | Not Applicable |  | - | Box |  | 15581528 |  | WINSTA® Boxes |  |  |  | 20000 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/power-distribution-blocks/899-631-313-000/24163058.html
899-631/476-000 | WAGO | 1: 58.8487 5: 58.008 10: 55.4859 | [6 empty] | - | - |  | - | - | Not Applicable |  | - | Box |  | 15551133 |  | WINSTA® Boxes |  |  |  | 20000 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/power-distribution-blocks/899-631-476-000/21278277.html
899-631/477-000 | WAGO | 1: 96.3302 5: 94.954 10: 90.8256 | [6 empty] | - | - |  | - | - | Not Applicable |  | - | Box |  | 15546886 |  | WINSTA® Boxes |  |  |  | 20000 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/power-distribution-blocks/899-631-477-000/1915012.html
899-631/478-000 | WAGO | 1: 117.0696 5: 115.3972 10: 110.3799 | [6 empty] | - | - |  | - | - | Not Applicable |  | - | Box |  | 15526903 |  | WINSTA® Boxes |  |  |  | 20000 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/power-distribution-blocks/899-631-478-000/31608971.html
899-632/101-000 | WAGO | 1: 168.6598 | [6 empty] | - | - |  | - | - | Not Applicable |  | - | Box |  | 15522652 |  | WINSTA® Boxes |  |  |  | 100 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/power-distribution-blocks/899-632-101-000/19986105.html
899-632/102-000 | WAGO | 1: 122.4597 5: 120.7103 10: 115.462 | [6 empty] | - | - |  | - | - | Not Applicable |  | - | Box |  |  |  | WINSTA® Boxes |  |  |  | 20000 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/power-distribution-blocks/899-632-102-000/21835879.html
899-632/103-000 | WAGO | 1: 183.6885 5: 181.0644 10: 173.1921 | [6 empty] | - | - |  | - | - | Not Applicable |  | - | Box |  |  |  | WINSTA® Boxes |  |  |  | 20000 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/power-distribution-blocks/899-632-103-000/4386073.html
899-681/144-000 | WAGO | 2: 59.279 | Distribution box - Three-phase to single-phase cu | [5 empty] | - | - |  | - | - | Not Applicable |  | - | Box |  | 15572132 |  | WINSTA® Boxes |  |  |  | 5 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/power-distribution-blocks/899-681-144-000/8365713.html
899-681/146-000 | WAGO | 1: 113.4214 5: 111.8011 10: 106.9402 | [6 empty] | - | - |  | - | - | Not Applicable |  | - | Box |  |  |  | WINSTA® Boxes |  |  |  | 20000 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/power-distribution-blocks/899-681-146-000/34190375.html
899-681/147-000 | WAGO | 1: 98.966 5: 97.5522 10: 93.3108 | [6 empty] | - | - |  | - | - | Not Applicable |  | - | Box |  | 15527249 |  | WINSTA® Boxes |  |  |  | 20000 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/power-distribution-blocks/899-681-147-000/1797753.html
9080LBC365212 | Schneider Electric | 1: 854.2476 | PWR DISTR BLK 600V 760A |  | 760 A |  |  | 2 | Screw Connection | 500MCM (kcmil) - 4 AWG | 12 | Screw Connection | 2-14 AWG |  |  | 3 | Box |  | 17152817 |  | Square D | 600 V |  |  | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/power-distribution-blocks/9080lbc365212/997743564.html
C2202 | EATON | 10: 23.65 20: 19.888 40: 16.709 | Fuse Holder Accessories 5/16 Feed Thru Red | [16 empty] | boxed |  |  |  |  | 10 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/power-distribution-blocks/c2202/19238294.html
C2203 | EATON | 7: 17.149 40: 17.149 | Fuse Holder Accessories 3/8 Feed Thru Black | [16 empty] | boxed |  |  |  |  | 32 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/power-distribution-blocks/c2203/4377093.html
C2204 | EATON | 5: 21.34 10: 20.3472 40: 18.6165 80: 18.0285 120: 17.6925 280: 16.968 520: 16.4535 | CONN 3/8"" FEED THRU RED | [16 empty] | boxed |  |  |  |  | 28 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/power-distribution-blocks/c2204/6729820.html
C7021-01N | EATON | 1: 67.892 10: 48.1896 28: 48.1788 |  |  | 115 A |  |  | 1 | Stud | #2/0-8 AWG | 1 | Stud | #2/0-8 AWG | Not Applicable |  | 1 | Bulk |  |  |  | Magnum® C7021 | 300 V |  |  | 23 | https://www.unikeyic.com/media/datasheet/0a/34/ebc3/0a/416483c4ea139ab105b5ef16644ee1d0.pdf | https://www.unikeyic.com/products/power-distribution-blocks/c7021-01n/15285238.html
C7021-02 | EATON | 1: 75.9766 10: 55.9632 25: 50.9919 | Feed-Through Modular Terminal Block 4 POS 17.5mm ST Panel Mount 175A |  | 115 A |  |  | 1 | Stud | #2/0-8 AWG | 1 | Stud | #2/0-8 AWG | Not Applicable |  | 2 | Bulk |  |  |  | Magnum® C7021 | 300 V |  |  | 62 | https://www.unikeyic.com/media/datasheet/91/55/43ca/915543ca58f6fb16a377b3c7126c49cb.pdf | https://www.unikeyic.com/products/power-distribution-blocks/c7021-02/5984168.html
C7021-02N | EATON | 1: 97.735 10: 60.9876 28: 57.0348 56: 55.4148 112: 52.974 | Feed-Through Modular Terminal Block 4 POS 17.5mm ST Panel Mount 175A |  | 115 A |  |  | 1 | Stud | #2/0-8 AWG | 1 | Stud | #2/0-8 AWG | Not Applicable |  | 2 | Bulk |  |  |  | Magnum® C7021 | 300 V |  |  | 3 | https://www.unikeyic.com/media/datasheet/91/55/43ca/915543ca58f6fb16a377b3c7126c49cb.pdf | https://www.unikeyic.com/products/power-distribution-blocks/c7021-02n/19923259.html
CB16/2H | Altech | 1: 2.438 500: 2.2248 | Conn Terminal Block F 2 POS Screw RA Panel Mount 65A | CB16 | 65 A |  |  | 2 | Screw Connection | 6-18 AWG | 2 | Screw Connection | 6-18 AWG | Not Applicable |  | 2 | Bulk |  |  |  | EUROBLOCKS™ | 300 V |  |  | 201 | https://www.unikeyic.com/media/datasheet/43/81/9710/43/080d00eea92490bae222708d68dbf9d1.pdf | https://www.unikeyic.com/products/power-distribution-blocks/cb16-2h/14148232.html
CB16/3H | Altech | 1: 3.197 250: 2.9916 500: 2.9484 | Conn Terminal Block 3 POS Screw RA Panel Mount 65A | CB16 | 65 A |  |  | 1 | Screw Connection | 6-18 AWG | 1 | Screw Connection | 6-18 AWG | Not Applicable |  | 3 | Bulk |  |  |  | EUROBLOCKS™ | 300 V |  |  | 383 | https://www.unikeyic.com/media/datasheet/43/81/9710/43/080d00eea92490bae222708d68dbf9d1.pdf | https://www.unikeyic.com/products/power-distribution-blocks/cb16-3h/34790978.html
CB4/3H | Altech | 1: 2.718 | Conn Terminal Block 6 POS Screw Cable Mount 20A | CB4/3 | 20 A |  |  | 3 | Screw Connection | 12-24 AWG | 3 | Screw Connection | 12-24 AWG | Not Applicable |  | 3 | Bulk |  | 8547093 |  | EUROBLOCKS™ | 300 V |  |  | 50 | https://www.unikeyic.com/media/datasheet/43/81/9710/43/080d00eea92490bae222708d68dbf9d1.pdf | https://www.unikeyic.com/products/power-distribution-blocks/cb4-3h/31104170.html
CB6/2H | Altech | 1: 1.9205 | Conn Terminal Block 2 POS Screw Cable Mount 30A | CB6 | 30 A |  |  | 2 | Screw Connection | 10-22 AWG | 2 | Screw Connection | 10-22 AWG | Not Applicable |  | 2 | Bulk |  | 8547070 |  | EUROBLOCKS™ | 300 V |  |  | 4848 | https://www.unikeyic.com/media/datasheet/32/90/2b1f/32902b1fedb6a3c752d22add0e771ff4.pdf | https://www.unikeyic.com/products/power-distribution-blocks/cb6-2h/3961799.html
CB6/4H | Altech | 1: 4.3698 | 4 30A 300V | CB6 | 30 A |  |  | 4 | Screw Connection | 10-22 AWG | 4 | Screw Connection | 10-22 AWG | Not Applicable |  | 4 | Bulk |  |  |  | EUROBLOCKS™ | 300 V |  |  | 44 | https://www.unikeyic.com/media/datasheet/7d/b3/4885/7d/100d4067f5d02bafb013201aa5ae364f.pdf | https://www.unikeyic.com/products/power-distribution-blocks/cb6-4h/26540510.html
CDB4/4 | Altech | 1: 24.9665 10: 21.1896 20: 19.2672 50: 16.1028 100: 15.0876 200: 14.526 500: 14.094 |  | CDB4 | [9 empty] | Not Applicable |  |  | Bulk |  |  |  | * |  |  |  | 30 | https://www.unikeyic.com/media/datasheet/7f/7e/3bb9/7f/185f747b8d329f90eb7a953020b6b197.pdf | https://www.unikeyic.com/products/power-distribution-blocks/cdb4-4/11218952.html
CDB6/2 | Altech | 1: 28.2785 10: 15.5304 50: 14.8284 100: 13.9104 200: 13.2192 500: 12.7764 |  | CDB6 | [9 empty] | Not Applicable |  |  | Bulk |  | 9455638 |  | * |  |  |  | 4 | https://www.unikeyic.com/media/datasheet/1b/6b/1feb/1b/ec1dddf048d6ae73db36f3d3a9463757.pdf | https://www.unikeyic.com/products/power-distribution-blocks/cdb6-2/13703716.html
CMDB6/10 | Altech | 1: 28.688 10: 18.8028 250: 18.4788 |  | CMDB6 | [9 empty] | Not Applicable |  |  | Bulk |  |  |  | * |  |  |  | 1 | https://www.unikeyic.com/media/datasheet/93/9d/9b20/58/fb531a65c7bd56310940f377209d6af5.pdf | https://www.unikeyic.com/products/power-distribution-blocks/cmdb6-10/9144999.html
CMDB6/2 | Altech | 1: 6.803 |  | CMDB6 | [9 empty] | Not Applicable |  |  | Bulk |  |  |  | * |  |  |  | 3 | https://www.unikeyic.com/media/datasheet/73/99/8a8d/73/e4527e1543a87ac1906774203f149e1b.pdf | https://www.unikeyic.com/products/power-distribution-blocks/cmdb6-2/32100246.html
GDB61151Z | Littelfuse | 1: 81.953 10: 60.5104 25: 55.2092 50: 52.139 100: 49.7247 | 1 115A 600V |  | 115 A |  |  | 2 | Screw Connection | - | 6 | Screw Connection | - | 1 (Unlimited) |  | 1 | Box |  | 3997345 |  | POWR-BLOKS™ | 600 V |  |  | 18 | https://www.unikeyic.com/media/datasheet/d0/67/5535/c1/cbf7452b7722fcb8eb48d4ab9e716904.pdf | https://www.unikeyic.com/products/power-distribution-blocks/gdb61151z/25604482.html
GDB61153Z | Littelfuse | 1: 192.6828 10: 146.84 25: 135.9863 50: 129.7845 | Fuse Holder 115A 600VDC/600VAC DIN Rail Screw |  | 115 A |  |  | 1 | Screw Connection | - | 6 | Screw Connection | - | 1 (Unlimited) |  | 3 | Box |  |  |  | POWR-BLOKS™ | 600 V |  |  | 22 | https://www.unikeyic.com/media/datasheet/d0/67/5535/97/9b960ef2541dd8f803ceff28a238282c.pdf | https://www.unikeyic.com/products/power-distribution-blocks/gdb61153z/743266.html
LFD04013Z | Littelfuse | 1: 88.341 10: 77.1228 25: 64.0116 | Conn Power Distribution Block 3 POS Screw ST Panel Mount 175A |  | 175 A |  |  | 1 | Screw Connection | 2/0 - #14CU/AL | 6 | Screw Connection | 4 - #14CU/AL | 1 (Unlimited) |  | 3 | Box |  | 2839139 |  | POWR-BLOKS® LF | 600 V |  |  | 413 | https://www.unikeyic.com/media/datasheet/19/0a/ea81/19/06149cef74848c0f19dcfe5df94a1289.pdf | https://www.unikeyic.com/products/power-distribution-blocks/lfd04013z/154294.html
LFD14003Z | Littelfuse | 1: 60.5777 5: 59.4959 10: 58.4142 25: 58.4142 50: 58.4142 100: 58.4142 | Conn Power Distribution Block 3 POS Screw ST Panel Mount 115A |  | 115 A |  |  | 1 | Screw Connection | 2 - #14CU/AL | 4 | Screw Connection | 10 - #18CU/AL | 1 (Unlimited) |  | 3 | Box |  | 2839140 |  | POWR-BLOKS® LF | 600 V |  |  | 37 | https://www.unikeyic.com/media/datasheet/19/0a/ea81/19/06149cef74848c0f19dcfe5df94a1289.pdf | https://www.unikeyic.com/products/power-distribution-blocks/lfd14003z/10888310.html
LFD25702Z | Littelfuse | 1: 73.5588 10: 54.0194 25: 49.1435 50: 46.3108 100: 44.0787 250: 41.8616 | 2 175A 600V |  | 175 A |  |  | 1 | Screw Connection | 2/0 - #14CU/AL | 4 | Screw Connection | 4 - #14CU/AL | 1 (Unlimited) |  | 2 | Box |  | 2839141 |  | POWR-BLOKS® LF | 600 V |  |  | 727 | https://www.unikeyic.com/media/datasheet/3b/60/5bca/3b/43bbc6db99e8e38ac0dc9a9e52e974c6.pdf | https://www.unikeyic.com/products/power-distribution-blocks/lfd25702z/22255678.html
LFD25703Z | Littelfuse | 1: 76.45 10: 64.638 25: 59.0436 50: 55.8144 100: 53.2656 |  |  | 175 A |  |  | 1 | Screw Connection | 2/0 - #14CU/AL | 4 | Screw Connection | 4 - #14CU/AL | 1 (Unlimited) |  | 3 | Box |  | 2839142 |  | POWR-BLOKS® LF | 600 V |  |  | 420 | https://www.unikeyic.com/media/datasheet/3b/60/5bca/3b/43bbc6db99e8e38ac0dc9a9e52e974c6.pdf | https://www.unikeyic.com/products/power-distribution-blocks/lfd25703z/24975014.html
LFD35523Z | Littelfuse | 1: 168.7901 10: 127.9572 25: 118.2307 50: 112.6619 | PWR DISTRIB BLOCK 3POS 380A 600V |  | 380 A |  |  | 1 | Screw Connection | 500MCM (kcmil) - #6CU/AL | 4 | Screw Connection | 2 - #14CU/AL | 1 (Unlimited) |  | 3 | Box |  | 2839143 |  | POWR-BLOKS® LF | 600 V |  |  | 27 | https://www.unikeyic.com/media/datasheet/3b/60/5bca/3b/43bbc6db99e8e38ac0dc9a9e52e974c6.pdf | https://www.unikeyic.com/products/power-distribution-blocks/lfd35523z/14853750.html
LFD55523Z | Littelfuse | 1: 220.0261 5: 216.0256 10: 216.0256 25: 216.0256 | Conn Power Distribution Block 6 POS Screw Panel Mount 380A/Contact |  | 380 A |  |  | 1 | Screw Connection | 500MCM (kcmil) - #4CU/AL | 12 | Screw Connection | 2 - #14CU/AL | 1 (Unlimited) |  | 3 | Box |  |  |  | POWR-BLOKS® LF | 600 V |  |  | 8 | https://www.unikeyic.com/media/datasheet/d0/67/5535/68/c15e3243d334778dd16a5cd9296d2645.pdf | https://www.unikeyic.com/products/power-distribution-blocks/lfd55523z/1840298.html
LFD55793Z | Littelfuse | 1: 257.1156 10: 198.2556 25: 184.5072 |  |  | 380 A |  |  | 1 | Screw Connection | 500MCM (kcmil) - #4CU/AL | 6 | Screw Connection | 2/0 - #14CU/AL | 1 (Unlimited) |  | 3 | Box |  | 2839147 |  | POWR-BLOKS® LF | 600 V |  |  | 25 | https://www.unikeyic.com/media/datasheet/3b/60/5bca/3b/43bbc6db99e8e38ac0dc9a9e52e974c6.pdf | https://www.unikeyic.com/products/power-distribution-blocks/lfd55793z/29432638.html
LFD55863Z | Littelfuse | 1: 347.004 10: 270.2398 25: 252.4707 | PWR DISTRIB BLOCK 3POS 760A 600V |  | 760 A |  |  | 2 | Screw Connection | 500MCM (kcmil) - #4CU/AL | 8 | Screw Connection | 2/0 - #14CU/AL | 1 (Unlimited) |  | 3 | Box |  |  |  | POWR-BLOKS® LF | 600 V |  |  | 48 | https://www.unikeyic.com/media/datasheet/19/0a/ea81/19/06149cef74848c0f19dcfe5df94a1289.pdf | https://www.unikeyic.com/products/power-distribution-blocks/lfd55863z/20064674.html
PDB204-1 | EATON | 1: 70.7292 | Conn Power Distribution Block 2 POS Screw Panel Mount 175A |  | 175 A |  |  | 1 | Screw Connection | 2/0 AWG - #8CU/AL | 1 | Screw Connection | 2/0 AWG - #8CU/AL | Not Applicable |  | 1 | Bulk |  | 5443771 |  | PDB | 600 V |  |  | 4 | https://www.unikeyic.com/media/datasheet/f8/2f/243b/f82f243b4271387ac56532af7ef08bdd.pdf | https://www.unikeyic.com/products/power-distribution-blocks/pdb204-1/24560912.html
PDB370-1 | EATON | 1: 215.3628 5: 203.5635 10: 200.781 20: 195.426 50: 192.8535 100: 187.908 | Conn Power Distribution Block ST Panel Mount 310A |  | 310 A |  |  | 1 | Screw Connection | 350MCM (kcmil) - 2/0 AWG CU/AL; #1-#6 CU/AL | 12 | Screw Connection | #4-#12 CU/AL; #10-#14 CU | Not Applicable |  | 1 | Bulk |  | 5442384 |  | PDB | 600 V |  |  | 10 | https://www.unikeyic.com/media/datasheet/f8/2f/243b/f82f243b4271387ac56532af7ef08bdd.pdf | https://www.unikeyic.com/products/power-distribution-blocks/pdb370-1/17573173.html
PDB370-3 | EATON | 1: 762.1884 10: 605.8152 | Power Distribution Block, 6 POS, Screw, Panel Mount, 310A |  | 310 A |  |  | 1 | Screw Connection | 350MCM (kcmil) - 2/0 AWG CU/AL; #1-#6 CU/AL | 12 | Screw Connection | #4-#12 CU/AL; #10-#14 CU | Not Applicable |  | 3 | Bulk |  |  |  | PDB | 600 V |  |  | 16 | https://www.unikeyic.com/media/datasheet/f8/2f/243b/f82f243b4271387ac56532af7ef08bdd.pdf | https://www.unikeyic.com/products/power-distribution-blocks/pdb370-3/17216653.html
PDBFS220 | EATON | 1: 84.8692 5: 84.8692 10: 83.3261 25: 83.3261 50: 83.3261 100: 83.3261 | Eaton Fuse box, Eaton Bussman series, DINRail installation |  |  |  |  | 1 | Screw Connection | 2/0 - #8CU/AL, 10 - #1CU | 4 | Screw Connection | 4 - #6CU/AL, #8 - #14CU, #8AL | Not Applicable |  | 1 | Bulk |  | 5442905 |  | PDBFS | 600 V |  |  | 56 | https://www.unikeyic.com/media/datasheet/41/86/de98/4186de982fd54b0be7721be458c92133.pdf | https://www.unikeyic.com/products/power-distribution-blocks/pdbfs220/25282007.html
PDBFS330 | EATON | 1: 434.4 | Fuse Class CC 380A 600V Screw Mount CE/CSA/UL |  |  |  |  | 1 | Screw Connection | 500MCM (kcmil) - #6CU/AL | 6 | Screw Connection | 2 - #8CU/AL, 10 - #14CU | Not Applicable |  | 1 | Bulk |  | 5442317 |  | PDBFS | 600 V |  |  | 12 | https://www.unikeyic.com/media/datasheet/41/86/de98/4186de982fd54b0be7721be458c92133.pdf | https://www.unikeyic.com/products/power-distribution-blocks/pdbfs330/20634795.html
PDBFS500 | EATON | 3: 447.0656 6: 358.0038 12: 305.616 24: 302.58 48: 299.592 | Conn Terminal Block F RA Panel Mount 620A |  | 620 A |  |  | 2 | Screw Connection | 350MCM (kcmil) - #6CU/AL | 2 | Screw Connection | 350MCM (kcmil) - #6CU/AL | Not Applicable |  | 1 | Bulk |  | 5442075 |  | PDBFS | 600 V |  |  | 6 | https://www.unikeyic.com/media/datasheet/41/86/de98/4186de982fd54b0be7721be458c92133.pdf | https://www.unikeyic.com/products/power-distribution-blocks/pdbfs500/27684078.html
WCL002 | Littelfuse | 1: 30.1248 | 2 600V |  |  |  |  | 1 | Screw Connection | 2-14 AWG | 4 | Screw Connection | 10-18 AWG |  |  | 2 | Box |  |  |  | - | 600 V |  |  | 9 | https://www.unikeyic.com/media/datasheet/63/28/b489/6328b489d388e0babe8170ca162d18ca.pdf | https://www.unikeyic.com/products/power-distribution-blocks/wcl002/7453356.html
WCL003 | Littelfuse | 10: 39.0096 30: 34.7134 50: 33.1774 100: 31.4779 250: 29.7846 | 3 600V |  |  |  |  | 1 | Screw Connection | 500MCM (kcmil) - 6 AWG | 6 | Screw Connection | 2-14 AWG |  |  | 1 | Box |  | 11505886 |  | - | 600 V |  |  | 35 | https://www.unikeyic.com/media/datasheet/63/28/b489/6328b489d388e0babe8170ca162d18ca.pdf | https://www.unikeyic.com/products/power-distribution-blocks/wcl003/7512698.html
WCL005 | Littelfuse | 10: 27.2765 30: 24.097 50: 22.9517 100: 21.6797 250: 20.4068 500: 19.6877 | 5 600V |  |  |  |  | 2 | Screw Connection | 2/0-14 AWG | 6 | Screw Connection | 4-14 AWG | Not Applicable |  | 5 | Box |  | 11505798 |  | - | 600 V |  |  | 14 | https://www.unikeyic.com/media/datasheet/63/28/b489/6328b489d388e0babe8170ca162d18ca.pdf | https://www.unikeyic.com/products/power-distribution-blocks/wcl005/15063009.html