## Vibration Sensors
Part Number | Manufacturer | Price | Description | Application Level | Base Product Number | Datasheet | Features | Interface | Length/Width/Height | Moisture Sensitivity Level (MSL) | Mounting Type | Mounting Type | Operating Temperature | Operating Temperature | Output Type | Package / Case (Metric) | Package/Case | Packaging | Power-Rated | Rid | RoHS | SPM | Sensing Range | Sensor Type | Series | Supplied Contents | Termination | Utilized IC / Part | Stock | Datasheet URL | Source URL
1-1000288-0 | TE Connectivity | 1: 49.6882 | Piezoelectric Sensor, 2-Pin |  | 1000288 |  | - |  |  | 1 (Unlimited) |  | User Defined |  | 0°C ~ 70°C | Voltage |  | Piezo Film, Cantilever (Wafer) | Box | - |  |  |  | - | Vibration | SDT |  | Cable/Wire Leads |  | 25 | https://www.unikeyic.com/media/datasheet/23/e4/623c/23e4623cf4f2fc25e87d0ec23ee44f75.pdf | https://www.unikeyic.com/products/vibration-sensors/1-1000288-0/34989555.html
1-1000288-0-M | TE Connectivity | 4: 29.425 | SDT1-028K Piezo Film Sensor Type: Element Sensor Options: Shielded Strips Leads Element Shielded ¦ Piezo Sensor | Commercial Grade |  |  |  |  | 41mm(Length)*16mm(width) |  | wire mounting, Through hole mounting |  | 0℃~70℃ | [15 empty] | 18 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/1-1000288-0-m/10984181.html
1-1002150-0 | TE Connectivity | 100: 21.4986 500: 20.1738 | Piezo Film Sensor, Digital Output, 5V, Automotive, 2-Pin |  | 1002150 |  | - |  |  | 1 (Unlimited) |  | User Defined |  | 0°C ~ 70°C | Voltage |  | Piezo Film, Cantilever (Wafer) | Box | - | 5277273 |  |  | - | Vibration | DT |  | Wire Leads |  | 267 | https://www.unikeyic.com/media/datasheet/87/2b/4fde/872b4fdea15f7d9c4ae3df341af4aff7.pdf | https://www.unikeyic.com/products/vibration-sensors/1-1002150-0/11172309.html
1-1002405-0 | TE Connectivity | 1: 31.7918 | Piezo Film Sensor, Digital Output, 5V, Automotive, 2-Pin |  | 1002405 |  | - |  |  | 1 (Unlimited) |  | User Defined |  | 0°C ~ 70°C | Voltage |  | Piezo Film, Cantilever (Wafer) | Box | - | 5277274 |  |  | - | Vibration, Acceleration | LDT |  | Wire Leads |  | 270 | https://www.unikeyic.com/media/datasheet/71/b8/e951/71b8e951239c2e5567311988f6e0e26a.pdf | https://www.unikeyic.com/products/vibration-sensors/1-1002405-0/11146323.html
1-1002608-0 | TE Connectivity | 1+: 8.6184 5+: 7.7587 10+: 7.438 25+: 7.0563 50+: 6.7964 100+: 6.5584 500+: 6.0802 1,000+: 5.9025 | Piezo Film Sensor, Digital Output, 5V, Automotive | [25 empty] | 993 | https://www.unikeyic.com/media/datasheet/bb/91/6dda/bb916ddabb26d0f2b2f1d990b0550b01.pdf | https://www.unikeyic.com/products/vibration-sensors/1-1002608-0/34946240.html
1-1002785-1 | TE Connectivity | 10+: 17.1072 30+: 16.1737 50+: 15.782 100+: 15.2899 500+: 14.3 | Piezo Film Sensor, Digital Output, 5V, Automotive, 2-Pin | [25 empty] | 335 | https://www.unikeyic.com/media/datasheet/dd/da/bed5/dddabed5cdd4c5907f7d3e4154ed8769.pdf | https://www.unikeyic.com/products/vibration-sensors/1-1002785-1/35057107.html
1-1002786-1 | TE Connectivity | 1+: 19.548 5+: 17.7682 10+: 17.1072 25+: 16.3197 50+: 15.782 100+: 15.2899 500+: 14.3 | Piezo Film Sensor, Digital Output, 5V, Automotive, 2-Pin | [25 empty] | 304 | https://www.unikeyic.com/media/datasheet/28/bc/a08b/28bca08b28a4169f6d789d43fc9832f6.pdf | https://www.unikeyic.com/products/vibration-sensors/1-1002786-1/35044154.html
1-1002908-0 | TE Connectivity | 1+: 15.9948 5+: 14.4979 10+: 13.9439 25+: 13.2849 50+: 12.8349 100+: 12.4228 500+: 11.5943 | TE Connectivity Vibration Sensor, -40°C~+70°C | [25 empty] | 2875 | https://www.unikeyic.com/media/datasheet/07/db/61b1/07db61b13ac81eeda9b3e4793d570210.pdf | https://www.unikeyic.com/products/vibration-sensors/1-1002908-0/11169694.html
1-1002910-0 | TE Connectivity | 1: 15.5607 5: 14.1018 10: 13.5626 25: 12.9184 50: 12.4792 100: 12.0769 500: 11.2682 | Piezoelectric Sensor, 2-Pin |  | 1002910 |  | - |  |  | 1 (Unlimited) |  | User Defined |  | 0°C ~ 70°C | Voltage |  | Piezo Film, Cantilever (Wafer) | Bulk | - |  |  |  | - | Vibration | DT |  | Wire Leads |  | 944 | https://www.unikeyic.com/media/datasheet/93/64/b174/93/63a46963ce9b46ca98cbf1b00ab5390f.pdf | https://www.unikeyic.com/products/vibration-sensors/1-1002910-0/15237.html
1-1003744-0 | TE Connectivity | 100+: 14.6864 500+: 13.7301 | Piezo Film Sensor, Digital Output, 5V, Automotive, 2-Pin | [25 empty] | 108 | https://www.unikeyic.com/media/datasheet/d8/ef/7da6/d8/59ce55bd4de8e582d456c5f511508331.pdf | https://www.unikeyic.com/products/vibration-sensors/1-1003744-0/34975654.html
1-1003745-0 | TE Connectivity | 1+: 20.3472 5+: 18.5026 10+: 17.82 25+: 17.0035 50+: 16.4469 100+: 15.9369 500+: 14.9112 | Sensor, 50mV/g Wire Mount 72mm × 16mm × 210μm | [25 empty] | 187 | https://www.unikeyic.com/media/datasheet/f3/c1/7e1f/f3c17e1f872f803bd0fb0df69875298a.pdf | https://www.unikeyic.com/products/vibration-sensors/1-1003745-0/10941744.html
1-1004346-0 | TE Connectivity | 1: 248.655 2: 238.711 | Piezo Film Sensor Digital Output Automotive |  | 1004346 |  | - |  |  | 1 (Unlimited) |  | User Defined |  | - | Voltage |  | - | Box | - | 2709548 |  |  | - | Vibration | - |  | - |  | 2 | https://www.unikeyic.com/media/datasheet/d4/f3/c869/d4f3c8696a03c03c7c7c142dbeebce48.pdf | https://www.unikeyic.com/products/vibration-sensors/1-1004346-0/14025.html
1-1004347-0 | TE Connectivity | 1+: 231.1524 5+: 215.9762 10+: 210.3289 30+: 202.32 50+: 198.9539 | Piezo Film Sensor Sheet | [25 empty] | 2 | https://www.unikeyic.com/media/datasheet/d8/ef/7da6/d8/59ce55bd4de8e582d456c5f511508331.pdf | https://www.unikeyic.com/products/vibration-sensors/1-1004347-0/35035695.html
1005447-1 | TE Connectivity | 1: 3.3848 | TE Connectivity Vibration Sensor, -40°C to +85°C |  | 1005447 |  | - |  |  | 1 (Unlimited) |  | Through Hole |  | 0°C ~ 85°C | Voltage |  | Cantilever Piezo Film (Wafer) | Bulk | - |  |  |  | 0Hz ~ 90Hz | Vibration, Acceleration | LDT |  | PC Pins |  | 9 | https://www.unikeyic.com/media/datasheet/37/52/ac15/3752ac15c75bc28d6ea57e7a3ad6ff0d.pdf | https://www.unikeyic.com/products/vibration-sensors/1005447-1/11126197.html
1007079-1 | TE Connectivity | 1: 85.7335 5: 85.7335 10: 84.1747 25: 84.1747 50: 84.1747 | Tyco Electronics Vibration Sensors, Minimum operating temperature+5°C, Maximum operating temperature+60°C, maximum100 μA |  | 1007079 |  |  |  |  | 1 (Unlimited) |  | User Defined |  |  |  |  | Module | Box | [6 empty] | - |  | Wire Leads |  | 23 | https://www.unikeyic.com/media/datasheet/0e/26/abcd/0e/5ee2dce1797c4dbbd696c450e7291cb6.pdf | https://www.unikeyic.com/products/vibration-sensors/1007079-1/35067293.html
10204294-00 | TE Connectivity | 25: 186.2329 | [26 empty] | 2500 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/10204294-00/695362917.html
10216587-00 | TE Connectivity | 25: 177.575 | [26 empty] | 2500 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/10216587-00/695350319.html
11025957-00 | TE Connectivity | 1: 177.6504 2: 174.5908 4: 171.5312 7: 168.4595 | TE Connectivity PE CABLE 10-32 TO 10-32 | [25 empty] | 39 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/11025957-00/682166955.html
11026275-00 | TE Connectivity | 25: 4.466 65: 4.389 150: 4.301 250: 4.224 | DT Series Piezo Film Sensor, Rectangular, Silver Ink Screen Printed Electrode |  |  | 11026275-00 TE Connectivity | [22 empty] | 250 | https://www.unikeyic.com/media/datasheet/16/e1/a142/16/1f8a836db1f4ffb426f76d13fa7c5a31.pdf | https://www.unikeyic.com/products/vibration-sensors/11026275-00/13400427.html
11026911-00 | TE Connectivity | 10: 5.1041 100: 3.67 500: 3.0611 | LDT0-028K It is a flexible component，Depend on 28 μm ，laminated to 0.125 mm Thick polyester base，and comes with two crimp terminals。 |  |  | 11026911-00 TE Connectivity | [22 empty] | 1900 | https://www.unikeyic.com/media/datasheet/e4/f3/fa26/e4/41d6515670e870a5bc5c587f37136815.pdf | https://www.unikeyic.com/products/vibration-sensors/11026911-00/6652908.html
11028362-00 | TE Connectivity | 1: 5.2397 10: 4.4691 100: 4.1421 | LDT0-028K It is a flexible component，Depend on 28 μm ，laminated to 0.125 mm Thick polyester base，and comes with two crimp terminals。 | Industrial |  | 11028362-00 TE Connectivity | [6 empty] | -40℃~85℃ | [7 empty] | Compliant | bulk | [6 empty] | 630 | https://www.unikeyic.com/media/datasheet/e4/f3/fa26/e4/41d6515670e870a5bc5c587f37136815.pdf | https://www.unikeyic.com/products/vibration-sensors/11028362-00/11207715.html
11032035-00 | TE Connectivity | 1: 13.9494 10: 13.7003 25: 13.7003 50: 13.4512 100: 13.4512 | DT Series Piezoelectric Film Sensor, Rectangular, Silver Ink Printed Electrode | Commercial |  | 11032035-00 TE Connectivity |  |  | 1.63mm(Length)*640μm(width) |  |  |  | 0℃~70℃ | [7 empty] | Non-compliant | [7 empty] | 10 | https://www.unikeyic.com/media/datasheet/16/e1/a142/16/1f8a836db1f4ffb426f76d13fa7c5a31.pdf | https://www.unikeyic.com/products/vibration-sensors/11032035-00/35043144.html
1766 | Adafruit | 1: 1.235 | Vibration Sensor |  |  |  | - |  |  | 1 (Unlimited) |  | Through Hole |  | -40°C ~ 80°C | SPST |  | Radial, Can | Bulk | - | 7244944 |  |  | - | Vibration | - |  |  |  | 1181 | https://www.unikeyic.com/media/datasheet/19/a6/e758/19a6e758fc7f108689d9b6eae8992746.pdf | https://www.unikeyic.com/products/vibration-sensors/1766/34973812.html
1767 | Adafruit | 1: 1.2356 | Slow Vibration Sensor Switch | [6 empty] | 1 (Unlimited) |  | Through Hole |  | -40°C ~ 80°C | SPST |  | Radial, Can | Bulk | - | 7244945 |  |  | - | Vibration | - |  |  |  | 44 | https://www.unikeyic.com/media/datasheet/55/23/060a/5523060a30ef62e7f2397a17816a9215.pdf | https://www.unikeyic.com/products/vibration-sensors/1767/35053873.html
2-1002145-0 | TE Connectivity | 15: 7.92 40: 7.612 | Piezo Film Sensor Digital Output 5V Automotive 2-Pin |  | 1002145 |  | - |  |  | 1 (Unlimited) |  | User Defined |  | 0°C ~ 70°C | Voltage |  | Piezo Film, Cantilever (Wafer) | Box | - | 5277282 |  |  | - | Vibration | DT |  | - |  | 75 | https://www.unikeyic.com/media/datasheet/d8/ef/7da6/d8/59ce55bd4de8e582d456c5f511508331.pdf | https://www.unikeyic.com/products/vibration-sensors/2-1002145-0/11183361.html
2-1002150-0 | TE Connectivity | 1: 31.2768 5: 28.5876 10: 27.5908 25: 26.4008 50: 25.5876 100: 24.8428 | Piezo Film Sensor Digital Output 5V Automotive 2-Pin |  |  |  | - |  |  | 1 (Unlimited) |  | User Defined |  | 0°C ~ 70°C | Voltage |  | Piezo Film, Cantilever (Wafer) | Box | - |  |  |  | - | Vibration | DT |  | Wire Leads |  | 43 | https://www.unikeyic.com/media/datasheet/9e/0c/1ebc/9e0c1ebc8cd9a321a4000af99c04990f.pdf | https://www.unikeyic.com/products/vibration-sensors/2-1002150-0/11214823.html
2-1002785-1 | TE Connectivity | 1+: 21.7728 5+: 19.8158 10+: 19.089 25+: 18.2235 50+: 17.6325 100+: 17.0911 500+: 16.0022 | Piezo Film Sensor, Digital Output, 5V, Automotive, 2-Pin | [25 empty] | 257 | https://www.unikeyic.com/media/datasheet/85/bf/404c/85bf404cfc7593bf3fdac1d3b7d888e6.pdf | https://www.unikeyic.com/products/vibration-sensors/2-1002785-1/35070919.html
2-1003744-0 | TE Connectivity | 1+: 21.7728 5+: 19.8158 10+: 19.089 25+: 18.2235 50+: 17.6325 100+: 17.0911 500+: 16.0022 | Piezo Film Sensor, Digital Output, 5V, Automotive, 2-Pin | [25 empty] | 278 | https://www.unikeyic.com/media/datasheet/5e/e4/fe50/5ee4fe502ab6a29b358548d7d9f9ed55.pdf | https://www.unikeyic.com/products/vibration-sensors/2-1003744-0/34966551.html
2-1004346-0 | TE Connectivity | 1+: 403.0128 5+: 378.6026 10+: 369.509 30+: 356.6171 | Piezo Film Sheet For Sensor | [25 empty] | 2 | https://www.unikeyic.com/media/datasheet/d8/ef/7da6/d8/59ce55bd4de8e582d456c5f511508331.pdf | https://www.unikeyic.com/products/vibration-sensors/2-1004346-0/11118602.html
2-1004347-0 | TE Connectivity | 1+: 253.5192 5+: 237.0881 20+: 225.3674 40+: 220.2236 | Piezo Film Sensor Sheet | [25 empty] | 15 | https://www.unikeyic.com/media/datasheet/d8/ef/7da6/d8/59ce55bd4de8e582d456c5f511508331.pdf | https://www.unikeyic.com/products/vibration-sensors/2-1004347-0/11050102.html
2047490013 | molex | 1: 67.4468 5: 66.3037 10: 65.1605 15: 64.0173 | RNC Electronic Sensor Assembly with Connector |  |  | 2047490013 molex | [15 empty] | bulk | [6 empty] | 8 | https://www.unikeyic.com/media/datasheet/27/97/5017/27975017304496917c5c9ff423e3601b.pdf | https://www.unikeyic.com/products/vibration-sensors/2047490013/30981788.html
22405 | SpotSee | 100+: 3.3588 | 35 SHOCKWATCH TUBE - 75G | [25 empty] | 4700 | https://www.unikeyic.com/media/datasheet/88/ba/1e2f/88/3526004fde3ed1ed13b5b6e03eaf53fe.pdf | https://www.unikeyic.com/products/vibration-sensors/22405/35028122.html
22408 | SpotSee | 100+: 3.3588 | 65 SHOCKWATCH TUBE - 25G | [25 empty] | 4900 | https://www.unikeyic.com/media/datasheet/88/ba/1e2f/88/3526004fde3ed1ed13b5b6e03eaf53fe.pdf | https://www.unikeyic.com/products/vibration-sensors/22408/11222653.html
22423 | SpotSee | 100+: 3.3588 | 47 SHOCKWATCH TUBE - 50G | [25 empty] | 4800 | https://www.unikeyic.com/media/datasheet/88/ba/1e2f/88/3526004fde3ed1ed13b5b6e03eaf53fe.pdf | https://www.unikeyic.com/products/vibration-sensors/22423/30630096.html
2384 | Adafruit |  | Vibration Sensor |  |  |  | - |  |  | 1 (Unlimited) |  | Through Hole |  | 260°C | SPST |  | Radial, Can | Bulk | - | 7244952 |  |  | - | Vibration | - |  |  |  |  | https://www.unikeyic.com/media/datasheet/2b/85/dbaa/2b/944f7351776054763b5c25230459003a.pdf | https://www.unikeyic.com/products/vibration-sensors/2384/34992082.html
2777920 | RS | 1: 279.7938 | RS PRO Piezoelectric Acceleration Sensor | Industrial | [8 empty] | -40℃~120℃ | [15 empty] | 12 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/2777920/726674777.html
2777921 | RS | 1: 297.2857 | RS PRO Piezoelectric vibration sensor 0- | Industrial | [8 empty] | -40℃~85℃ | [15 empty] | 10 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/2777921/726672534.html
2777922 | RS | 1: 364.4199 | RS PRO Piezoelectric vibration sensor 0- | Industrial | [8 empty] | -40℃~85℃ | [15 empty] | 35 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/2777922/726672040.html
2777923 | RS | 1: 334.7808 | RS PRO Piezoelectric vibration sensor 0- | Industrial | [8 empty] | -40℃~85℃ | [15 empty] | 14 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/2777923/726672309.html
3-1004346-0 | TE Connectivity | 1+: 462.5856 5+: 434.8901 10+: 424.5761 | Piezo Film Sensor Sheet | [25 empty] | 11 | https://www.unikeyic.com/media/datasheet/49/97/74ba/499774ba8b038367eaf6f3fc54280216.pdf | https://www.unikeyic.com/products/vibration-sensors/3-1004346-0/11256378.html
3-1004347-0 | TE Connectivity | 1+: 287.8416 5+: 269.527 10+: 262.7089 40+: 250.7215 | Piezo Film Sheet | [25 empty] | 13 | https://www.unikeyic.com/media/datasheet/e9/15/7597/e91575977339e4c2e18b1a215a06f300.pdf | https://www.unikeyic.com/products/vibration-sensors/3-1004347-0/10907583.html
314-120 | TE Connectivity | 1+: 201.0528 10+: 171.936 | [26 empty] | 7 | https://www.unikeyic.com/media/datasheet/c1/05/10b9/c1/c8627aba09703d3c19f711292f6a5ac3.pdf | https://www.unikeyic.com/products/vibration-sensors/314-120/35043000.html
315-120 | TE Connectivity | 10: 323.6989 | [26 empty] | 1000 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/315-120/23968030.html
315-240 | TE Connectivity | 1: 365.3658 2: 358.9552 | Thick Film Resistors - SMD CABLE 315 | [25 empty] | 2 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/315-240/331756689.html
315-360 | TE Connectivity | 1: 474.8553 5: 474.8553 10: 418.9935 | Thick Film Resistors - SMD CABLE 315 | [25 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/315-360/319564178.html
316A-120 | TE Connectivity | 10: 106.1916 | [26 empty] | 1000 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/316a-120/695216222.html
316A-360 | TE Connectivity | 1: 157.933 5: 157.933 10: 139.3691 | Thick Film Resistors - SMD CABLE 316A | [25 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/316a-360/14760757.html
317-240 | TE Connectivity | 10: 263.4471 | [26 empty] | 1000 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/317-240/682255208.html
318A-120 | TE Connectivity | 10: 131.1051 |  |  |  | 318A-120 TE Connectivity | [15 empty] | bulk | [6 empty] | 1000 | https://www.unikeyic.com/media/datasheet/07/61/184b/0761184b3d892cf6720be8bbe6c2c7dd.pdf | https://www.unikeyic.com/products/vibration-sensors/318a-120/31076482.html
318A-360 | TE Connectivity | 10: 146.654 | [26 empty] | 1000 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/318a-360/695245773.html
32100 | SpotSee | 100+: 3.834 | 30 CLIP: SINGLE TUBE - CX30 | [25 empty] | 1000 | https://www.unikeyic.com/media/datasheet/88/ba/1e2f/88/3526004fde3ed1ed13b5b6e03eaf53fe.pdf | https://www.unikeyic.com/products/vibration-sensors/32100/35058919.html
32111 | SpotSee | 100+: 5.5188 | 65 CLIP: DOUBLE TUBE - CXX65 | [25 empty] | 1000 | https://www.unikeyic.com/media/datasheet/88/ba/1e2f/88/3526004fde3ed1ed13b5b6e03eaf53fe.pdf | https://www.unikeyic.com/products/vibration-sensors/32111/35044030.html
32300 | SpotSee | 100+: 3.834 | 47 CLIP: SINGLE TUBE - CX47 | [25 empty] | 500 | https://www.unikeyic.com/media/datasheet/88/ba/1e2f/88/3526004fde3ed1ed13b5b6e03eaf53fe.pdf | https://www.unikeyic.com/products/vibration-sensors/32300/34989049.html
32905 | SpotSee | 100+: 5.5188 | 55 CLIP: DOUBLE TUBE - CXX55 | [25 empty] | 1000 | https://www.unikeyic.com/media/datasheet/88/ba/1e2f/88/3526004fde3ed1ed13b5b6e03eaf53fe.pdf | https://www.unikeyic.com/products/vibration-sensors/32905/11060305.html
32907 | SpotSee | 100+: 3.834 | 55 CLIP: SINGLE TUBE - CX55 | [25 empty] | 1000 | https://www.unikeyic.com/media/datasheet/88/ba/1e2f/88/3526004fde3ed1ed13b5b6e03eaf53fe.pdf | https://www.unikeyic.com/products/vibration-sensors/32907/8118.html
33030 | SpotSee | 100+: 2.5812 | FLEX 30: SINGLE TUBE | [25 empty] | 100 | https://www.unikeyic.com/media/datasheet/88/ba/1e2f/88/3526004fde3ed1ed13b5b6e03eaf53fe.pdf | https://www.unikeyic.com/products/vibration-sensors/33030/11261522.html
33035 | SpotSee | 100: 2.5812 | FLEX 35: SINGLE TUBE | [8 empty] | Adhesive |  | -25°C ~ 80°C | - |  | Module | Bulk |  |  |  |  | 0 ~ 75G | Impact Sensor | ShockWatch Flex |  | - |  | 500 | https://www.unikeyic.com/media/datasheet/88/ba/1e2f/88/3526004fde3ed1ed13b5b6e03eaf53fe.pdf | https://www.unikeyic.com/products/vibration-sensors/33035/11346067.html
33230 | SpotSee | 100+: 5.184 | FLEX 30: DOUBLE TUBE | [25 empty] | 900 | https://www.unikeyic.com/media/datasheet/88/ba/1e2f/88/3526004fde3ed1ed13b5b6e03eaf53fe.pdf | https://www.unikeyic.com/products/vibration-sensors/33230/11146278.html
33235 | SpotSee | 100: 5.184 | FLEX 35: DOUBLE TUBE | [8 empty] | Adhesive |  | -25°C ~ 80°C | - |  | Module | Bulk |  |  |  |  | 0 ~ 75G | Impact Sensor | ShockWatch Flex |  | - |  | 1000 | https://www.unikeyic.com/media/datasheet/88/ba/1e2f/88/3526004fde3ed1ed13b5b6e03eaf53fe.pdf | https://www.unikeyic.com/products/vibration-sensors/33235/22308332.html
33265 | SpotSee | 100: 5.184 | FLEX 65: DOUBLE TUBE | [8 empty] | Adhesive |  | -25°C ~ 80°C | - |  | Module | Bulk |  |  |  |  | 0 ~ 25G | Impact Sensor | ShockWatch Flex |  | - |  | 800 | https://www.unikeyic.com/media/datasheet/88/ba/1e2f/88/3526004fde3ed1ed13b5b6e03eaf53fe.pdf | https://www.unikeyic.com/products/vibration-sensors/33265/35068038.html
33275 | SpotSee | 100+: 5.184 | FLEX 75: DOUBLE TUBE* | [25 empty] | 1000 | https://www.unikeyic.com/media/datasheet/88/ba/1e2f/88/3526004fde3ed1ed13b5b6e03eaf53fe.pdf | https://www.unikeyic.com/products/vibration-sensors/33275/4230998.html
33285 | SpotSee | 100+: 5.184 | FLEX 85: DOUBLE TUBE* | [25 empty] | 1000 | https://www.unikeyic.com/media/datasheet/88/ba/1e2f/88/3526004fde3ed1ed13b5b6e03eaf53fe.pdf | https://www.unikeyic.com/products/vibration-sensors/33285/33049128.html
341A-120 | TE Connectivity | 1: 232.925 | Thick Film Resistors - SMD | [25 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/341a-120/591470.html
35MCD/75 | SpotSee | 100: 5.5188 | 35 MINICLIP: DOUBLE TUBE |  |  | 35MCD/75 SpotSee | [22 empty] | 700 | https://www.unikeyic.com/media/datasheet/88/ba/1e2f/88/3526004fde3ed1ed13b5b6e03eaf53fe.pdf | https://www.unikeyic.com/products/vibration-sensors/35mcd-75/22026479.html
371-120 | TE Connectivity | 10: 521.2401 | [26 empty] | 1000 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/371-120/29689053.html
379-120 | TE Connectivity | 1: 559.2368 | Thick Film Resistors - SMD | [25 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/379-120/643786154.html
4081 | Adafruit | 1: 1.235 | FLAT VIBRATION SWITCH - BREADBOA |  |  |  | - |  |  | 1 (Unlimited) |  | Through Hole |  | - | - |  | 2-DIP Module | Bulk | - |  |  |  | - | Vibration | - |  | - |  | 311 | https://www.unikeyic.com/media/datasheet/43/80/caea/4380caea51ed47624677285afed18057.pdf | https://www.unikeyic.com/products/vibration-sensors/4081/10913236.html
47MCD/50G | SpotSee | 100+: 5.5188 | 47 MINICLIP: DOUBLE TUBE | [25 empty] | 900 | https://www.unikeyic.com/media/datasheet/88/ba/1e2f/88/3526004fde3ed1ed13b5b6e03eaf53fe.pdf | https://www.unikeyic.com/products/vibration-sensors/47mcd-50g/21092665.html
4931 | Adafruit | 1: 32.4536 | PC |  |  |  | - |  |  | 1 (Unlimited) |  | User Defined |  | - | Analog |  | Piezo Film, Cantilever (Wafer) | Bulk | - |  |  |  | - | Piezoelectric | - |  | PC Pins |  | 48 | https://www.unikeyic.com/media/pdf/HTMLDatasheet/adafruit/65/46/e6e8/4931/2025/11/4931.pdf | https://www.unikeyic.com/products/vibration-sensors/4931/11243598.html
55MCD/37G | SpotSee | 100+: 5.5188 | 55 MINICLIP: DOUBLE TUBE | [25 empty] | 1000 | https://www.unikeyic.com/media/datasheet/88/ba/1e2f/88/3526004fde3ed1ed13b5b6e03eaf53fe.pdf | https://www.unikeyic.com/products/vibration-sensors/55mcd-37g/30980877.html
75MC/15G | SpotSee | 100: 3.834 | 75 MINICLIP: SINGLE TUBE* |  | 75MC/15 | [6 empty] | Adhesive |  | -25°C ~ 80°C | - |  | Module | Bulk |  |  |  |  | 0 ~ 15G | Impact Sensor | ShockWatch Clip |  | - |  | 1000 | https://www.unikeyic.com/media/datasheet/88/ba/1e2f/88/3526004fde3ed1ed13b5b6e03eaf53fe.pdf | https://www.unikeyic.com/products/vibration-sensors/75mc-15g/28599943.html
75MCD/15G | SpotSee | 100+: 5.5188 | 75 MINICLIP: DOUBLE TUBE* | [25 empty] | 900 | https://www.unikeyic.com/media/datasheet/88/ba/1e2f/88/3526004fde3ed1ed13b5b6e03eaf53fe.pdf | https://www.unikeyic.com/products/vibration-sensors/75mcd-15g/23199136.html
AC-A03470 | TE Connectivity | 10: 39.4022 | [8 empty] | PCBinstall, SMD mount | [17 empty] | 1000 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/ac-a03470/22902166.html
AC-A03471 | TE Connectivity | 10: 53.5375 | [8 empty] | PCBinstall, SMD mount | [17 empty] | 1000 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/ac-a03471/328590993.html
AC-A03500 | TE Connectivity | 3: 42.9192 8: 37.4921 10: 34.8453 | Thick Film Resistors - SMD 10-32 TO M5 ISOLATING ADAPTER | [25 empty] | 5 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/ac-a03500/683344060.html
AC-A03530 | TE Connectivity | 10: 60.7819 | [26 empty] | 1000 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/ac-a03530/5398495.html
AC-A04209 | TE Connectivity | 10: 68.3796 |  |  | AC |  |  |  |  | Not Applicable | [7 empty] | Bulk | [6 empty] | - |  |  |  | 1000 | https://www.unikeyic.com/media/datasheet/c2/2a/c34a/c22ac34a3e76d664b0fced68048949da.pdf | https://www.unikeyic.com/products/vibration-sensors/ac-a04209/35066357.html
ASLS 10.0 | AssemTech | 1: 23.7 | Assemtech Vibration Sensor, Contact R 10Ω, -20°C to +85°C, Max 250mA | Industrial |  | ASLS 10.0 AssemTech |  |  | 18mm(Length)*4.6mm(width) |  |  |  | -20℃~85℃ | [15 empty] | 13 | https://www.unikeyic.com/media/datasheet/87/61/1e3a/87/34e862a763f7e70d7f03e9d22b6af2df.pdf | https://www.unikeyic.com/products/vibration-sensors/asls-10-0/11189003.html
ASLS 2.0 | AssemTech | 1: 25.6639 15: 24.3801 25: 23.932 | Assemtech Vibration Sensor, Contact R 10Ω, -20°C to +85°C, Max 250mA | Industrial |  |  |  |  | 18mm(Length)*6.8mm(width) |  |  |  | -20℃~85℃ | [15 empty] | 64 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/asls-2-0/10966501.html
AU2401-1 | Comus International | 1: 10.0286 5: 9.062 10: 8.7042 25: 8.2765 50: 7.9846 250: 7.3966 500: 7.1774 1,000: 6.9764 | Through-hole type PC |  | AU2401 |  | - |  |  | 1 (Unlimited) |  | Through Hole |  | -37°C ~ 100°C | - |  | Nonstandard | Box | - |  |  |  | - | Vibration | - |  | PC Pins |  | 3284 | https://www.unikeyic.com/media/datasheet/ef/36/12be/ef/4d6fe77de89ee1a65047ea27e9f3a9a1.pdf | https://www.unikeyic.com/products/vibration-sensors/au2401-1/11194294.html
AU2401-6 | AssemTech | 1: 11.7034 | Assemtech Vibration Sensor, Contact Resistance 100Ω, -37°C~+100°C, Max 200mA |  |  | AU2401-6 AssemTech |  |  | 8.99mm(Length)*4.72mm(width) |  |  |  | -37℃~100℃ | [15 empty] | 8 | https://www.unikeyic.com/media/datasheet/55/4f/a2b5/55/994d688aeae084725ebe00f918ba7c5c.pdf | https://www.unikeyic.com/products/vibration-sensors/au2401-6/10964094.html
AU2402-1 | AssemTech | 1: 16.9559 | Assemtech Vibration Sensor, Contact Resistance 100Ω, -37°C~+100°C, Max 200mA |  |  | AU2402-1 AssemTech |  |  | 8.08mm(Length)*4.72mm(width) |  |  |  | -37℃~100℃ | [15 empty] | 377 | https://www.unikeyic.com/media/datasheet/10/c7/0962/10/95de509aad32c387386cfb3d9829bb27.pdf | https://www.unikeyic.com/products/vibration-sensors/au2402-1/24718.html
BCM0001 | BALLUFF | 1: 553.003 | BALLUFF Production Monitoring System, BCMseries, IP67、IP68、IP69K, Direct Screw Mounting，Optional Magnetic Base, Supports Cloud Storage, Real-time Monitoring, Can monitor vibration velocity、Vibration Acceleration、Vibration Severity Zone、Contact Temperature、Sensor Self-Awareness | [6 empty] | 1 (Unlimited) |  |  |  | 0°C ~ 70°C (TA) | - |  |  | Box |  | 13980965 |  |  |  | Accelerometer, Temperature, Vibration | R15 |  |  |  | 1 | https://www.unikeyic.com/media/datasheet/22/1a/be07/22/70e3c4e048c4d9e8c58f9ee62b5053e6.pdf | https://www.unikeyic.com/products/vibration-sensors/bcm0001/10916985.html
BU-21771-000 | Knowles Electronics | 1+: 66.6078 5+: 61.5273 10+: 59.6341 25+: 57.3691 50+: 55.8189 | -45dB±4.5dB SMD, Wire Mount, 7.87mm L × 5.54mm W | [25 empty] | 76 | https://www.unikeyic.com/media/datasheet/97/70/6fc8/18/5f2a236a2fc36d8762b25c0db8be3308.pdf | https://www.unikeyic.com/products/vibration-sensors/bu-21771-000/10998211.html
BU-23842-000 | Knowles Electronics | 1+: 66.6078 5+: 61.5273 10+: 59.6341 25+: 57.3691 50+: 55.8189 100+: 54.3959 | -40dB±3dB TH/SMD 7.87mm × 5.54mm | [25 empty] | 96 | https://www.unikeyic.com/media/datasheet/97/70/6fc8/e8/29b5de97b64a6e0d4d0387ce0a5a888b.pdf | https://www.unikeyic.com/products/vibration-sensors/bu-23842-000/35055464.html
BU-27135-141 | Knowles Electronics | 1+: 66.5712 5+: 61.493 10+: 59.6009 25+: 57.3372 50+: 55.7878 | -45dB ±4.5dB, Solder Mount | [25 empty] | 35 | https://www.unikeyic.com/media/datasheet/6f/a3/9109/6f/5eaa142d73f1cab118e430cd7c81f630.pdf | https://www.unikeyic.com/products/vibration-sensors/bu-27135-141/10962128.html
D7E-1 | OMRON | 100+: 4.2576 | Accelerometer 200g 2-Pin | [25 empty] | 366 | https://www.unikeyic.com/media/datasheet/b7/7a/5f52/b7/b73fd05a96ff8527a21b1bfc527d8b90.pdf | https://www.unikeyic.com/products/vibration-sensors/d7e-1/11171069.html
D7E2 | OMRON | 1: 14.1335 5: 12.265 10: 11.5884 25: 10.8756 50: 10.2168 100: 10.044 200: 9.99 400: 9.2772 | Sealed Vibration Sensor 170g | Industrial |  | D7E2 OMRON |  |  | 36.4mm*23.6mm*23.1mm |  | base mount |  | -25℃~60℃ | [7 empty] | Compliant | bulk | [6 empty] | 29 | https://www.unikeyic.com/media/datasheet/b7/7a/5f52/b7/b73fd05a96ff8527a21b1bfc527d8b90.pdf | https://www.unikeyic.com/products/vibration-sensors/d7e2/11329017.html
DFR0027 | DFROBOT | 7: 2.5623 50: 2.4637 100: 2.3651 | Gravity: Digital Vibration Sensor | [6 empty] | 1 (Unlimited) | [7 empty] | Bulk |  | 6588563 |  |  |  |  | - |  |  | - | 200 | https://www.unikeyic.com/media/datasheet/59/d1/fbf2/59d1fbf276f6259c45c0ba0255e25245.pdf | https://www.unikeyic.com/products/vibration-sensors/dfr0027/35030405.html
DX80N9Q45VA-BK | Banner Engineering | 1: 647.2802 | 、Temperature Serial |  | DX80N |  |  |  |  | Not Applicable |  |  |  | -40°C ~ 70°C | Serial |  |  | Box |  | 15635049 |  |  |  | Vibration, Temperature | Q45 |  |  |  | 2 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/dx80n9q45va-bk/35044829.html
DX80N9Q45VTP | Banner Engineering | 1: 346.8727 | Temperature、 (IoT ) Serial |  | DX80N |  |  |  |  | 1 (Unlimited) |  |  |  | -40°C ~ 70°C | Serial |  |  | Box |  | 10651147 |  |  |  | Temperature, Vibration (IoT Finished Device) | DX80 |  |  |  | 9 | https://www.unikeyic.com/media/datasheet/4b/d1/63c6/4b/eaf8466f1286549f42152bd7ab109044.pdf | https://www.unikeyic.com/products/vibration-sensors/dx80n9q45vtp/23948784.html
HX 0805-C2 | HANXIA | 1: 0.0541 | SMD vibration sensor,Ball switch 2.0mm*1.35mm*0.9mm Applied to anti-loss devices，Bracelets and watches | [12 empty] | SMD | [13 empty] | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/hx-0805-c2/982674056.html
HX 1210-C06 | HANXIA | 1: 0.0754 10: 0.062 30: 0.051 100: 0.046 300: 0.0419 4,000: 0.0394 | Omnidirectional vibration trigger,SMD ball switch 2.85mm*2.35mm*1.3mm Applied to fire alarms | [12 empty] | SMD | [13 empty] | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/hx-1210-c06/1002540010.html
MTN/1020 | MONITRAN | 1: 384.1469 | Monitran Vibration Sensors, Minimum operating temperature-25°C, Maximum operating temperature+120°C, maximum8 mA | Industrial |  | MTN/1020 MONITRAN |  |  | 40mm(Length)*19mm(width) |  |  |  | -25℃~120℃ | [15 empty] | 3 | https://www.unikeyic.com/media/datasheet/cd/8d/d4ee/cd/2a2491df15ff42afac95181fbf87085e.pdf | https://www.unikeyic.com/products/vibration-sensors/mtn-1020/11091923.html
MTN/1100 | MONITRAN | 1: 344.6689 6: 324.4781 | Monitran Vibration Sensors, Minimum operating temperature-55°C, Maximum operating temperature+120°C, maximum8 mA | Industrial |  | MTN/1100 MONITRAN |  |  | 51mm(Length)*25mm(width) |  |  |  | -55℃~120℃ | [15 empty] | 1 | https://www.unikeyic.com/media/datasheet/d5/54/7ba3/d5/367bfbd7bab267b8ae0269831b930300.pdf | https://www.unikeyic.com/products/vibration-sensors/mtn-1100/35042599.html
MTN/1100CQ | MONITRAN | 1: 339.1938 | Monitran Vibration Sensor, -55°C to +140°C, Max 8mA | Industrial |  | MTN/1100CQ MONITRAN |  |  | 500cm(Length)*48mm(width) |  |  |  | -55℃~140℃ | [15 empty] | 2 | https://www.unikeyic.com/media/datasheet/32/31/8f6c/32/032962a505a1a593d86d1b061e8e5b9c.pdf | https://www.unikeyic.com/products/vibration-sensors/mtn-1100cq/11057837.html
MTN/1185CQ-10 | MONITRAN | 1: 327.0623 | Monitran Vibration Sensors, Minimum operating temperature-25°C, Maximum operating temperature+90°C, maximum20 mA | Industrial |  | MTN/1185CQ-10 MONITRAN |  |  | 27mm(Length)*27mm(width) |  |  |  | -25℃~90℃ | [15 empty] | 33 | https://www.unikeyic.com/media/datasheet/9f/50/3bd4/9f503bd465714b5628b83ac2e68961ca.pdf | https://www.unikeyic.com/products/vibration-sensors/mtn-1185cq-10/11114202.html
MTN/1185CQ-25 | MONITRAN | 1: 350.4653 | Monitran Vibration Sensors, Minimum operating temperature-25°C, Maximum operating temperature+90°C, maximum20 mA | Industrial |  | MTN/1185CQ-25 MONITRAN |  |  | 27mm(Length)*27mm(width) |  |  |  | -25℃~90℃ | [15 empty] | 8 | https://www.unikeyic.com/media/datasheet/9f/50/3bd4/9f503bd465714b5628b83ac2e68961ca.pdf | https://www.unikeyic.com/products/vibration-sensors/mtn-1185cq-25/34960978.html
MTN/1185ICQ-25 | MONITRAN | 1: 431.6717 | Monitran Vibration Sensor -25°C +90°C Max 20mA | Industrial |  | MTN/1185ICQ-25 MONITRAN |  |  | 43mm*27mm*27mm |  |  |  | -25℃~90℃ | [15 empty] | 2 | https://www.unikeyic.com/media/datasheet/7e/1a/4f20/7e1a4f20b2435be5ae7c78e545b56ce5.pdf | https://www.unikeyic.com/products/vibration-sensors/mtn-1185icq-25/34949675.html
MTN/1800 | MONITRAN | 1: 704.5641 | Monitran Vibration Sensors, Minimum operating temperature-55°C, Maximum operating temperature+120°C, maximum8 mA | Industrial |  | MTN/1800 MONITRAN |  |  | 14mm*14mm*14mm |  |  |  | -55℃~120℃ | [15 empty] | 2 | https://www.unikeyic.com/media/datasheet/d2/c9/c976/d2/b210b837c7d25152da28759ecfc2e2c4.pdf | https://www.unikeyic.com/products/vibration-sensors/mtn-1800/34953946.html
MTN/1830SM8 | MONITRAN | 1: 345.3769 | Monitran Vibration Sensors, Minimum operating temperature-10°C, Maximum operating temperature+140°C, maximum8 mA |  |  | MTN/1830SM8 MONITRAN |  |  | 50mm*19mm*19mm |  |  |  | -10℃~140℃ | [15 empty] | 7 | https://www.unikeyic.com/media/datasheet/1a/5c/b1da/1a/bd9e4306a181ebcac521dd2983f9db82.pdf | https://www.unikeyic.com/products/vibration-sensors/mtn-1830sm8/11099155.html
PC420VP-10-IS | Amphenol | 1: 920.5756 | SENSOR, TOP EXIT, 1IPS FULLSCALE, 1/4-28; |  | PC420 |  | Intrinsically Safe |  |  | 1 (Unlimited) |  | Connector |  | -40°C ~ 85°C | Analog |  | Module | Bulk | - | 10107180 |  |  | - | Vibration | PC420V-IS |  | Connector |  | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/pc420vp-10-is/35069624.html
PC420VP-20 | Amphenol | 1: 594.9111 5: 594.9111 10: 594.9111 | LOOP POWERED SENSOR, 30VDC, SS; Sensor Type:Peak Velocity Output Loop Powered Sensor; Supply Voltage:30VDC; Impedance:-; Sensor Mounting:Stud; Sensitivity:-; External Diameter:1.12"; Internal Diameter:-; Input Current:- |  | PC420 |  | Explosion Proof, Intrinsically Safe |  |  | 1 (Unlimited) |  | Chassis Mount |  | -40°C ~ 105°C | Analog |  | Module | Bulk | - | 13148523 |  |  | - | Vibration | PC420V |  | Connector |  | 2 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/pc420vp-20/34941744.html
PC420VR-05 | Amphenol | 1: 594.9216 5: 594.9216 | LOOP POWERED SENSOR, 30VDC, SS; Sensor Type:RMS Output Loop Powered Sensor; Supply Voltage:30VDC; Impedance:-; Sensor Mounting:Stud; Sensitivity:-; External Diameter:1.12"; Internal Diameter:-; Input Cu |  | PC420 |  | Explosion Proof, Intrinsically Safe |  |  | 1 (Unlimited) |  | Chassis Mount |  | -40°C ~ 105°C | Analog |  | Module | Bulk | - |  |  |  | - | Vibration | PC420V |  | Connector |  | 5 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/pc420vr-05/11050025.html
PC420VR-10 | Amphenol | 1: 646.8901 | LOOP POWERED SENSOR, 30VDC, SS; Sensor Type:RMS Output Loop Powered Sensor; Supply Voltage:30VDC; Impedance:-; Sensor Mounting:Stud; Sensitivity:-; External Diameter:1.12"; Internal Diameter:-; Input Current:- 83AH9133 |  | PC420 |  | Explosion Proof, Intrinsically Safe |  |  | 1 (Unlimited) |  | Chassis Mount |  | -40°C ~ 105°C | Analog |  | Module | Bulk | - | 13148281 |  |  | - | Vibration | PC420V |  | Connector |  | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/pc420vr-10/35047340.html
PC420VR-50 | Amphenol | 1: 646.8901 | LOOP POWERED SENSOR, 30VDC, SS; Sensor Type:RMS Output Loop Powered Sensor; Supply Voltage:30VDC; Impedance:-; Sensor Mounting:Stud; Sensitivity:-; External Diameter:1.12"; Internal Diameter:-; Input Current:- 83AH9136 |  | PC420 |  | Explosion Proof, Intrinsically Safe |  |  | 1 (Unlimited) |  | Chassis Mount |  | -40°C ~ 105°C | Analog |  | Module | Bulk | - | 13148587 |  |  | - | Vibration | PC420V |  | Connector |  | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/pc420vr-50/11082913.html
PCC420VP-05-R6 | Amphenol | 1: 247.8428 5: 243.3365 10: 243.3365 25: 243.3365 | SENSOR, PEAK VELOCITY, 0.5IPS, 30VDC; |  |  |  | - |  |  | 1 (Unlimited) |  | Panel Mount |  | -40°C ~ 105°C | Analog |  | Cylinder, Threaded | Bulk | 12V ~ 30V | 16375101 |  |  | - | Vibration | PCC420V |  | Connector |  | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/pcc420vp-05-r6/35028812.html
QM30VT1-SS | Banner Engineering | 1: 518.4 | SENSOR MULT TEMP/VIBRATION | [6 empty] | Not Applicable |  |  |  | -40°C ~ 105°C | Serial |  |  | Bulk | [5 empty] | Temperature, Vibration | QM30 |  |  |  | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/qm30vt1-ss/693944746.html
QM30VT2 | Banner Engineering | 1: 471.8167 | VIBRATION/TEMPERATURE SENSOR, 30V, PANEL; | [6 empty] | 1 (Unlimited) |  |  |  | -40°C ~ 105°C | RS-485 |  |  | Bulk | [5 empty] | Temperature, Vibration (IoT Finished Device) | QM30 |  |  |  | 1 | https://www.unikeyic.com/media/datasheet/e5/f6/f881/e5f6f8814ca496e5274d8344bb86524a.pdf | https://www.unikeyic.com/products/vibration-sensors/qm30vt2/35046718.html
QM30VT2-QP | Banner Engineering | 1: 471.8167 | VIBRATION/TEMPERATURE SENSOR, 30VDC; | [6 empty] | Not Applicable |  |  |  | -40°C ~ 105°C | RS-485 |  |  | Bulk | [5 empty] | Temperature, Vibration | QM30 |  |  |  | 3 | https://www.unikeyic.com/media/datasheet/c8/07/bbcf/c807bbcff621401b097bad845f61b2ab.pdf | https://www.unikeyic.com/products/vibration-sensors/qm30vt2-qp/693763000.html
RAK12027-0-WB-N | RAK | 1: 15.6865 | RAK12027 WISBLOCK EARTHQUAKE SEN |  |  |  |  | I2C |  | 1 (Unlimited) | [7 empty] | Bag |  | 18682799 |  |  | - | Vibration | - | Board(s) |  | - | 11 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/rak12027-0-wb-n/687838444.html
RTS01 PCBA | Mysentech | 1: 4.7377 10: 4.5589 30: 4.3626 | Inclination、Vibration Detection，Based onRS485Bus can network multi-point series connection，Applied in Collapse、Landslide and other geological disaster monitoring，、Buildings and other safety monitoring fields。Can Multi-point、Chain series arrangement around dangerous rock mass、Retaining Wall、Dangerous House、Landslide、Electric Tower and other monitoring hazard points surroundings，Can Horizontal、Horizontal Straight、Vertical Flexible Installation。3-Axis Tilt Measurement Range±90o，accuracy±0.1o ，Acceleration Measurement Range±16g，accuracy±0.2mg，operating_temperature-40℃～+85℃，Module Size\n22*33*2.3mm(long*wide*high）。, | Industrial |  | RTS01 PCBA Mysentech |  |  | 22mm*33mm*2.3mm |  |  |  | -40℃~85℃ | [16 empty] | https://www.unikeyic.com/media/datasheet/15/90/e2bb/1590e2bbb6936f3a3897dfa2aa68145c.pdf | https://www.unikeyic.com/products/vibration-sensors/rts01-pcba/917367557.html
S1475 | AssemTech | 1: 10.0588 | Assemtech Vibration Sensors, Contact resistance100Ω, Minimum operating temperature-37°C, Maximum operating temperature+100°C, maximum20 mA |  |  | S1475 AssemTech |  |  | 8.08mm(Length)*4.72mm(width) |  |  |  | -37℃~100℃ | [15 empty] | 109 | https://www.unikeyic.com/media/datasheet/38/ce/ff6b/38/4b9e56b903119affdcf5808e5947ba9f.pdf | https://www.unikeyic.com/products/vibration-sensors/s1475/34988573.html
SDV01-003 | GoerTek | 1+: 4.654 5+: 3.4603 10+: 3.307 25+: 3.1242 50+: 2.9996 100+: 2.8855 500+: 2.656 1,000+: 2.5705 | SENSOR VIBRATION DGTL 6LGA | [25 empty] | 2973 |  | https://www.unikeyic.com/products/vibration-sensors/sdv01-003/35040838.html
SEN0209 | DFROBOT | 3: 7.1743 50: 6.8984 100: 6.6225 | Gravity: | [6 empty] | 1 (Unlimited) | [7 empty] | Bulk | [6 empty] | - |  |  | LDT0-028 | 200 | https://www.unikeyic.com/media/datasheet/6a/ca/3267/6a/7b96de38c275cd278e9e75466ac57bb3.pdf | https://www.unikeyic.com/products/vibration-sensors/sen0209/35047413.html
SEN0433 | DFROBOT | 5: 3.4164 50: 3.285 100: 3.1535 |  |  |  |  | - |  |  | 1 (Unlimited) |  | Chassis Mount |  | - |  |  | Module | Bulk | 5V ~ 15V / 6mA |  |  |  | - | Vibration | - |  | Connector |  | 200 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/sen0433/35070602.html
SL298CELL | SpotSee | 1+: 3219.48 | SENSOR MULT SHOCK/VIBRATION | [25 empty] | 25 |  | https://www.unikeyic.com/products/vibration-sensors/sl298cell/10021449.html
SR-0609-07 | XKB Connection | 3,000+: 0.6681 6,000+: 0.6414 9,000+: 0.6307 | [26 empty] | 30000 | https://www.unikeyic.com/media/datasheet/14/a4/dcaf/14a4dcaf2682e971db1ffd27fe77c843.pdf | https://www.unikeyic.com/products/vibration-sensors/sr-0609-07/688115733.html
SV01-003 | GoerTek | 1: 4.5011 5: 3.3435 10: 3.1943 25: 3.0175 50: 2.8965 100: 2.7859 500: 2.5633 1,000: 2.4803 |  |  |  |  | - |  |  | 1 (Unlimited) |  | Surface Mount |  | - | - |  | Module |  | - |  |  |  | 50Hz ~ 4kHz | Vibration | - |  | - |  | 2437 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/sv01-003/10941803.html
SW-105AC-10G | XKB Connection | 3,000: 0.0939 6,000: 0.0902 9,000: 0.0887 |  |  |  | SW-105AC-10G XKB Connection | [9 empty] | Plugins | [12 empty] | 30000 | https://www.unikeyic.com/media/datasheet/1b/da/97df/1bda97dfedc6b05af0d3dc71c6fc23ed.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-105ac-10g/682430258.html
SW-105AC-15G | XKB Connection | 3,000: 0.1021 6,000: 0.098 9,000: 0.0964 |  |  |  | SW-105AC-15G XKB Connection | [22 empty] | 30000 | https://www.unikeyic.com/media/datasheet/17/f4/dc50/17f4dc507d6329350da3f1afedeb436f.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-105ac-15g/682142008.html
SW-168DW-7G | XKB Connection | 3,000: 0.245 6,000: 0.2352 9,000: 0.2312 |  |  |  | SW-168DW-7G XKB Connection | [22 empty] | 30000 | https://www.unikeyic.com/media/datasheet/47/f4/976b/47f4976bc04b9f8354cc4be3b0e13568.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-168dw-7g/683378191.html
SW-168DZW-9G | XKB Connection | 3,000: 0.245 6,000: 0.2352 9,000: 0.2312 |  |  |  | SW-168DZW-9G XKB Connection | [22 empty] | 30000 | https://www.unikeyic.com/media/datasheet/1e/6c/e90a/1e6ce90ab0958ab5f9a00c5ae7d49d9f.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-168dzw-9g/682108782.html
SW-18010P | SHOU HAN | 5: 0.0784 50: 0.0626 150: 0.0546 1,000: 0.044 2,000: 0.0392 5,000: 0.0368 |  |  |  | SW-18010P SHOU HAN | [9 empty] | Plugins | [13 empty] | https://www.unikeyic.com/media/datasheet/4e/c3/9286/4e/a000c0e74d009f550c6e0c4234e30856.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-18010p/695257359.html
SW-18015DPZR-13T11S1 | XKB Connection | 5: 0.1424 50: 0.1171 150: 0.0963 500: 0.0867 3,000: 0.079 5,000: 0.0745 |  |  |  | SW-18015DPZR-13T11S1 XKB Connection | [9 empty] | Plugins | [13 empty] | https://www.unikeyic.com/media/datasheet/82/49/5bcc/82495bcce236c80d05edba15225ddc7b.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-18015dpzr-13t11s1/682843165.html
SW-18015PZR-10G12B2 | XKB Connection | 5: 0.0691 50: 0.0568 150: 0.0467 500: 0.0421 3,000: 0.0384 5,000: 0.0361 |  |  |  | SW-18015PZR-10G12B2 XKB Connection | [9 empty] | Plugins | [13 empty] | https://www.unikeyic.com/media/datasheet/15/53/d902/1553d9026e84042fd45e6443319ca0f2.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-18015pzr-10g12b2/30743941.html
SW-18015PZR-10G12B3 | XKB Connection | 5: 0.0223 50: 0.0211 |  | Industrial |  | SW-18015PZR-10G12B3 XKB Connection | [9 empty] | Plugins | [13 empty] | https://www.unikeyic.com/media/datasheet/f3/f6/6cef/f3f66cef07165aca51252e4a83911c9c.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-18015pzr-10g12b3/681849493.html
SW-18015PZR-10G12S1 | XKB Connection | 3,000: 0.045 6,000: 0.0431 9,000: 0.0424 |  |  |  | SW-18015PZR-10G12S1 XKB Connection | [22 empty] | 30000 | https://www.unikeyic.com/media/datasheet/80/3a/2c31/803a2c313c377b56e9b9621c7e794bc8.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-18015pzr-10g12s1/683338160.html
SW-18030PR-10G12B6 | XKB Connection | 5: 0.0825 50: 0.0678 150: 0.0558 500: 0.0503 3,000: 0.0458 5,000: 0.0431 |  |  |  | SW-18030PR-10G12B6 XKB Connection | [23 empty] | https://www.unikeyic.com/media/datasheet/b2/96/61f4/b29661f45b9bb9ede90cdb129dbd4dfa.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-18030pr-10g12b6/682476222.html
SW-18030PR-10G8B6 | XKB Connection | 5: 0.1074 50: 0.0884 150: 0.0727 500: 0.0654 3,000: 0.0597 5,000: 0.0561 |  |  |  | SW-18030PR-10G8B6 XKB Connection | [23 empty] | https://www.unikeyic.com/media/datasheet/d7/d3/0304/d7d30304127a4385038b53f442466916.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-18030pr-10g8b6/681915922.html
SW-18110PZR-10G12B2 | XKB Connection | 10: 0.0451 100: 0.0371 300: 0.0305 1,000: 0.0275 6,000: 0.0251 10,000: 0.0236 |  |  |  | SW-18110PZR-10G12B2 XKB Connection | [9 empty] | Plugins | [13 empty] | https://www.unikeyic.com/media/datasheet/7e/90/633f/7e90633ff11ab81287b539d54f25495e.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-18110pzr-10g12b2/681984632.html
SW-18110W-10G12B1 | XKB Connection | 3,000: 0.045 6,000: 0.0431 9,000: 0.0424 |  |  |  | SW-18110W-10G12B1 XKB Connection | [22 empty] | 30000 | https://www.unikeyic.com/media/datasheet/e8/b3/e0f8/e8b3e0f81718dd78d2d130b97189e25d.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-18110w-10g12b1/682752493.html
SW-18110Z-10G12S1 | XKB Connection | 3,000: 0.045 6,000: 0.0431 9,000: 0.0424 |  |  |  | SW-18110Z-10G12S1 XKB Connection | [22 empty] | 30000 | https://www.unikeyic.com/media/datasheet/61/45/f613/6145f613cb23a1974a6cec754a829f67.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-18110z-10g12s1/682930501.html
SW-200-15T14G4 | XKB Connection | 3,000: 0.0817 6,000: 0.0784 9,000: 0.0771 |  |  |  | SW-200-15T14G4 XKB Connection | [9 empty] | Plugins | [12 empty] | 30000 | https://www.unikeyic.com/media/datasheet/53/0d/502e/530d502e235219f194e7f6071c5d19db.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-200-15t14g4/24800646.html
SW-200-20T20G | XKB Connection | 3,000: 0.0817 6,000: 0.0784 9,000: 0.0771 |  |  |  | SW-200-20T20G XKB Connection | [22 empty] | 30000 | https://www.unikeyic.com/media/datasheet/93/61/649f/9361649fcd7061e5436790197d77ece7.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-200-20t20g/692590185.html
SW-200D-10T20G3 | XKB Connection | 5: 0.0919 50: 0.0756 150: 0.0622 500: 0.056 3,000: 0.051 5,000: 0.0481 |  |  |  | SW-200D-10T20G3 XKB Connection | [9 empty] | Plugins | [13 empty] | https://www.unikeyic.com/media/datasheet/73/8f/7c16/738f7c16288e4783dec341f3ef5bcf6d.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-200d-10t20g3/10932760.html
SW-200D-15A10G | XKB Connection | 5: 0.1448 50: 0.1191 150: 0.0979 500: 0.0882 3,000: 0.0804 5,000: 0.0757 |  |  |  | SW-200D-15A10G XKB Connection | [9 empty] | Plugins | [13 empty] | https://www.unikeyic.com/media/datasheet/ab/e1/8764/abe18764b9bfe24a7380ff21a7d8da91.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-200d-15a10g/683281604.html
SW-200DW-17T3G | XKB Connection | 1: 0.3634 10: 0.3116 30: 0.2661 100: 0.2311 600: 0.2111 1,000: 0.201 |  |  |  | SW-200DW-17T3G XKB Connection | [23 empty] | https://www.unikeyic.com/media/datasheet/8c/79/1bba/8c791bbaa23aa639fe49c211b5bf43a8.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-200dw-17t3g/692588654.html
SW-200DW-7T5G | XKB Connection | 1+: 0.3553 10+: 0.3047 30+: 0.2602 100+: 0.226 600+: 0.2063 1,000+: 0.1966 | [26 empty] | 2941 | https://www.unikeyic.com/media/datasheet/b8/72/6a37/b8726a37108aa6f3e305d9dc6b563334.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-200dw-7t5g/682725050.html
SW-200M-10T10G | XKB Connection | 3,000: 0.0898 6,000: 0.0862 9,000: 0.0848 |  |  |  | SW-200M-10T10G XKB Connection | [22 empty] | 30000 | https://www.unikeyic.com/media/datasheet/71/c5/276f/71c5276f1567fabff35a37b5a604b449.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-200m-10t10g/692587654.html
SW-200M-14G15N | XKB Connection | 5: 0.0447 50: 0.0422 |  |  |  | SW-200M-14G15N XKB Connection | [9 empty] | Plugins | [13 empty] | https://www.unikeyic.com/media/datasheet/4d/f6/a897/4df6a897fe8325f302478fd0200300be.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-200m-14g15n/683431249.html
SW-200M-15T19G | XKB Connection | 3,000: 0.0898 6,000: 0.0862 9,000: 0.0848 |  |  |  | SW-200M-15T19G XKB Connection | [22 empty] | 30000 | https://www.unikeyic.com/media/datasheet/7b/08/2754/7b082754848d70ced98c36f0dbb18ce1.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-200m-15t19g/692588967.html
SW-200M-19T10G2 | XKB Connection | 3,000+: 0.0898 6,000+: 0.0862 9,000+: 0.0848 | [26 empty] | 30000 |  | https://www.unikeyic.com/products/vibration-sensors/sw-200m-19t10g2/1007965088.html
SW-200M-20N20G | XKB Connection | 3,000: 0.0898 6,000: 0.0862 9,000: 0.0848 |  |  |  | SW-200M-20N20G XKB Connection | [9 empty] | Plugins | [12 empty] | 30000 | https://www.unikeyic.com/media/datasheet/ab/62/0e61/ab620e613f2089908b22533b343e92bc.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-200m-20n20g/682858663.html
SW-460D-14T14G | XKB Connection | 3,000: 0.094 6,000: 0.0902 9,000: 0.0887 |  |  |  | SW-460D-14T14G XKB Connection | [22 empty] | 30000 | https://www.unikeyic.com/media/datasheet/ce/b4/25e2/ceb425e219b24218ea915056e4410bd0.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-460d-14t14g/682019096.html
SW-520D | SHOU HAN | 5: 0.1516 50: 0.1203 150: 0.107 1,000: 0.0901 2,000: 0.0827 5,000: 0.0783 | [13 empty] | Plugins | [13 empty] | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-520d/869761203.html
SW-520DS-AB12G | XKB Connection | 5: 0.1666 50: 0.1371 150: 0.1128 500: 0.1016 3,000: 0.0925 5,000: 0.0871 |  |  |  | SW-520DS-AB12G XKB Connection | [23 empty] | https://www.unikeyic.com/media/datasheet/50/ad/b5c0/50adb5c0330b901ef38c8adcc7f4b289.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-520ds-ab12g/26237661.html
SW-520S-AB185G | XKB Connection | 5: 0.1223 50: 0.1006 150: 0.0827 500: 0.0745 3,000: 0.0679 5,000: 0.0639 |  |  |  | SW-520S-AB185G XKB Connection | [9 empty] | Plugins | [13 empty] | https://www.unikeyic.com/media/datasheet/bd/de/c835/bddec835565b489a3a477c65d7c2db4d.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-520s-ab185g/251761082.html
SW-56010PD-30S1 | XKB Connection | 3,000: 0.0653 6,000: 0.0627 9,000: 0.0617 |  |  |  | SW-56010PD-30S1 XKB Connection | [9 empty] | Plugins | [12 empty] | 30000 | https://www.unikeyic.com/media/datasheet/c4/96/583b/c496583b98d3e946af2d1d09f6a61e1a.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-56010pd-30s1/692591968.html
SW-58010PD-10B1 | XKB Connection | 3,000: 0.0694 6,000: 0.0666 9,000: 0.0655 |  |  |  | SW-58010PD-10B1 XKB Connection | [9 empty] | Plugins | [12 empty] | 30000 | https://www.unikeyic.com/media/datasheet/64/a3/1a4c/64a31a4cb02730dc95de2ebc661e3ac0.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-58010pd-10b1/683292559.html
SW-58010PWD-4A10B2 | XKB Connection | 3,000: 0.0694 6,000: 0.0666 9,000: 0.0655 |  |  |  | SW-58010PWD-4A10B2 XKB Connection | [22 empty] | 30000 | https://www.unikeyic.com/media/datasheet/67/f5/ed43/67f5ed435e8852f3c40a925258fae5f8.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-58010pwd-4a10b2/682932215.html
SW-58010PWD-4A10S1 | XKB Connection | 5: 0.123 50: 0.1012 150: 0.0832 500: 0.075 3,000: 0.0683 5,000: 0.0644 |  |  |  | SW-58010PWD-4A10S1 XKB Connection | [9 empty] | Plugins | [13 empty] | https://www.unikeyic.com/media/datasheet/27/c7/b390/27c7b3903b8b96de17d720eb5c5f0291.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-58010pwd-4a10s1/683153167.html
SW-58010PWD-4A12S1 | XKB Connection | 3,000: 0.0694 6,000: 0.0666 9,000: 0.0655 |  |  |  | SW-58010PWD-4A12S1 XKB Connection | [9 empty] | Plugins | [12 empty] | 30000 | https://www.unikeyic.com/media/datasheet/1f/c0/b336/1fc0b3361bef4d35d64046d6f6c40837.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-58010pwd-4a12s1/683311806.html
SW-58010PZD-10A10S1 | XKB Connection | 3,000: 0.0694 6,000: 0.0666 9,000: 0.0655 |  |  |  | SW-58010PZD-10A10S1 XKB Connection | [9 empty] | Plugins | [12 empty] | 30000 | https://www.unikeyic.com/media/datasheet/cc/00/33f6/cc0033f6fe26796141f04a0acc7db68d.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-58010pzd-10a10s1/682095533.html
SW-58010PZD-7N11S1 | XKB Connection | 5: 0.0345 50: 0.0326 |  |  |  | SW-58010PZD-7N11S1 XKB Connection | [9 empty] | Plugins | [13 empty] | https://www.unikeyic.com/media/datasheet/9a/b4/db51/9ab4db5177d89225b01820822002738d.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-58010pzd-7n11s1/683417690.html
SW-58010PZDG-7A11S1 | XKB Connection | 3,000: 0.0898 6,000: 0.0862 9,000: 0.0848 |  |  |  | SW-58010PZDG-7A11S1 XKB Connection | [9 empty] | Plugins | [12 empty] | 30000 | https://www.unikeyic.com/media/datasheet/fa/e1/e1c5/fae1e1c535aca225f3af32213aba480f.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-58010pzdg-7a11s1/682143105.html
SW-58012PWD-4A9B1 | XKB Connection | 5: 0.0345 50: 0.0326 |  |  |  | SW-58012PWD-4A9B1 XKB Connection | [9 empty] | Plugins | [13 empty] | https://www.unikeyic.com/media/datasheet/ad/25/7266/ad25726638afb4d06edac0e6dad5152b.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-58012pwd-4a9b1/2993700.html
SW-58015PD-10B3 | XKB Connection | 3,000: 0.0694 6,000: 0.0666 9,000: 0.0655 |  |  |  | SW-58015PD-10B3 XKB Connection | [9 empty] | Plugins | [12 empty] | 30000 | https://www.unikeyic.com/media/datasheet/23/ce/09c1/23ce09c145e63a643e68798e67921aca.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-58015pd-10b3/682118500.html
SW-58015Z-7N12B3 | XKB Connection | 3,000: 0.0622 6,000: 0.0597 9,000: 0.0587 |  |  |  | SW-58015Z-7N12B3 XKB Connection | [22 empty] | 30000 | https://www.unikeyic.com/media/datasheet/fe/90/8ef3/fe908ef34b3c521ca7411d9bdf444ab9.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-58015z-7n12b3/682306445.html
SW-58025PD-10B5 | XKB Connection | 3,000: 0.0694 6,000: 0.0666 9,000: 0.0655 |  |  |  | SW-58025PD-10B5 XKB Connection | [9 empty] | Plugins | [12 empty] | 30000 | https://www.unikeyic.com/media/datasheet/89/93/a02c/8993a02cf65a23cafef74b578375ef9b.pdf | https://www.unikeyic.com/products/vibration-sensors/sw-58025pd-10b5/682971064.html
USEVJV02A00000 | KEMET | 1: 525.4982 | KEMET VS-JV02A Vibration Sensor | Industrial |  |  |  |  | 18mm*11mm*3mm |  |  |  | -25℃~85℃ | [15 empty] | 2 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/usevjv02a00000/1000942363.html
USEVJV02AK0100 | KEMET | 1: 1243.2393 | KEMET VS-JV02A-K01 Vibration Sensor | Industrial |  |  |  |  | 18mm*11mm*3mm |  |  |  | -25℃~85℃ | [15 empty] | 2 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/usevjv02ak0100/1000938181.html
USEVJV02AK0200 | KEMET | 1: 771.0189 | Vibration sensor, Accelerometer | Industrial |  |  |  |  | 2.9mm(height) |  |  |  | -25℃~85℃ | [15 empty] | 2 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/usevjv02ak0200/1000942017.html
USEVJV02AK0300 | KEMET | 1: 1114.9683 | Vibration sensor, Accelerometer | Industrial | [8 empty] | -25℃~85℃ | [15 empty] | 2 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/usevjv02ak0300/1000942087.html
USEVJV02AK0400 | KEMET | 1: 903.977 | KEMET VS-JV02A-K04 Vibration Sensor | Industrial |  |  |  |  | 11.4mm*8.4mm*2.9mm |  |  |  | -25℃~85℃ | [15 empty] | 2 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/usevjv02ak0400/1000937224.html
VBS020601 | OncQue | 1: 1.9263 | Vibration Sensor 5V 2-Pin Bag | Industrial |  | VBS020601 OncQue |  |  |  |  | Through hole mounting |  | -40℃~125℃ | [15 empty] | 47 | https://www.unikeyic.com/media/datasheet/94/87/b382/94/3a13a095c2551836d8a47cb7387174f4.pdf | https://www.unikeyic.com/products/vibration-sensors/vbs020601/11348352.html
VBS030600 | OncQue | 1: 0.8944 |  | Industrial |  | VBS030600 OncQue | [6 empty] | -25℃~85℃ | [15 empty] | 397 | https://www.unikeyic.com/media/datasheet/c9/db/9663/c9/91ae3eb092b3b2e770175ceb34d62424.pdf | https://www.unikeyic.com/products/vibration-sensors/vbs030600/11217815.html
VIM32PL-E1AC8-0RE-IO-1V1401 | PEPPERL+FUCHS | 1: 402.1704 5: 378.3002 10: 369.3935 25: 360.3787 | VIBRATION SENSOR | [18 empty] | boxed | [6 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/vim32pl-e1ac8-0re-io-1v1401/726128399.html
VKV021 | ifm electronic | 1: 287.3574 | ifm electronic Vibration Sensors, Contact resistance500Ω, Minimum operating temperature-25°C, Maximum operating temperature+80°C, Maximum Shock25mm/s, maximum500 mA |  |  |  | - |  |  | Not Applicable |  | Panel Mount |  | -25°C ~ 80°C |  |  | Cylinder, Threaded - M8 | Box | - | 12145336 |  |  | 10Hz ~ 1kHz | Vibration | - |  | Connector |  | 55 | https://www.unikeyic.com/media/datasheet/88/f7/cc27/88/78973db05516337d1e7648c559809fef.pdf | https://www.unikeyic.com/products/vibration-sensors/vkv021/34999831.html
VKV022 | ifm electronic | 1: 429.9066 | ifm electronic Vibration Sensors, Minimum operating temperature-25°C, Maximum operating temperature+80°C, Maximum Shock0 → 50mm/s, maximum500 mA |  |  |  | - |  |  | Not Applicable |  | Panel Mount |  | -25°C ~ 80°C |  |  | Cylinder, Threaded - M8 | Box | - |  |  |  | 10Hz ~ 1kHz | Vibration | - |  | Connector |  | 15 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/vkv022/35029180.html
VS-102 | AssemTech | 1: 3.3784 15: 3.1734 50: 3.0485 | Assemtech Vibration Sensor, -25°C to +80°C, Max 309 mA | Industrial |  | VS-102 AssemTech |  |  | 10mm*11mm*12mm |  |  |  | -25℃~80℃ | [15 empty] | 16 | https://www.unikeyic.com/media/datasheet/82/d3/e7e4/82/77db7c366c146c7e7296cd69049b148a.pdf | https://www.unikeyic.com/products/vibration-sensors/vs-102/35055444.html
VS-BV203-B | KEMET | 1: 297.3012 | KEMET Vibration Sensors, Minimum operating temperature-25°C, Maximum operating temperature+85°C, Maximum Shock±100m/s², maximum450 μA |  |  |  | Built-In Amplifier |  |  | 1 (Unlimited) |  | User Defined |  | -25°C ~ 75°C | Voltage |  | Module | Bulk | 3.0 V ~ 5.5 V / 350µA |  |  |  | 10Hz ~ 15kHz | Vibration, Acceleration | VS |  | Cable with Connector |  | 58 | https://www.unikeyic.com/media/pdf/OtherRelatedDocuments/kemet/b6/84/ca86/vs-bv203-b/2025/12/VS-BV203-B.pdf | https://www.unikeyic.com/products/vibration-sensors/vs-bv203-b/10885315.html
VS-JV10A | KEMET | 1: 518.2202 | KEMET Vibration Sensor -25°C +85°C ±50m/s² Max 600μA |  |  |  | Built-In Amplifier |  |  | 1 (Unlimited) |  | Connector |  | -25°C ~ 85°C | Voltage |  | Module | Bulk | 3.2V ~ 5.5V / 500µA | 10707248 |  |  | 10Hz ~ 15kHz | Vibration, Acceleration | VS |  | Threaded |  | 3 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/vs-jv10a/35047254.html
VS-JV10A-K01 | KEMET | 1: 780.01 | KEMET Vibration Sensor, -25°C to +85°C, ±50m/s² Max Shock, 600μA Max |  |  |  |  | Analog |  | 1 (Unlimited) | [7 empty] | Bulk |  | 10707244 |  |  | 10Hz ~ 15kHz | Vibration, Acceleration | VS | Board(s), Cable(s), Accessories |  | VS-JV10A | 1 | https://www.unikeyic.com/media/pdf/OtherRelatedDocuments/kemet/65/5c/31fc/vs-jv10a-k01/2025/12/VS-JV10A-K01.pdf | https://www.unikeyic.com/products/vibration-sensors/vs-jv10a-k01/14235387.html
VS-JV10A-K02 | KEMET | 1: 493.031 2: 483.736 | KEMET Vibration Sensors, Minimum operating temperature-25°C, Maximum operating temperature+85°C, Maximum Shock±50m/s², maximum600 μA |  |  |  |  | Analog |  | 1 (Unlimited) | [7 empty] | Bulk |  | 10707245 |  |  | 10Hz ~ 15kHz | Vibration, Acceleration | VS | Board(s), Cable(s) |  | VS-JV10A | 2 | https://www.unikeyic.com/media/pdf/OtherRelatedDocuments/kemet/93/72/d945/vs-jv10a-k02/2025/12/VS-JV10A-K02.pdf | https://www.unikeyic.com/products/vibration-sensors/vs-jv10a-k02/17621950.html
VS-JV10A-K03 | KEMET | 1: 699.534 | KEMET Vibration Sensor -25°C +85°C ±50m/s² Max 600μA |  |  |  |  | Analog |  | 1 (Unlimited) | [7 empty] | Bulk |  |  |  |  | 10Hz ~ 15kHz | Vibration, Acceleration | VS | Board(s), Cable(s), Accessories |  | VS-JV10A | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/vs-jv10a-k03/22734912.html
VS-JV10A-K04 | KEMET | 1: 813.934 2: 768.075 5: 727.122 | KEMET Vibration Sensor -25°C +85°C ±50m/s² Max 600μA |  |  |  |  | Analog |  | 1 (Unlimited) | [7 empty] | Bulk |  | 10707246 |  |  | 10Hz ~ 15kHz | Vibration, Acceleration | VS | Board(s), Cable(s), Accessories |  | VS-JV10A | 1 | https://www.unikeyic.com/media/pdf/OtherRelatedDocuments/kemet/4d/33/35a6/vs-jv10a-k04/2025/12/VS-JV10A-K04.pdf | https://www.unikeyic.com/products/vibration-sensors/vs-jv10a-k04/20473812.html
VSA001 | ifm electronic | 1: 388.5777 | ifm electronic Vibration Sensor -30°C to +125°C Max 15mA |  |  |  | - |  |  | 1 (Unlimited) |  | Panel Mount |  | -30°C ~ 125°C | Analog |  | Cylinder, Threaded | Box | 7.2V ~ 10.8V / 15mA | 17866757 |  |  | 1Hz ~ 6kHz | Acceleration | - |  | Connector |  | 9 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/vibration-sensors/vsa001/6259547.html
VSA008 | ifm electronic | 1+: 356.4 | VIBRATION ACCELEROMETER, 1 AXIS, | [25 empty] | 3 |  | https://www.unikeyic.com/products/vibration-sensors/vsa008/695210676.html
VSE002 | ifm electronic | 1: 930.96 | SENSOR, VIBRATION, DIAGNOSTIC MO |  |  |  | - |  |  | 1 (Unlimited) |  | DIN Rail |  | 0°C ~ 70°C |  |  | Module | Box | 24V / 200mA | 17866959 |  |  | 0.1Hz ~ 12kHz | Vibration | - |  | Screw Terminal |  | 3 | https://www.unikeyic.com/media/datasheet/0b/7e/7eac/0b7e7eace5068d7e67ddf0a28476f57c.pdf | https://www.unikeyic.com/products/vibration-sensors/vse002/695328991.html
VTV121 | ifm electronic | 1: 442.4999 | ifm electronic Vibration Sensor, Contact Resistance 720Ω, -30°C to +125°C, Max Shock 50mm/s, Max 20mA |  |  |  | - |  |  | 1 (Unlimited) |  | Panel Mount |  | -30°C ~ 125°C | Analog |  | Cylinder, Threaded | Box | 9.6V ~ 32V | 17866799 |  |  | 10Hz ~ 1kHz | Vibration | - |  | Connector |  | 32 | https://www.unikeyic.com/media/datasheet/cf/3a/aac5/cf/0a87977345dfc873fb22c7f87b965159.pdf | https://www.unikeyic.com/products/vibration-sensors/vtv121/11209229.html
VTV122 | ifm electronic | 1: 442.4999 | ifm electronic Vibration Sensors, Contact resistance720Ω, Minimum operating temperature-30°C, Maximum operating temperature+125°C, Maximum Shock25mm/s, maximum20 mA |  |  |  | - |  |  | Not Applicable |  | Panel Mount |  | -30°C ~ 125°C | Analog |  | Cylinder, Threaded | Box | - | 12145304 |  |  | 10Hz ~ 1kHz | Vibration | - |  | Connector |  | 23 | https://www.unikeyic.com/media/datasheet/d2/a6/ba3e/d2a6ba3e706785c1d83d65e21f998890.pdf | https://www.unikeyic.com/products/vibration-sensors/vtv122/35051671.html