## Signal Generators & Analyzers
Part Number | Manufacturer | Price | Description | Accessory Type | Amplitude (Level) Range | Application Level | Base Product Number | Contents | Datasheet | Display Type | Features | For Use With / Related Products | Frequency - Max | Frequency Range | Function | Includes | Kit Type | Length/Width/Height | Moisture Sensitivity Level (MSL) | Number of Channels | Operating Temperature | Packaging | Rid | Series | Signal Types | Specifications | Style | Supply Voltage | Tool Type | Weight | Stock | Datasheet URL | Source URL
00819-9 | KVASER | 1: 1678.1148 | DATA LOGGER, 2CH, 1MBPS; No. of Channels:2Channels; Sample Rate:-; Product Range:Memorator Pro 2XHS V2 Series; SVHC:No SVHC (15-Jan-2019) | [27 empty] | 42 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/00819-9/25682329.html
1013-576 | Megger | 1: 1301.6762 | Megger Spectrum Analyzer Accessories, EV Charger Tester |  |  | Commercial Grade | [14 empty] | 0℃~40℃ | [9 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/1013-576/682320408.html
109990010 | Seeed Studio | 1: 232.1418 |  |  | -115 ~ -5dBm | [5 empty] | Hold, Max, Ave, USB Port |  |  | 240MHz ~ 960MHz |  | Antenna, Battery |  |  | 1 (Unlimited) |  |  | Bulk |  | RF Explorer® |  |  | Handheld |  |  |  | 20 | https://www.unikeyic.com/media/datasheet/90/00/24ef/900024efa9fd15a7ad0fa58481971a73.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/109990010/22558528.html
109990525 | Seeed Studio | 1: 969.84 | CHELEGANCE SV6301A 6.3G VNA |  | -40dBm ~ -10dBm | [5 empty] | USB Port |  |  | 1MHz ~ 6.3GHz |  | AC Adapter, Battery, Cable, Case, Software |  |  | 1 (Unlimited) |  |  | Box | 21526017 | - |  |  | Handheld |  |  |  | 44 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/109990525/644127198.html
113991034 | Seeed Studio | 1: 268.7998 | RF ANLZ HANDHELD 50KHZ-3GHZ |  | -9 ~ -14dBm | [5 empty] | USB Port |  |  | 50kHz ~ 3GHz |  | AC Adapter, Cable |  |  | 1 (Unlimited) |  |  | Bulk |  | - |  |  | Handheld |  |  |  | 168 | https://www.unikeyic.com/media/pdf/Manuals/seeed-studio/28/57/0bc9/113991034/2025/12/JNCRadio-VNA-3G-Portable-Vector-Network-Analyzer-User-Manual-V1-0-0-1.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/113991034/22169345.html
114991829 | Seeed Studio | 1: 372.3702 |  |  | -125 ~ 10dBm | [5 empty] | Hold, Max, Ave, USB Port |  |  | 50KHz ~ 960MHz, 2.35GHz ~ 2.55GHz |  | Antennas (Directional and Stick), Battery, Case |  |  | 1 (Unlimited) |  |  | Bulk | 10451866 | RF Explorer® |  |  | Handheld |  |  |  | 20 | https://www.unikeyic.com/media/datasheet/35/62/c643/35/1cc83ab9556c3b896aa039ad0ddb478e.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/114991829/18613804.html
114991830 | Seeed Studio | 1: 294.4641 |  |  | -125 ~ 10dBm | [5 empty] | Hold, Max, Ave, USB Port |  |  | 50kHz ~ 960MHz |  | Antennas (Directional and Stick), Battery, Case |  |  | 1 (Unlimited) |  |  | Bulk | 10451884 | RF Explorer® |  |  | Handheld |  |  |  | 20 | https://www.unikeyic.com/media/datasheet/58/e2/1906/58/d47246c18d271921d334f8983eba805b.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/114991830/23529368.html
114992145 | Seeed Studio | 1: 699.5525 |  |  | -125 ~ 10dBm | [5 empty] | Hold, Max, Ave, USB Port |  |  | 50kHz ~ 6.1GHz |  | Antenna, Battery, Case |  |  | 1 (Unlimited) |  |  | Bulk | 12396927 | RF Explorer® |  |  | Handheld |  |  |  | 20 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/114992145/14269226.html
114992146 | Seeed Studio | 1: 621.6463 |  |  | -125 ~ 10dBm | [5 empty] | Hold, Max, Ave, USB Port |  |  | 50kHz ~ 4GHz |  | Antenna, Battery, Case |  |  | 1 (Unlimited) |  |  | Bulk | 12396920 | RF Explorer® |  |  | Handheld |  |  |  | 20 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/114992146/1970345.html
1225621 | RS | 1: 3009.596 5: 2859.1125 | RS PRO AFG-3022 Function Generator | [14 empty] | 265mm*374mm*107mm | [12 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/1225621/32997126.html
1232207 | RS | 1: 1174.4842 5: 966.5999 | RS PRO Power Quality Analyzer, IPM6200 Series, RS232C Interface, 3-Phase | [14 empty] | 62mm*35.6mm*210mm |  |  | -10℃~50℃ | [9 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/1232207/28219455.html
1232244 | RS | 1: 1845.2901 | RS PRO Power Quality Analyzer, IPM3600N Series, USB, 3-Phase | [14 empty] | 116mm*54mm*235mm | [12 empty] | 24 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/1232244/14694788.html
1233529 | RS | 1: 323.9176 5: 266.5845 | RS PRO Signal Generator, Max Freq 5MHz, Output Amp 1mV Pk-Pk → 10V Pk-Pk, 2mV Pk-Pk → 20V Pk-Pk (Open Circuit), USB | [14 empty] | 266mm*293mm*107mm | [12 empty] | 81 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/1233529/3327445.html
1233531 | RS | 1: 519.7597 5: 427.7618 | RS PRO Function generators and counters, Maximum frequency range5MHz, Output amplitude1 mV Pk-Pk → 10 V Pk-Pk, 2 mV Pk-Pk → 20 V Pk-Pk (Open Circuit), USBinterface | [14 empty] | 266mm*293mm*107mm | [12 empty] | 12 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/1233531/26259249.html
1233532 | RS | 1: 745.8584 5: 613.8418 | RS PRO Function generators and counters, Maximum frequency range12MHz, Output amplitude1 mV Pk-Pk → 10 V Pk-Pk, 2 mV Pk-Pk → 20 V Pk-Pk (Open Circuit), USBinterface | [14 empty] | 266mm*293mm*107mm | [12 empty] | 3 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/1233532/23589852.html
1233533 | RS | 1: 793.9015 5: 653.3803 | RS PRO Function Generator & Counter, Max Freq 25MHz, Out Amp 1mVpk-pk→5Vpk-pk, 2mVpk-pk→10Vpk-pk (Open Circuit), USB | [14 empty] | 266mm*293mm*107mm | [12 empty] | 19 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/1233533/14877770.html
1233534 | RS | 1: 821.3031 5: 675.9327 | RS PRO Function generators and counters, Maximum frequency range25MHz, Output amplitude1 mV Pk-Pk → 10 V Pk-Pk, 1 mV Pk-Pk → 5 V Pk-Pk, 2 mV Pk-Pk → | [14 empty] | 266mm*293mm*107mm | [12 empty] | 48 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/1233534/27304009.html
1233568 | RS | 1: 1373.6354 | RS PRO Desktop Spectrum Analyzer, 150 kHz → 3 GHz, TFT LCD, 15-Pin D-Sub Receptacle, 9-Pin D-Sub Receptacle, RS232, USB | [14 empty] | 296mm*115.1mm*152mm |  |  | 5℃~45℃ | [9 empty] | 16 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/1233568/31174438.html
1233580 | RS | 1: 874.8845 | RS PRO RF Signal Generator, Model ISG LF44, USB 2.0 Interface | [27 empty] | 21 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/1233580/12271420.html
1236443 | RS | 1: 3239.6878 5: 2666.2616 | RS PRO desktop spectrum analyzer 9 kHz → 2.1GHz, 1 passageway, TFT LCD, RJ45, USB-A 2.0, USB-B 2.0interface |  |  | Commercial Grade | [11 empty] | 393mm*207mm*116.5mm |  |  | 0℃~50℃ | [9 empty] | 8 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/1236443/7233115.html
1236444 | RS | 1: 4573.9218 5: 3764.3359 | RS PRO Desktop Spectrum Analyzer 9kHz-3.2GHz 1CH TFT LCD RJ45 USB-A 2.0 USB-B 2.0 |  |  | Commercial Grade | [11 empty] | 393mm*207mm*116.5mm |  |  | 0℃~50℃ | [9 empty] | 7 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/1236444/3988242.html
1236458 | RS | 1: 515.4463 5: 424.2143 | RS PRO Arbitrary Waveform Generator, Max Output 10Vpp, Min Freq 0MHz, Max Freq 5MHz |  |  | Commercial Grade | [11 empty] | 229mm*281mm*105mm |  |  | 0℃~40℃ | [9 empty] | 88 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/1236458/17385360.html
1236460 | RS | 1: 1097.0323 | RS PRO Arbitrary Waveform Generator, Max Output Amp 20Vpp, Min Freq 1μHz, Max Freq 40MHz |  |  | Commercial Grade | [11 empty] | 260.3mm*295.7mm*107.2mm |  |  | 0℃~40℃ | [9 empty] | 23 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/1236460/23798145.html
1236461 | RS | 1: 1351.8865 5: 1112.6041 | RS PRO Arbitrary Waveform Gen, Max Out Amp 20Vpp, Min Freq 1μHz, Max Freq 80MHz |  |  | Commercial Grade | [11 empty] | 260.3mm*295.7mm*107.2mm |  |  | 0℃~40℃ | [9 empty] | 38 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/1236461/23296314.html
1236462 | RS | 1: 1486.7304 | RS PRO Arbitrary Waveform Generator, Output Amp Max 20Vpp, Freq Min 1μHz, Freq Max 120MHz |  |  | Commercial Grade | [11 empty] | 260.3mm*295.7mm*107.2mm |  |  | 0℃~40℃ | [9 empty] | 34 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/1236462/19789389.html
1882473 | RS | 1: 468.1251 | RS PRO Arbitrary Waveform Generator, SDG1032X Series, 20Vpp Max Output, 30MHz Max Freq |  |  | Commercial Grade | [11 empty] | 260.3mm*295.7mm*107.2mm |  |  | 0℃~40℃ | [9 empty] | 10 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/1882473/3766481.html
1882475 | RS | 1: 4192.4668 | RS PRO Arbitrary Waveform Generator, SDG6022X Series, Max Output Amplitude 20Vpp, Max Freq 200MHz |  |  | Commercial Grade | [11 empty] | 260.3mm*295.7mm*107.2mm |  |  | 0℃~40℃ | [9 empty] | 16 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/1882475/16718727.html
1919722 | RS | 1: 742.649 | RS PRO Signal Generator, Max Freq 25MHz, TTL Output 4Vpp, LAN, USB Interface |  |  | Commercial Grade | [11 empty] | 266mm*293mm*107mm |  |  | 0℃~40℃ | [9 empty] | 15 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/1919722/11781062.html
1919723 | RS | 1: 923.0974 | RS PRO Signal Generator, Max Freq 25MHz, TTL Output 4Vpp, LAN, USB Interface |  |  | Commercial Grade | [11 empty] | 266mm*293mm*107mm |  |  | 0℃~40℃ | [9 empty] | 15 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/1919723/3840590.html
1919724 | RS | 1: 1712.8896 5: 1409.7081 | RS PRO Signal Generator, Max Freq 25MHz, TTL Output Level=4Vpp, LAN, USB Interface |  |  | Commercial Grade | [11 empty] | 266mm*293mm*107mm |  |  | 0℃~40℃ | [9 empty] | 5 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/1919724/11341237.html
1919725 | RS | 1: 803.3598 | RS PRO Signal Generator, Max Freq 25MHz, TTL Output 4Vpp, LAN, USB Interface |  |  | Commercial Grade | [11 empty] | 266mm*293mm*107mm |  |  | 0℃~40℃ | [9 empty] | 31 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/1919725/30112578.html
1919726 | RS | 1: 1303.4858 5: 1072.7682 | RS PRO Signal Generator, Max Freq 25MHz, TTL Output 4Vpp, LAN, USB Interface |  |  | Commercial Grade | [11 empty] | 266mm*293mm*107mm |  |  | 0℃~40℃ | [9 empty] | 9 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/1919726/19234807.html
2641020 | RS | 1: 359.0651 10: 303.666 | RS PRO 32500200 Power quality analyzer | [27 empty] | 46 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/2641020/697271778.html
2641021 | RS | 1: 82.5135 10: 71.5726 | RS PRO 32510500 | [27 empty] | 9 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/2641021/697273759.html
2641022 | RS | 1: 110.7322 10: 99.4352 | RS PRO 32510700 | [27 empty] | 4 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/2641022/697269800.html
2641023 | RS | 1: 110.7802 10: 99.4789 | RS PRO 32511100 | [27 empty] | 6 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/2641023/697268392.html
2641024 | RS | 1: 110.7802 10: 99.4789 | RS PRO 32511110 | [27 empty] | 9 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/2641024/697273591.html
2641025 | RS | 1: 92.4394 10: 76.0367 | RS PRO 32511120 | [27 empty] | 9 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/2641025/697270704.html
2835341 | PHOENIX CONTACT | 1: 409.398 | Phoenix Contact Signal Isolator PI-EX-NAM/RNO-NE | [15 empty] | Not Applicable |  |  | Bulk |  | - | [6 empty] | 1 | https://www.unikeyic.com/media/datasheet/40/bd/4a5a/40/8e77ca2741cc1c0bf55fbbc6bd76c3f2.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/2835341/30816017.html
2865120 | PHOENIX CONTACT | 1: 536.1674 10: 524.7595 | Phoenix,Signal Isolator,PI-EX-DO/REL-S, | [5 empty] | 2865120 PHOENIX CONTACT | [21 empty] | 100 | https://www.unikeyic.com/media/datasheet/54/47/6a10/0f/d3b0a570e7a733e9963fc394a0ec509b.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/2865120/21945677.html
2889854 | RS | 1: 2207.9304 | RS PRO GPM-8310 (DA4) Power quality analyzer |  |  | Commercial Grade | [11 empty] | 379mm*268mm*107mm |  |  | 0℃~40℃ | [9 empty] | 3 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/2889854/917335210.html
332BW1U | KEYSIGHT | 1: 281.7888 | Keysight Technologies 332BW1U software | [27 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/332bw1u/869348848.html
33391C | KEYSIGHT | 1: 42.725 | INSULATOR ASSEMBLY, 18GHZ, RF TEST S/M; | [27 empty] | 9 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/33391c/869339564.html
33510B | KEYSIGHT | 1: 5719.8029 |  |  |  | Commercial Grade | [11 empty] | 272.3mm*212.8mm*88.3mm |  |  | 0℃(min) | [9 empty] | 100 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/33510b/869356419.html
33511B | KEYSIGHT | 1: 2554.9708 | [15 empty] | 272.3mm*212.8mm*88.3mm |  |  | 55℃(max) | [9 empty] | 50 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/33511b/722287168.html
33512B | KEYSIGHT | 1: 6742.4249 | [15 empty] | 272.3mm*212.8mm*88.3mm | [12 empty] | 100 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/33512b/869349157.html
33519B | KEYSIGHT | 1: 4540.8168 | [15 empty] | 272.3mm*212.8mm*88.3mm | [12 empty] | 100 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/33519b/869357028.html
33520B | KEYSIGHT | 1: 6881.589 | [15 empty] | 272.3mm*212.8mm*88.3mm |  |  | 55℃(max) | [9 empty] | 100 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/33520b/869335975.html
33521B | KEYSIGHT | 1: 4886.3817 | [15 empty] | 272.3mm*212.8mm*88.3mm |  |  | 55℃(max) | [9 empty] | 100 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/33521b/869388871.html
335ARB1U | KEYSIGHT | 1: 504.471 | ARBITRARY WAVEFORM UPGRADE, 1-CH; | [27 empty] | 9 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/335arb1u/869387489.html
335ARB2U | KEYSIGHT | 1: 714.967 | ARBITRARY WAVEFORM UPGRADE, 2-CH; | [27 empty] | 9 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/335arb2u/869360927.html
335MEM1U | KEYSIGHT | 1: 420.101 | 16M MEMORY UPGRADE, WAVEFORM GENERATOR; | [27 empty] | 9 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/335mem1u/869390990.html
335MEM2U | KEYSIGHT | 1: 841.082 | 16M MEMORY UPGRADE, 2-CH; | [27 empty] | 9 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/335mem2u/869354506.html
335SECU | KEYSIGHT | 1: 226.6024 | Keysight Technologies 335SECU NISPOM | [27 empty] | 4 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/335secu/869368302.html
33621A | KEYSIGHT | 1: 9965.0913 |  |  |  | Commercial Grade | [11 empty] | 303.2mm*261.1mm*103.8mm |  |  | 0℃~55℃ | [9 empty] | 100 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/33621a/869356030.html
3446GPBU | KEYSIGHT | 1: 580.1112 | [28 empty] | 100 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/3446gpbu/869337276.html
360038 | RS | 1: 394.3096 | RS PRO HDG3062B arbitrary waveform generator | [14 empty] | 310mm*260mm*110mm |  |  | 10℃~40℃ | [9 empty] | 32 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/360038/35856498.html
3657.0562.06 | ROHDE-SCHWARZ | 1: 6004.334 | Rohde & Schwarz NPA701-G KB | [27 empty] | 5 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/3657-0562-06/1000218819.html
4001A | B&K Precision | 1: 367.4044 | 4MHz 、 1 Sine、square、triangle、、 | [6 empty] | No Display |  |  | 4 MHz |  | Sweep |  |  |  | Not Applicable | 1 |  | Box |  | 4001 | Sine, Square, Triangle, Ramp, Pulse |  |  | 115, 230V |  | 5.5 lbs (2.5 kg) | 17 | https://www.unikeyic.com/media/datasheet/b2/8c/6691/b2/e216a59605ff1412288022d7f7f0e2cf.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/4001a/16683102.html
4003A | B&K Precision | 1: 614.009 | Models 4001A & 4003A function generator; | [6 empty] | LED |  |  | 20 MHz |  | Sweep |  |  |  | Not Applicable | 1 |  | Box | 2062396 | - | Sine, Square, Triangle, Ramp, Pulse |  |  | 115, 230V |  | 5.5 lbs (2.5 kg) | 1 | https://www.unikeyic.com/media/datasheet/58/0d/69b1/58/34ddc1fc148c0e12d1a1334c8560ceb5.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/4003a/14226245.html
4012A | B&K Precision | 1: 716.4379 | FUNCTION GENERATOR 5 MHZ SWEEP | [6 empty] | LED |  |  | 5 MHz |  | Sweep |  |  |  | Not Applicable | 1 |  | Box | 1135001 | - | Sine, Square, Triangle, Ramp, Pulse |  |  | 120, 230V |  | 4 lbs (1.8 kg) | 7 | https://www.unikeyic.com/media/datasheet/2a/29/221a/2a/5d868a6022cc3784073d6d944722dca5.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/4012a/22232261.html
4013B | B&K Precision | 1: 560.52 | 12MHz 、DDS 1 Sine、square、triangle、、 LCD | [6 empty] | LCD |  |  | 12 MHz |  | Sweep |  |  |  | Not Applicable | 1 |  | Box | 3737540 | 4013 | Sine, Square, Triangle, Ramp, Pulse |  |  | 100 ~ 240V |  | 4.4 lbs (2 kg) | 5 | https://www.unikeyic.com/media/datasheet/31/ae/a071/31/97d06a0c76224cb48f76c2a4c364b7c0.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/4013b/17149369.html
4040B | B&K Precision | 1: 686.1814 | 20MHz 、DDS 1 Sine、square LCD | [6 empty] | LCD |  |  | 20 MHz |  | Sweep |  |  |  | Not Applicable | 1 |  | Box |  | 4040 | Sine, Square |  |  | 100 ~ 240V |  | - | 10 | https://www.unikeyic.com/media/datasheet/31/08/c264/3108c264fcc0c2f6524775f286a56b58.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/4040b/14362448.html
48260100 | SOCOMEC | 1: 14022.7619 | Socomec Power Quality Analyzer, 3-Phase | [17 empty] | 55℃(max) | [9 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/48260100/33241318.html
53210A | KEYSIGHT | 1: 5278.8558 |  |  |  | Commercial Grade | [11 empty] | 261.2mm*302.2mm*103.8mm |  |  | 0℃~55℃ | [9 empty] | 100 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/53210a/869360945.html
53230A | KEYSIGHT | 1: 9477.235 |  |  |  | Commercial Grade | [11 empty] | 261.2mm*302.2mm*103.8mm |  |  | 0℃~55℃ | [9 empty] | 100 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/53230a/869371112.html
6069-410-041 | DIGILENT | 1: 3297.2097 5: 3069.8159 | DAQ DEVICE MULTIFUNC I/O USB 2.0 | [27 empty] | 6 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/6069-410-041/20912500.html
6069-410-048 | DIGILENT | 1: 3463.6587 5: 3224.7857 | DAQ DEVICE MULTIFUNC I/O USB 2.0 | [15 empty] | 1 (Unlimited) |  |  | Box | 21262912 | - | [6 empty] | 12 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/6069-410-048/10114027.html
642968 | RS | 1: 529.947 | RS PRO MFG-2120 function generator | [27 empty] | 17 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/642968/1007423382.html
6811C | KEYSIGHT | 1: 17458.0645 | [28 empty] | 100 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/6811c/869407380.html
6812C | KEYSIGHT | 1: 21323.3879 | [15 empty] | 574.7mm*425.5mm*574.7mm | [12 empty] | 100 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/6812c/869391236.html
6813C | KEYSIGHT | 1: 29373.0176 | [28 empty] | 100 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/6813c/869368270.html
6M.BU.0.024.2200 | finder | 1: 108.2151 5: 108.2151 10: 108.2151 | MODBUS TCP/IP-RS485 GATEWAY, 10CLIENT; |  |  | Industrial |  |  | 6M.BU.0.024.2200 finder | [11 empty] | -20℃~60℃ | [9 empty] | 22 | https://www.unikeyic.com/media/datasheet/3c/8d/4f59/3c8d4f59c032a9a0c0210ff8425dcf10.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/6m-bu-0-024-2200/336026001.html
6M.TA.9.024.1200 | finder | 1: 150.5789 | Finder 6M.TA.9.024.1200 DC power analyzer | [17 empty] | 65℃(max) | [9 empty] | 24 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/6m-ta-9-024-1200/691883337.html
6M.TB.9.024.1200 | finder | 1: 152.2808 | Finder 6M.TB.9.024.1200 DC power analyzer | [17 empty] | 65℃(max) | [9 empty] | 2 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/6m-tb-9-024-1200/691783189.html
6M.TF.9.024.1200 | finder | 1: 192.7193 | Finder 6M.TF.9.024.1200 DC power analyzer | [17 empty] | 65℃(max) | [9 empty] | 5 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/6m-tf-9-024-1200/691787837.html
AFG1022 | TEKTRONIX | 1: 1434.527 | TEKTRONIX/Tektronix AFG1000Series Arbitrary Waveform Function Signal Generator AFG1022 Unit Station | [14 empty] | 235mm*295mm*110mm |  |  | 40℃(max) | [9 empty] | 5 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/afg1022/997102258.html
AFG1062 | TEKTRONIX | 1: 1953.7066 | TEKTRONIX/Tektronix AFG1000Series Arbitrary Waveform Function Signal Generator AFG1062 Unit Station | [14 empty] | 230mm(Length) | [12 empty] | 5 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/afg1062/997102189.html
AFG2021 | TEKTRONIX | 1: 3274.2648 | TEKTRONIX/Tektronix AFG2000Series Arbitrary Waveform Function Signal Generator AFG2021 Unit Station | [27 empty] | 5 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/afg2021/997102211.html
AFG31021 | TEKTRONIX | 1: 4090.1976 | ARBITRARY FUNCTION GENERATOR, 1CH, 25MHZ; Signal Generator Type:Arbitrary, Function; No. of Channels:1 Channel; Product Range:AFG31000 Series; Bandwidth:25MHz; Signal Generator Modulation:AM, ASK, FM, FSK, PM, PSK, PWM; | [14 empty] | 143.3mm*412.8mm*191.8mm | [12 empty] | 2 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/afg31021/997102227.html
AFG31022 | TEKTRONIX | 1: 6380.3808 | ARBITRARY FUNCTION GENERATOR, 2CH, 25MHZ; Signal Generator Type:Arbitrary, Function; No. of Channels:2 Channel; Product Range:AFG31000 Series; Bandwidth:25MHz; Signal Generator Modulation:AM, ASK, FM, FSK, PM, PSK, PWM; |  |  | Commercial Grade | [11 empty] | 143.3mm*412.8mm*191.8mm |  |  | 0℃~50℃ | [9 empty] | 11 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/afg31022/997102249.html
AFG31051 | TEKTRONIX | 1: 4487.3892 | ARBITRARY FUNCTION GENERATOR, 1CH, 50MHZ; Signal Generator Type:Arbitrary, Function; No. of Channels:1 Channel; Product Range:AFG31000 Series; Bandwidth:50MHz; Signal Generator Modulation:AM, ASK, FM, FSK, PM, PSK, PWM; | [14 empty] | 143.3mm(width)*191.8mm(height) | [12 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/afg31051/997102209.html
AFG31052 | TEKTRONIX | 1: 7107.1452 | ARBITRARY FUNCTION GENERATOR, 2CH, 50MHZ; Signal Generator Type:Arbitrary, Function; No. of Channels:2 Channel; Product Range:AFG31000 Series; Bandwidth:50MHz; Signal Generator Modulation:AM, ASK, FM, FSK, PM, PSK, PWM; |  |  | Commercial Grade | [11 empty] | 412.8mm*143.3mm*191.8mm |  |  | 0℃~50℃ | [9 empty] | 2 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/afg31052/997102252.html
AFG31101 | TEKTRONIX | 1: 9822.7916 | TEKTRONIX/Tektronix AFG31000series AFG31101 Unit Station |  |  | Commercial Grade | [11 empty] | 412.8mm*143.3mm*191.8mm |  |  | 0℃~50℃ | [9 empty] | 5 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/afg31101/997102171.html
AFG31102 | TEKTRONIX | 1: 11493.1332 | ARBITRARY FUNCTION GENERATOR, 2CH/100MHZ; Signal Generator Type:Arbitrary, Function; No. of Channels:2 Channel; Product Range:AFG31000 Series; Bandwidth:100MHz; Signal Generator Modulation:AM, ASK, FM, FSK, PM, PSK, PWM; |  |  | Commercial Grade | [11 empty] | 412.8mm*143.3mm*191.8mm |  |  | 0℃~50℃ | [9 empty] | 6 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/afg31102/997102191.html
AFG31151 | TEKTRONIX | 1: 11704.137 | TEKTRONIX/Tektronix AFG31000series AFG31151 Unit Station |  |  | Commercial Grade | [11 empty] | 412.8mm*143.3mm*191.8mm |  |  | 0℃~50℃ | [9 empty] | 5 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/afg31151/997102208.html
AFG31251 | TEKTRONIX | 1: 17915.7636 | ARBITRARY FUNCTION GENERATOR, 1CH/250MHZ; Signal Generator Type:Arbitrary, Function; No. of Channels:1 Channel; Product Range:AFG31000 Series; Bandwidth:250MHz; Signal Generator Modulation:AM, ASK, FM, FSK, PM, PSK, PWM; | [14 empty] | 412.8mm*143.3mm*191.8mm | [12 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/afg31251/997374558.html
AFG31252 | TEKTRONIX | 1: 27042.66 | ARBITRARY FUNCTION GENERATOR, 2CH/250MHZ; Signal Generator Type:Arbitrary, Function; No. of Channels:2 Channel; Product Range:AFG31000 Series; Bandwidth:250MHz; Signal Generator Modulation:AM, ASK, FM, FSK, PM, PSK, PWM; |  |  | Commercial Grade | [11 empty] | 143.3mm(width) |  |  | 0℃(min) | [9 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/afg31252/997102253.html
AG1012 | Owon Technology | 1: 410.6284 5: 400.337 | 10MHz Arbitrary、 、DDS 2 Sine、Square wave、、、 LCD | [6 empty] | LCD |  |  | 10 MHz |  | Arbitrary, Sweep |  |  |  | 1 (Unlimited) | 2 |  | Box |  | - | Sine, Square, Pulse, Ramp, Noise |  |  | 100 ~ 240V |  | 9 lbs (4.1 kg) | 99 | https://www.unikeyic.com/media/datasheet/93/67/ce1f/9367ce1f52eb4ac35203c6cc15d751d7.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/ag1012/4468367.html
AG1012F | Owon Technology | 1: 410.6284 5: 400.337 | 10MHz Arbitrary、 、DDS 2 Sine、Square wave、、、 LCD |  |  |  | AG1012 |  |  | LCD |  |  | 10 MHz |  | Arbitrary, Sweep |  |  |  | 1 (Unlimited) | 2 |  | Box |  | AG | Sine, Square, Pulse, Ramp, Noise |  |  | 100 ~ 240V |  | 9 lbs (4.1 kg) | 94 | https://www.unikeyic.com/media/datasheet/93/67/ce1f/9367ce1f52eb4ac35203c6cc15d751d7.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/ag1012f/18936793.html
ASNT_PRBS43A | ADSANTEC | 1: 17186.7028 | 24GHz PRBS 3 | [6 empty] | - |  |  | 24 GHz |  | PRBS |  |  |  | 1 (Unlimited) | 3 |  | Bulk | 14317873 | - | - |  |  | 5V |  | - | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/asnt-prbs43a/21377400.html
BK4005DDS | B&K Precision | 1: 665.192 | DDS FUNCTION GENERATOR, 1HZ TO 5MHZ; | [14 empty] | 279.4mm*297.2mm*101.6mm | [12 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/bk4005dds/22999202.html
BK4011A | B&K Precision | 1: 711.1791 | BK Precision BK4011A Function Generator | [5 empty] | BK4011A B&K Precision | [8 empty] | 298mm*264mm*114mm | [12 empty] | 1 | https://www.unikeyic.com/media/datasheet/ed/8a/4dc8/ed/68d97631f112e995a7bce3955a5db2f3.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/bk4011a/17291806.html
BK4013B | B&K Precision | 1: 602.2936 | BK Precision BK4013B Function Generator | [5 empty] | BK4013B B&K Precision | [8 empty] | 213mm(width)*88mm(height) | [12 empty] | 3 | https://www.unikeyic.com/media/datasheet/c6/0e/73a5/c6/e9c4452bd256646388b317655147f517.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/bk4013b/19475162.html
BK4053B | B&K Precision | 1: 1259.203 | FUNCTION/ARBITRARY WF GENERATOR, 2CH; Signal Generator Type:Arbitrary; No. of Channels:2 Channel; Product Range:4050B Series; Bandwidth:10MHz; Signal Generator Modulation:AM, ASK, FM, FSK, PM, PSK, PWM; Manufacturer Warr |  |  | Commercial Grade | [11 empty] | 263mm*295mm*96mm |  |  | 0℃~40℃ | [9 empty] | 8 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/bk4053b/19277799.html
BK4078C | B&K Precision | 1: 2989.6424 | BK Precision BK4078C | [27 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/bk4078c/725864150.html
BK4079C | B&K Precision | 1: 3404.1465 | BK Precision BK4079C | [27 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/bk4079c/724237355.html
BK4079C-GPIB | B&K Precision | 1: 3737.0561 | BK Precision BK4079C-GPIB | [27 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/bk4079c-gpib/724237602.html
BV9210B/R-X4H-001-L | KEYSIGHT | 1: 3837.9541 | BV9210B 4inst 12-months, node-locked | [27 empty] | 3 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/bv9210b-r-x4h-001-l/869338262.html
CT3733 | Cal Test Electronics | 1: 73.6579 | FUNCTION GENERATOR INTERCONNECT KIT, 4PC; |  |  |  |  | BNC Adapter, Banana Plug Adapter, BNC Cable, Grabbers | [8 empty] | Function Generator |  | Not Applicable |  |  | Blister Pack | 6041634 | Cal Test | [6 empty] | 3 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/ct3733/13992675.html
CT3734 | Cal Test Electronics | 1: 51.1844 | FREQUENCY COUNTER INTERCONNECT KIT, 4PC; |  |  |  |  | BNC Adapter, BNC Cable | [8 empty] | Arbitrary Generator |  | Not Applicable |  |  | Blister Pack |  | Cal Test | [6 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/ct3734/17888259.html
CT3735 | Cal Test Electronics | 1: 105.8993 | Accessory Kit for Function Generator |  |  |  |  | BNC Adapter, Banana Plug Adapter, BNC Cable, Grabbers | [8 empty] | Function Generator |  | Not Applicable |  |  | Blister Pack | 6041636 | Cal Test | [6 empty] | 2 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/ct3735/18607825.html
CT3736 | Cal Test Electronics | 1: 239.7685 | ARBITRARY GENERATOR ACCESSORY KIT, 9PC; |  |  |  |  | BNC Adapter, Banana Plug Adapter, BNC Cable, Grabbers | [8 empty] | Function Generator |  | Not Applicable |  |  | Blister Pack | 6041637 | Cal Test | [6 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/ct3736/17450507.html
DG2072 | RIGOL | 1: 788.2596 | Bench Signal Generator 1uHz to 70MHz with TFT LCD Display | [6 empty] | LCD |  |  | 70 MHz |  | Arbitrary, Sweep |  |  |  |  | 2 |  | Bulk | 17801315 | DG2000 | Sine, Square, Ramp, Pulse |  |  | 100 ~ 240V |  | - | 10 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/dg2072/16985195.html
DG5071 | RIGOL | 1: 1681.9008 | Bench Signal Generator with NA Display | [5 empty] | DG5071 RIGOL | [21 empty] | 10 | https://www.unikeyic.com/media/datasheet/eb/2b/198e/eb2b198e27806f6fa212f95c504dbffe.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/dg5071/17255021.html
DG5072 | RIGOL | 1: 2470.2918 | Bench Signal Generator with NA Display | [5 empty] | DG5072 RIGOL | [21 empty] | 10 | https://www.unikeyic.com/media/datasheet/eb/2b/198e/eb2b198e27806f6fa212f95c504dbffe.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/dg5072/16807686.html
DG5101 | RIGOL | 1: 3390.0812 | Bench Signal Generator with NA Display | [5 empty] | DG5101 RIGOL | [21 empty] | 10 | https://www.unikeyic.com/media/datasheet/eb/2b/198e/eb2b198e27806f6fa212f95c504dbffe.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/dg5101/20802571.html
DG5102 | RIGOL | 1: 4441.2693 | Bench Signal Generator with NA Display | [27 empty] | 10 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/dg5102/18956671.html
DG992 | RIGOL | 1: 1873.0856 | 100MHz 2passageway,250MSa/ssampling_rate,16bitresolution,16MptArbitrary Wave,7digits/sFrequency Meter | [6 empty] | Touchscreen |  |  | 100 MHz |  | Arbitrary, Sweep |  |  |  |  | 2 |  | Box |  | DG900 | Sine, Square, Ramp, Pulse |  |  | 100 ~ 240V |  | 3.86 lbs (1.75 kg) | 30 | https://www.unikeyic.com/media/datasheet/1b/32/70e4/1b3270e41780d0af0bf3e25e90df8bd8.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/dg992/15156639.html
DSA832-TG | RIGOL | 1: 4572.6678 | Bench USB Interface 9kHz to 3.2GHz Spectrum Analyzer | [27 empty] | 10 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/dsa832-tg/14370266.html
DSA875 | RIGOL | 1: 6543.6452 | Bench USB Interface 9kHz to 7.5GHz Spectrum Analyzer |  | - | [5 empty] | - |  |  | 7.5GHz |  | Cable, Power Supply, Software | [5 empty] | Bulk | 17801257 | DSA8 |  |  | Bench |  |  |  | 10 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/dsa875/18452683.html
DSG3136B | RIGOL | 1: 14821.7507 | Bench Signal Generator 9kHz to 13.6GHz with TFT LCD Display |  | -110 ~ +20dBm | [5 empty] | - |  |  | 9kHz ~ 13.6GHz |  | Cable, Power Supply | [5 empty] | Bulk |  | DSG3 |  |  | Bench |  |  |  | 10 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/dsg3136b/696302465.html
DSG3136B-IQ | RIGOL | 1: 20603.2847 | Bench Signal Generator 9kHz to 13.6GHz with TFT LCD Display |  | -110 ~ +20dBm | [5 empty] | - |  |  | 9kHz ~ 13.6GHz |  | Cable, Power Supply | [5 empty] | Bulk | 17801251 | DSG3 |  |  | Bench |  |  |  | 10 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/dsg3136b-iq/696305145.html
DSG821 | RIGOL | 1: 2601.6903 | Bench Signal Generator 9kHz to 2.1GHz with TFT LCD Display |  | - | [5 empty] | - |  |  | 9kHz ~ 2.1GHz |  | Cable, Power Supply, Software | [5 empty] | Bulk | 17801259 | DSG8 |  |  | Bench |  |  |  | 10 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/dsg821/23211179.html
DSG821A | RIGOL | 1: 3915.6753 | Bench Signal Generator 9kHz to 2.1GHz with TFT LCD Display |  | - | [5 empty] | - |  |  | 9kHz ~ 2.1GHz |  | Cable, Power Supply, Software | [5 empty] | Bulk |  | DSG8 |  |  | Bench |  |  |  | 10 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/dsg821a/23017893.html
DSG836 | RIGOL | 1: 4704.0663 | Bench Signal Generator 9kHz to 3.6GHz with TFT LCD Display | [6 empty] | LCD |  |  | 3.6 GHz |  | Sweep | [6 empty] | Bulk |  | DSG8 | RF, Sine, Square |  |  | 100 ~ 240VAC |  |  | 10 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/dsg836/17209539.html
DSG836A | RIGOL | 1: 6018.0512 | Bench Signal Generator 9kHz to 3.6GHz with TFT LCD Display | [6 empty] | LCD |  |  | 3.6 GHz |  | Sweep | [6 empty] | Bulk |  | DSG8 | RF, Sine, Square |  |  | 100 ~ 240V |  |  | 10 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/dsg836a/22829546.html
DSOX1B7T102 | KEYSIGHT | 1: 396.616 | BANDWIDTH UPGRADE LICENCE, 70-100MHZ; | [27 empty] | 9 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/dsox1b7t102/869358735.html
EDU33211A | KEYSIGHT | 1: 1160.291 | WAVEFORM GENERATOR, 20 MHZ, 2-CHANNEL; |  |  | Commercial Grade | [11 empty] | 165mm*314mm*130mm |  |  | 0℃~55℃ | [9 empty] | 11 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/edu33211a/869414284.html
EDU33212A | KEYSIGHT | 1: 1852.9159 |  |  |  | Commercial Grade | [11 empty] | 314mm*314mm*130mm |  |  | 0℃~55℃ | [9 empty] | 100 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/edu33212a/869324290.html
EMI-NF-PROBE | TEKTRONIX | 1: 1721.1528 | NEAR FIELD PROBE SET, EMC; RF Test Component Type:Near Field Probe; Frequency:6GHz; Impedance:-; Continuous RF Input Power Max:-; For Use With:Tektronix EMC Pre-Compliance; Product Range:-; SVHC:No SVHC (15-Jan-2018) | [27 empty] | 3 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/emi-nf-probe/997584366.html
ES-DLA-16 | Connective Peripherals | 1: 96.0336 | LOGIC ANALYZER USB DEVICES | [8 empty] | USB Devices | [6 empty] | Not Applicable |  |  | Box | 14301846 | - |  | 16 Channel |  |  | Logic Analyzer | - | 3 | https://www.unikeyic.com/media/pdf/GettingStartedGuide/connective-peripherals/03/6f/25e0/es-dla-16/2025/12/ES-LA-Quick-Start-Guide.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/es-dla-16/18382148.html
ES-DLA-8 | Connective Peripherals | 1: 67.4937 | USB | [27 empty] | 5 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/es-dla-8/20466960.html
ES-DLA-P16 | Connective Peripherals | 1: 45.4821 | Used with ES-DLA-16 | Replacement Test Leads | [7 empty] | ES-DLA-16 | [6 empty] | Not Applicable |  |  | Bag | 14301823 | - |  | - |  |  |  |  | 6 | https://www.unikeyic.com/media/pdf/GettingStartedGuide/connective-peripherals/03/6f/25e0/es-dla-16/2025/12/ES-LA-Quick-Start-Guide.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/es-dla-p16/19584589.html
FCA3000 | TEKTRONIX | 1: 9117.2846 | TEKTRONIX/Tektronix FCA3000/3100Series Frequency Counter FCA3000 Unit Station |  |  | Commercial Grade | [11 empty] | 395mm*210mm*90mm |  |  | 0℃~50℃ | [9 empty] | 5 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/fca3000/997102245.html
FCA3100 | TEKTRONIX | 1: 14110.0861 | TEKTRONIX/Tektronix FCA3000/3100Series Frequency Counter FCA3100 Unit Station | [14 empty] | 395mm*210mm*90mm |  |  | 50℃(max) | [9 empty] | 5 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/fca3100/997102268.html
FG33531A | KEYSIGHT | 1: 1831.8852 | ARBITRARY/FUNCTION GENERATOR, 1CH/100MHZ; |  |  | Commercial Grade | [11 empty] | 165mm*314mm*130mm |  |  | 0℃~55℃ | [9 empty] | 4 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/fg33531a/1000757478.html
FG33532A | KEYSIGHT | 1: 2289.4704 | ARBITRARY/FUNCTION GENERATOR, 2CH/100MHZ; |  |  | Commercial Grade | [11 empty] | 165mm*314mm*130mm |  |  | 0℃~55℃ | [9 empty] | 10 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/fg33532a/1000764629.html
FLUKE I5SPQ3 | FLUKE | 1: 2419.47 | Fluke Power Quality Analyzer Clamp, For 434 Series, 435 Series | [5 empty] | FLUKE I5SPQ3 FLUKE | [21 empty] | 1 | https://www.unikeyic.com/media/datasheet/37/62/d996/37/742d06489b555ed07f0ac8d34ddfee32.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/fluke-i5spq3/23187130.html
FLUKE-1736/FPC EU | FLUKE | 1: 6013.4418 | [28 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/fluke-1736-fpc-eu/982602702.html
FLUKE-1777/FPC EU | FLUKE | 1: 16020.3312 | POWER QUALITY ANALYZER, 1CH, 50V TO 1KV; | [14 empty] | 280mm*190mm*62mm |  |  | -10℃~50℃ | [9 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/fluke-1777-fpc-eu/430329893.html
FLUKE-MDA-510 | FLUKE | 1: 7564.3524 | MOTOR DRIVE ANLYZR ROT SYST/TEST | [8 empty] | Rotating Systems, Test Equipment | [6 empty] | Not Applicable |  |  | Bulk | 9694557 | MDA-500 |  | - |  |  | Motor Drive Analyzer |  | 1 | https://www.unikeyic.com/media/datasheet/b5/a7/b2e4/b5/932bd4f17a9415c187e604ea70f9a74a.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/fluke-mda-510/15116746.html
FPC-COM2 | ROHDE-SCHWARZ | 1: 13631.9976 | SPECTRUM ANALYZER, BENCH, 5KHZ-3GHZ.; Spectrum Analyzer Type:Bench; Product Range:FPC Series; Test Frequency Range:5kHz to 3GHz; Sensitivity dBm:-165dBm; External Height:178mm; External Width:396mm; External Depth:147mm; | [14 empty] | 396mm(width) | [12 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/fpc-com2/999195638.html
FPC-P1TG | ROHDE-SCHWARZ | 1: 4246.9697 | Rohde & Schwarz FPC-P1TG | [14 empty] | 396mm*156mm*185mm |  |  | 40℃(max) | [9 empty] | 3 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/fpc-p1tg/1000221623.html
FPC-P3TG | ROHDE-SCHWARZ | 1: 7175.9102 | Rohde & Schwarz FPC-P3TG | [14 empty] | 185mm(height) | [12 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/fpc-p3tg/1000293813.html
FPL1003-P4 | ROHDE-SCHWARZ | 1: 23109.3753 | Rohde & Schwarz FPL1003-P4 | [14 empty] | 408mm*235mm*186mm | [12 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/fpl1003-p4/1000249540.html
FPL1026-P1 | ROHDE-SCHWARZ | 1: 46078.3404 | SPECTRUM ANALYZER, BENCH/5KHZ TO 26.5GHZ; | [27 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/fpl1026-p1/1000219837.html
FSH-Z36 | ROHDE-SCHWARZ | 1: 72.944 | HEADPHONE, SPECTRUM ANALYZER..; Accessory Type:Headphone; For Use With:R&S Spectrum Rider FPH Spectrum Analyzer; Product Range:Spectrum Rider FPH Series; SVHC:No SVHC (20-Jun-2016); Manufacturer Warranty:1 Year | [27 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/fsh-z36/999192731.html
GF266 | elc | 1: 846.23 | ELC signal generator, Maximum frequency range12MHz, Output amplitude20V Peak to peak value, TTL Output level0 → 5V, RS232interface | [5 empty] | GF266 elc | [8 empty] | 240mm*220mm*90mm | [12 empty] | 1 | https://www.unikeyic.com/media/datasheet/2f/12/98b8/2f/3854ac86869c872340b132ee2abb2104.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/gf266/3047044.html
GSP-9330 | GWINSTEK | 1: 6859.126 | [28 empty] | 2 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/gsp-9330/999597824.html
GX1030 | Chauvin Arnoux | 1: 1560.4921 | Chauvin Arnoux signal generator, Maximum frequency range30MHz | [14 empty] | 295mm*260.3mm*107mm | [12 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/gx1030/683211284.html
HZC815-UK | ROHDE-SCHWARZ | 1: 437.162 | Rohde & Schwarz HZC815-UK | [27 empty] | 4 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/hzc815-uk/999186148.html
MFG-2110 | GWINSTEK | 1: 464.442 | ARBITRARY FUNCTION GENERATOR, 10MHZ; Signal Generator Type:Arbitrary, Function, Pulse; No. of Channels:1 Channel; Product Range:MFG-2000 Series; Bandwidth:10MHz; Signal Generator Modulation:-; Manufacturer Warranty:1 Yea | [27 empty] | 3 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/mfg-2110/999595820.html
N6705C | KEYSIGHT | 1: 17883.3751 | [15 empty] | 425.6mm*313mm*194.7mm |  |  | 55℃(max) | [9 empty] | 100 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/n6705c/869382865.html
N9321C | KEYSIGHT | 1: 24542.9271 | [18 empty] | 5℃~45℃ | [9 empty] | 100 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/n9321c/869387440.html
N9323C | KEYSIGHT | 1: 39394.4001 | [18 empty] | 5℃~45℃ | [9 empty] | 100 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/n9323c/869406079.html
NPA-Z1 | ROHDE-SCHWARZ | 1: 456.3239 | TEST ADAPTER, EU VERSION, 250V, 10A; | [27 empty] | 2 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/npa-z1/999197123.html
NPA-Z2 | ROHDE-SCHWARZ | 1: 395.6839 | Rohde & Schwarz NPA-Z2 | [27 empty] | 15 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/npa-z2/999188407.html
NPA-Z3 | ROHDE-SCHWARZ | 1: 388.0855 | Rohde & Schwarz NPA-Z3 | [27 empty] | 24 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/npa-z3/999189186.html
NPA-Z4 | ROHDE-SCHWARZ | 1: 388.0855 | Rohde & Schwarz NPA-Z4 | [27 empty] | 23 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/npa-z4/999188323.html
NPA101 | ROHDE-SCHWARZ | 1: 3071.952 | POWER METER, 1CH, 100KHZ, 100 TO 230V; | [27 empty] | 3 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/npa101/1000234940.html
NPA501 | ROHDE-SCHWARZ | 1: 5210.0604 | POWER ANALYZER, 2CH, 100KHZ, 100 TO 230V; | [27 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/npa501/1000243908.html
NPA501-G | ROHDE-SCHWARZ | 1: 6072.408 | POWER ANALYZER, 2CH, 100KHZ, 100 TO 230V; | [27 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/npa501-g/1000245701.html
NPA701 | ROHDE-SCHWARZ | 1: 6217.2576 | COMPLIANCE TESTER, 2CH, 100KHZ, 100-230V; | [27 empty] | 2 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/npa701/1000232631.html
OTII-ARC-PRO | QOITECH | 1: 1079.5207 | Qoitech DC power analyzer, Otii Arc Proseries, USBinterface | [8 empty] | Electronic Circuit Boards | [6 empty] | 1 (Unlimited) |  |  | Bulk |  | Arc Pro |  | - |  |  | Power Supply |  | 64 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/otii-arc-pro/18406863.html
P01120044 | Chauvin Arnoux | 1: 551.7923 | Chauvin Arnoux Clamp Sensor for PEL 51 Power Quality Analyzer & Recorder, CA 8345 | [27 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/p01120044/16405128.html
P01120425B | Chauvin Arnoux | 1: 343.979 | Chauvin Arnoux Power Quality Analyzer Clamp, MN93, For CA8332B/CA8334B/CA8335 | [27 empty] | 7 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/p01120425b/20419795.html
P01120434B | Chauvin Arnoux | 1: 457.056 5: 457.056 | Chauvin Arnoux Power Quality Analyzer and Recorder Clip, Clip, suitable forCA8230 | [27 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/p01120434b/29152750.html
P01120526B | Chauvin Arnoux | 1: 605.099 | Chauvin Arnoux Flexible Current Sensor, Clamp, For CA8230 | [27 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/p01120526b/22827950.html
P01120594 | Chauvin Arnoux | 1: 494.0957 | Chauvin Arnoux Flexible Current Sensor, Rogowski Coil, for CA8220, CA8331, CA8333, CA8336, CA8436, PEL102, PEL103, PEL104, PEL106 | [27 empty] | 7 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/p01120594/7196217.html
P01160511 | Chauvin Arnoux | 1: 3497.742 | Chauvin Arnoux Power quality analyzer, ca 8331series, USBinterface, 1, 3Mutually | [14 empty] | 240mm*180mm*55mm | [12 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/p01160511/27538626.html
PFM CASE | Aim and Thurlby Thandar Instruments | 1: 54.225 | Aim-TTi Soft Case, For PFM3000 Handheld Frequency Counter | [27 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/pfm-case/2883521.html
PFM3000 | Aim and Thurlby Thandar Instruments | 1: 282.6208 | Aim-TTi frequency counter, PFM3000series, 3GHz, 3 Hz, 6 digital resolution | [5 empty] | PFM3000 Aim and Thurlby Thandar Instruments | [8 empty] | 178mm*81mm*30mm |  |  | 5℃~40℃ | [9 empty] | 1 | https://www.unikeyic.com/media/datasheet/0d/68/df2e/0d/d41542536cd3218554193f3585989aca.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/pfm3000/14372624.html
PL601-P | Aim and Thurlby Thandar Instruments | 1: 804.947 | Aim-TTi Programmable Power Supply, Benchtop, 0 → 60V Out, 0 → 1.5A Out, 90W | [5 empty] | PL601-P Aim and Thurlby Thandar Instruments | [11 empty] | 40℃(max) | [9 empty] | 16 | https://www.unikeyic.com/media/datasheet/ae/d4/3c72/ae/9f2f7cd9b8dde67e6e22d58570a1365a.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/pl601-p/16065318.html
PQ163 | Pico Technology | 1: 8574.5944 | Bike Tech RF Signal Generator, Model AS108, USB 2.0 Interface, FM Modulation | [14 empty] | 232mm(Length)*56mm(height) |  |  | 40℃(max) | [9 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/pq163/27088989.html
PSA-1303USC | Aim and Thurlby Thandar Instruments | 1: 2475.7596 | Aim-TTi Handheld Spectrum Analyzer 1.3GHz 1-Ch TFT USB | [17 empty] | 5℃(min) | [9 empty] | 3 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/psa-1303usc/12910968.html
PSA-2703 | Aim and Thurlby Thandar Instruments | 1: 2667.6561 | Aim-TTi Handheld Spectrum Analyzer 2.7GHz, 1 Channel, TFT, USB Interface | [17 empty] | 5℃(min) | [9 empty] | 4 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/psa-2703/19520535.html
PSA-ANT2 | Aim and Thurlby Thandar Instruments | 1: 79.0119 | Aim-TTi Spectrum Analyzer Antenna, Antennas, suitable forPSA 1301T, PSA 2701T | Antenna | [7 empty] | PSA Series Spectrum Analyzers | [9 empty] | Box |  | - |  | 2GHz |  |  |  |  | 10 | https://www.unikeyic.com/media/datasheet/18/5a/2171/18/40e30cc2dbb534e4e92af5d77c87402e.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/psa-ant2/14305123.html
PSA-VC | Aim and Thurlby Thandar Instruments | 1: 45.1538 | Aim-TTi Vehicle Charger, For PSA Series Spectrum Analyzers | [5 empty] | PSA-VC Aim and Thurlby Thandar Instruments | [21 empty] | 1 | https://www.unikeyic.com/media/datasheet/dc/26/b42e/dc/8c87517d6796df972537d498f95fa20e.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/psa-vc/14150455.html
PSA1303 | Aim and Thurlby Thandar Instruments | 1: 2137.1352 | Aim-TTi Handheld Spectrum Analyzer 1.3GHz 1-Ch TFT USB | [27 empty] | 2 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/psa1303/23071261.html
PSA3605 | Aim and Thurlby Thandar Instruments | 1: 3709.8766 | Aim-TTi Handheld Spectrum Analyzer, 10MHz-3.6GHz, 10.9cm Backlit TFT LCD, USB |  | -40 ~ 84dB | [5 empty] | Auto Tuning, Save/Load, USB Port |  |  | 10MHz ~ 3.6GHz |  | Adaptor/Charger, BNC Converter, Manual, Software, Stylus, USB Cable | [5 empty] | Box |  | PSA 5 |  |  | Handheld |  |  |  | 2 | https://www.unikeyic.com/media/datasheet/3f/c8/343b/3fc8343ba977b6aef56891988ada4718.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/psa3605/14925543.html
PSA3605USC | Aim and Thurlby Thandar Instruments | 1: 4178.3148 | Aim-TTi Handheld Spectrum Analyzer, 10MHz-3.6GHz, 10.9cm Backlit TFT LCD, USB | [5 empty] | PSA3605USC Aim and Thurlby Thandar Instruments | [11 empty] | -5℃~40℃ | [9 empty] | 2 | https://www.unikeyic.com/media/datasheet/3f/c8/343b/3fc8343ba977b6aef56891988ada4718.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/psa3605usc/27813883.html
PSA6005 | Aim and Thurlby Thandar Instruments | 1: 3545.8452 | Aim-TTi Handheld Spectrum Analyzer 10 MHz → 6 GHz, 10.9 cm Backlight TFT LCD, USB | [17 empty] | -5℃~40℃ | [9 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/psa6005/32401020.html
PSA6005USC | Aim and Thurlby Thandar Instruments | 1: 3915.2592 | Aim-TTi Handheld Spectrum Analyzer 10 MHz → 6 GHz, 10.9 cm Backlight TFT LCD, USB | [5 empty] | PSA6005USC Aim and Thurlby Thandar Instruments | [8 empty] | 49mm*92mm*192mm |  |  | -5℃~40℃ | [9 empty] | 5 | https://www.unikeyic.com/media/datasheet/4b/2e/759c/4b/fe7217c09d7f34172a05f57b554db2ed.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/psa6005usc/27733894.html
RSA3015N | RIGOL | 1: 2995.8858 | Bench LAN/USB Interface 9kHz to 1.5GHz Spectrum Analyzer |  | - | [5 empty] | - |  |  | 10kHz ~ 1.5GHz |  | Cable, Power Supply, Software | [5 empty] | Bulk | 17801282 | RSA3000 |  |  | Bench |  |  |  | 10 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/rsa3015n/681751123.html
RSA3030 | RIGOL | 1: 4728.7692 | Bench HDMI/LAN/USB Interface 9kHz to 3GHz Spectrum Analyzer |  | - | [5 empty] | - |  |  | 9kHz ~ 3GHz |  | Cable, Power Supply, Software | [5 empty] | Bulk | 17801225 | RSA3000 |  |  | Bench |  |  |  | 10 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/rsa3030/19868180.html
RSA3030-TG | RIGOL | 1: 5779.9572 | Bench USB Interface Spectrum Analyzer, 9kHz to 3GHz | [5 empty] | RSA3030-TG RIGOL | [21 empty] | 10 | https://www.unikeyic.com/media/datasheet/4d/d6/dd34/4dd6dd3435cd252ab66f3058267aa970.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/rsa3030-tg/15655201.html
RSA3030N | RIGOL | 1: 5886.6527 | frequency_range：9kHz TO3GHz | [27 empty] | 10 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/rsa3030n/695670407.html
RSA3045N | RIGOL | 1: 7200.6378 | Bench LAN/USB Interface 9kHz to 4.5GHz Spectrum Analyzer |  | - | [5 empty] | - |  |  | 10kHz ~ 4.5GHz |  | Cable, Power Supply, Software | [5 empty] | Bulk |  | RSA3000 |  |  | Bench |  |  |  | 10 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/rsa3045n/15622342.html
RSA306B | TEKTRONIX | 1: 11219.7256 | Tektronix RSA306B spectrum analyzer | [14 empty] | 190.5mm*139.7mm*31.9mm |  |  | -10℃~55℃ | [9 empty] | 2 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/rsa306b/997102160.html
RSA5032 | RIGOL | 1: 7882.3332 | Bench LAN/USB Interface, 9kHz to 3.2GHz Spectrum Analyzer |  | - | [5 empty] | - |  |  | 9kHz ~ 3.2GHz |  | Cable, Power Supply, Software | [5 empty] | Bulk |  | RSA5000 |  |  | Bench |  |  |  | 10 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/rsa5032/21342145.html
RSA5032N | RIGOL | 1: 7200.6378 | Bench LAN/USB Interface 9kHz to 3.2GHz Spectrum Analyzer |  | - | [5 empty] | - |  |  | 9kHz ~ 3.2GHz |  | Cable, Power Supply, Software | [5 empty] | Bulk |  | RSA5000 |  |  | Bench |  |  |  | 10 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/rsa5032n/22985401.html
RSA5065N | RIGOL | 1: 11668.1867 | Bench LAN/USB Interface 9kHz to 6.5GHz Spectrum Analyzer |  | - | [5 empty] | - |  |  | 10kHz ~ 6.5GHz |  | Cable, Power Supply, Software | [5 empty] | Bulk |  | RSA5000 |  |  | Bench |  |  |  | 10 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/rsa5065n/22413075.html
RSA603A | TEKTRONIX | 1: 23586.3832 | TEKTRONIX/Tektronix RSA600 Series Real-time Spectrum Analyzer RSA603A Unit Station | [27 empty] | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/rsa603a/997102224.html
SB-500 | FLUKE | 1: 541.8058 | Fluke Oscilloscope Probe, For MDA-500, MDA-500 Motor Drive Analyzer, SVS-500 | Brush | [7 empty] | MDA-500 Series, SVS-500 Measurement Kit | [6 empty] | Not Applicable |  |  | Bulk | 9694560 | - |  | - |  |  |  |  | 1 | https://www.unikeyic.com/media/datasheet/ab/60/1503/ab/ef772c66b7c3113f29c44867947f9a72.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/sb-500/20855229.html
SFG-1003 | GWINSTEK | 1: 143.093 | [28 empty] | 10 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/sfg-1003/999598503.html
SFG-1013 | GWINSTEK | 1: 149.5972 | [28 empty] | 10 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/sfg-1013/999596254.html
SP1018G-STD | IKALOGIC | 1: 4809.9991 | IKALOGIC Logic Analyzer, 250MHz, 18-Ch | [14 empty] | 151mm(Length)*46mm(height) |  |  | 10℃~35℃ | [9 empty] | 2 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/sp1018g-std/25331075.html
SP209i | IKALOGIC | 1: 876.9792 | IKALOGIC Logic Analyzer | [14 empty] | 84.9mm*59.9mm*13.1mm |  |  | 10℃~40℃ | [9 empty] | 4 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/sp209i/13859392.html
SP259 | IKALOGIC | 1: 677.908 | LOGIC ANALYZER, 9CH, 250MHZ, 1GBIT; | [14 empty] | 100mm*74.47mm*24.3mm |  |  | 10℃~40℃ | [9 empty] | 6 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/sp259/683843761.html
SP259I | IKALOGIC | 1: 829.851 | LOGIC ANALYZER, INDL, 9CH, 250MHZ, 1GBIT; | [14 empty] | 100mm*74.47mm*24.3mm |  |  | 10℃~40℃ | [9 empty] | 5 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/sp259i/683841527.html
SQ200 | IKALOGIC | 1: 297.9088 | IKALOGIC Logic Analyzer-signal generator, Maximum frequency range200MHz, TTL Output level1.6 → 5V, USBinterface | [8 empty] | Communication Systems, Computer Systems, Electrical Systems | [6 empty] | Not Applicable |  |  | Box | 16584882 | ScanaQuad |  | 4 Channel |  |  | Logic Analyzer | - | 13 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/sq200/22940418.html
SSG-15G-RC | Mini-Circuits | 1: 9059.202 | 15GHz 、 1 、RF | [6 empty] | No Display |  |  | 15 GHz |  | Sweep |  |  |  | 1 (Unlimited) | 1 |  | Box | 13927060 | - | Pulse, RF |  |  | 6VDC |  | - | 5 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/ssg-15g-rc/32762627.html
SVS-500 | FLUKE |  | Fluke Oscilloscope Probe, For MDA-500 | Accessory Kit | [7 empty] | MDA-500 Series, ScopeMeter® 190 II Series | [6 empty] | Not Applicable |  |  | Bulk | 9694559 | - |  | - | [5 empty] | https://www.unikeyic.com/media/datasheet/c3/35/7f8f/c3/bf7344662c6708d26776c54f3b211fa7.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/svs-500/21655657.html
T3AFG120 | Teledyne LeCroy | 1: 3872.7396 | ARBITRARY/FUNCTION GENERATOR, 2CH/120MHZ; |  |  |  | T3AFG |  |  | TFT - Color LCD |  |  | 120 MHz |  | Arbitrary, Sweep |  |  |  | Not Applicable | 2 |  | Box | 9598576 | T3AFG | Sine, Square, Ramp, Pulse |  |  | - |  |  | 2 | https://www.unikeyic.com/media/datasheet/2b/a5/faa3/2b/09d0d2da09db1fbd1b0431e513e060f7.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/t3afg120/17166015.html
T3AFG200 | Teledyne LeCroy | 1: 6163.5924 | ARBITRARY/FUNCTION GENERATOR, 2CH/200MHZ; |  |  |  | T3AFG |  |  | TFT - Color LCD |  |  | 200 MHz |  | Arbitrary, Sweep |  |  |  | 1 (Unlimited) | 1 |  | Box | 12619837 | T3AFG | Sine, Square, Ramp, Pulse |  |  | - |  |  | 3 | https://www.unikeyic.com/media/pdf/HTMLDatasheet/teledyne-lecroy/f9/87/18da/t3afg200/2025/11/t3afg500.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/t3afg200/16823073.html
T3AFG30 | Teledyne LeCroy | 1: 1435.3087 | 30 MHZ, 16 KPTS, 150 MS/S, 2 CH, | [6 empty] | TFT - Color LCD |  |  | 30 MHz |  | Arbitrary, Sweep |  |  |  | 1 (Unlimited) | 2 |  | Box | 13690251 | T3AFG | Sine, Square, Pulse, Ramp, Noise |  |  | 100 ~ 240V |  |  | 1 | https://www.unikeyic.com/media/datasheet/b3/2b/8a3b/b32b8a3bbc38e23e16af590694cedd71.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/t3afg30/20816982.html
T3AFG350 | Teledyne LeCroy | 1: 7531.2634 | 350 MHz, 2.4 GS/s, 20 Mpts, 2 Ch, 20 Vpp |  |  |  | T3AFG |  |  | TFT - Color LCD |  |  | 350 MHz |  | Arbitrary, Sweep |  |  |  | 1 (Unlimited) | 1 |  | Box |  | T3AFG | Sine, Square, Ramp, Pulse |  |  | - |  |  | 3 | https://www.unikeyic.com/media/pdf/HTMLDatasheet/teledyne-lecroy/f9/87/18da/t3afg200/2025/11/t3afg500.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/t3afg350/22211449.html
T3AFG40 | Teledyne LeCroy | 1: 1826.227 | 40MHz Arbitrary、 2 Sine、Square、Ramp、Pulse TFT - color LCD |  |  |  | T3AFG |  |  | TFT - Color LCD |  |  | 40 MHz |  | Arbitrary, Sweep |  |  |  | Not Applicable | 2 |  | Box |  | T3AFG | Sine, Square, Ramp, Pulse |  |  | - |  |  | 1 | https://www.unikeyic.com/media/datasheet/2b/a5/faa3/2b/09d0d2da09db1fbd1b0431e513e060f7.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/t3afg40/16792982.html
T3AFG500 | Teledyne LeCroy | 1: 15985.1556 | ARBITRARY/FUNCTION GENERATOR, 2CH/500MHZ; |  |  |  | T3AFG |  |  | TFT - Color LCD |  |  | 500 MHz |  | Arbitrary, Sweep |  |  |  | 1 (Unlimited) | 1 |  | Box |  | T3AFG | Sine, Square, Ramp, Pulse |  |  | - |  |  | 1 | https://www.unikeyic.com/media/pdf/HTMLDatasheet/teledyne-lecroy/f9/87/18da/t3afg200/2025/11/t3afg500.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/t3afg500/15671458.html
T3AWG2152-D | Teledyne LeCroy | 1: 19737.4158 | Bench Signal Generator 1uHz to 150MHz with LCD Display |  |  |  | T3AWG2152 |  |  | TFT - Color LCD |  |  | 150 MHz |  | Arbitrary, Sweep |  |  |  | Not Applicable | 10 |  | Box |  | - | Sine, Square, Pulse, Ramp, Noise |  |  | 100 ~ 240V |  |  | 1 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/t3awg2152-d/21829300.html
T3SA3100 | Teledyne LeCroy | 1: 5013.9995 | 9kHz ~ 2.1GHz -100 ~ +30dBm Hold、Max、Min、Ave、USB Port include |  | -100 ~ +30dBm | [5 empty] | Hold, Max, Min, Ave, USB Port |  |  | 9kHz ~ 2.1GHz |  | - |  |  | Not Applicable |  |  | Box | 9598578 | - |  |  | Bench |  |  |  | 4 | https://www.unikeyic.com/media/datasheet/ba/d5/7a61/ba/f783f3ea24ac401e2273ffc7c46f4aee.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/t3sa3100/21105109.html
TF930 | Aim and Thurlby Thandar Instruments | 1: 592.152 | Aim-TTi frequency counter, TF930series, 3GHz, 0.001 Hz, 10 digital resolution, 20nspulse width resolution, Type C - European Plug, Type G - British 3-pinplug | [8 empty] | RM50A | [9 empty] | Box |  | - |  | - |  |  | Frequency Counter | 33.5 oz (950 g) | 4 | https://www.unikeyic.com/media/datasheet/45/b1/d0a6/45/28bf32bb6c62b75361e1e5ec2c31df69.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/tf930/15710173.html
TF960 | Aim and Thurlby Thandar Instruments | 1: 787.996 | Aim-TTi frequency counter, TF960series, 6GHz, 0.001 Hz, 10 bit resolution, 20nspulse width resolution | [5 empty] | TF960 Aim and Thurlby Thandar Instruments | [8 empty] | 260mm*235mm*88mm |  |  | 5℃~40℃ | [9 empty] | 18 | https://www.unikeyic.com/media/datasheet/6c/02/f674/6c/0b5655b927f5a2a209376c607350a069.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/tf960/16479335.html
TG2000 | Aim and Thurlby Thandar Instruments | 1: 1116.456 | Aim-TTi signal generator, Maximum frequency range20MHz, Output amplitude20V Peak to peak value, RS232，USBinterface | [6 empty] | LCD |  |  | 20 MHz |  | Sweep |  |  |  |  | 1 |  | Box | 10456999 | - | Sine, Square, Triangle, Pulse |  |  | 100V, 110 ~ 120V, 220 ~ 240V |  | 4.4 lbs (2.0 kg) | 3 | https://www.unikeyic.com/media/datasheet/7c/dc/9a09/7cdc9a093ece7a9e11092b5ba9a44900.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/tg2000/18825326.html
TG2511A | Aim and Thurlby Thandar Instruments | 1: 989.098 | Aim-TTi Signal Generator, Max Freq 25MHz, Output Amp 20Vpp, TTL Level 3V, RS232 Interface | [5 empty] | TG2511A Aim and Thurlby Thandar Instruments | [8 empty] | 270mm*250mm*97mm | [12 empty] | 1 | https://www.unikeyic.com/media/datasheet/14/3b/d5a5/14/3436b2c32e6e68702e888ccd33bb18bc.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/tg2511a/14295667.html
TG5011A | Aim and Thurlby Thandar Instruments | 1: 1724.274 | Aim-TTi Signal Generator, 50MHz Max Freq, 20Vpp Out, TTL 3V, RS232 | [5 empty] | TG5011A Aim and Thurlby Thandar Instruments | [8 empty] | 270mm*250mm*97mm |  |  | 40℃(max) | [9 empty] | 1 | https://www.unikeyic.com/media/datasheet/14/3b/d5a5/14/3436b2c32e6e68702e888ccd33bb18bc.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/tg5011a/21839844.html
TG5012A | Aim and Thurlby Thandar Instruments | 1: 1952.955 | Aim-TTi Signal Generator, Max Freq 50MHz, Output Amp 20Vpp, LAN, USB | [5 empty] | TG5012A Aim and Thurlby Thandar Instruments | [8 empty] | 295mm*250mm*97mm | [12 empty] | 4 | https://www.unikeyic.com/media/datasheet/14/3b/d5a5/14/3436b2c32e6e68702e888ccd33bb18bc.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/tg5012a/20159371.html
TGF4042 | Aim and Thurlby Thandar Instruments | 1: 1114.333 | Aim-TTi Signal Generator, 40MHz Max Freq, TTL Out 10Vpp, GPIB LAN USB | [5 empty] | TGF4042 Aim and Thurlby Thandar Instruments | [8 empty] | 250mm*295mm*97mm | [12 empty] | 1 | https://www.unikeyic.com/media/datasheet/86/19/5656/86195656e49905a5d32e3a7b6027ea58.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/tgf4042/6146446.html
TGF4082 | Aim and Thurlby Thandar Instruments | 1: 1306.129 | Aim-TTi signal generator, Maximum frequency range80MHz, TTL Output level10V Peak to peak value, GPIB，LAN，USBinterface | [5 empty] | TGF4082 Aim and Thurlby Thandar Instruments | [8 empty] | 250mm*295mm*97mm | [12 empty] | 1 | https://www.unikeyic.com/media/datasheet/86/19/5656/86195656e49905a5d32e3a7b6027ea58.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/tgf4082/27516896.html
TGF4162 | Aim and Thurlby Thandar Instruments | 1: 1831.9716 | Aim-TTi Signal Generator, Max Freq 160MHz, TTL Out 10Vpp, GPIB, LAN, USB | [5 empty] | TGF4162 Aim and Thurlby Thandar Instruments | [8 empty] | 250mm*295mm*97mm | [12 empty] | 4 | https://www.unikeyic.com/media/datasheet/ec/f7/6982/ec/8d9445d18e2edf308a57581ab06066d4.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/tgf4162/17701996.html
TGF4242 | Aim and Thurlby Thandar Instruments | 1: 2202.9084 | Aim-TTi Signal Generator, Max Freq 240MHz, TTL Out 10Vpp, GPIB/LAN/USB | [5 empty] | TGF4242 Aim and Thurlby Thandar Instruments | [8 empty] | 250mm*295mm*97mm | [12 empty] | 7 | https://www.unikeyic.com/media/datasheet/c0/6e/261e/c0/b9536f91fd62e069ba25a251561c8512.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/tgf4242/32968942.html
TGP110 | Aim and Thurlby Thandar Instruments | 1: 675.3859 | Aim-TTi Pulse Generator, 0.1 Hz to 10MHz, 10 kΩ Input Impedance | [6 empty] | Analog |  |  | 10 MHz |  | - |  |  |  |  | 1 |  | Box | 10456996 | - | Square, Pulse |  |  | - |  | 3.5 lbs (1.6 kg) | 3 | https://www.unikeyic.com/media/datasheet/a5/a7/8be2/a5a78be2b9b3ba68208fc27d34145c86.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/tgp110/18225843.html
TGP3121 | Aim and Thurlby Thandar Instruments | 1: 1978.0848 | Aim-TTi Pulse Generator, Freq 1mHz to 25 (Double Pulse) MHz, 50 (Pulse) MHz, Input Impedance 10kΩ | [6 empty] | Monochrome |  |  | 25 MHz |  | Arbitrary, Sweep |  |  |  |  | 1 |  | Box |  | TGP3100 | Sine, Square, Triangle, Ramp, Pulse, Sinc, Cardiac, Plus Logarithmic, Exponential, and Gaussian Shapes |  |  | - |  | 7.1 lbs (3.2 kg) | 1 | https://www.unikeyic.com/media/datasheet/9f/f8/5272/9ff8527247a3e37274aa305d9543646b.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/tgp3121/21501244.html
TGP3151 | Aim and Thurlby Thandar Instruments | 1: 2257.4052 | Aim-TTi Pulse Generator, Freq 1mHz to 25 (Double Pulse) MHz, 50 (Pulse) MHz, Input Impedance 10kΩ | [5 empty] | TGP3151 Aim and Thurlby Thandar Instruments | [8 empty] | 97mm(height) |  |  | 5℃~40℃ | [9 empty] | 1 | https://www.unikeyic.com/media/datasheet/b9/fe/fbb2/b9/c36d776625cd9ce8acc0d0f22799cab8.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/tgp3151/9284746.html
TGP3152 | Aim and Thurlby Thandar Instruments | 1: 2824.308 | PULSE GENERATOR, 2-CH, ARB/FUNC, 50MHZ; Signal Generator Type:Arbitrary, Function, Pulse; No. of Channels:2 Channel; Product Range:TGP3100 Series; Bandwidth:50MHz; Signal Generator Modulation:AM, BPSK, FM, FSK, PM, PDM, | [5 empty] | TGP3152 Aim and Thurlby Thandar Instruments | [8 empty] | 97mm(height) |  |  | 5℃~40℃ | [9 empty] | 4 | https://www.unikeyic.com/media/datasheet/02/f1/bb19/02/6fc2b65c4d0207572b0c7c9bd9f35556.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/tgp3152/19062867.html
TGR2053 | Aim and Thurlby Thandar Instruments | 1: 5317.7148 | RF SIGNAL GENERATOR, 150KHZ-3GHZ; | [27 empty] | 10 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/tgr2053/33153393.html
TLFG | B&K Precision | 1: 144.8004 | Function Generator Test Leads Set |  |  |  |  | BNC to BNC Cables, BNC Adapters, Test Leads | [8 empty] | Function Generator |  | Not Applicable |  |  | Pouch | 2057938 | TL | [6 empty] | 8 | https://www.unikeyic.com/media/datasheet/bc/46/0879/bc/d0f848d40673d8917a23518a80bc92bd.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/tlfg/16741723.html
XDG2035 | Owon Technology | 1: 616.4572 | 35MHz Arbitrary 2 Sine、Square wave、、、、 LCD | [5 empty] | XDG2035 Owon Technology | [21 empty] | 46 | https://www.unikeyic.com/media/datasheet/78/d9/73e7/78d973e726b1f67f8968b23a12ea28c1.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/xdg2035/23965084.html
XDG2100 | Owon Technology | 1: 822.286 | 100MHz Arbitrary 2 Sine、Square wave、、、、 LCD | [5 empty] | XDG2100 Owon Technology | [21 empty] | 42 | https://www.unikeyic.com/media/datasheet/1a/f4/bafc/1a/8538093d2e391a5f689dea5eaa5f4ea7.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/xdg2100/15522534.html
XDG3162 | Owon Technology | 1: 970.92 | 160MHz Arbitrary、 、DDS 2 Sine、Square wave、、、、 LCD | [27 empty] | 43 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/xdg3162/30338002.html
XSA1032-TG | Owon Technology | 1: 2374.92 | 9kHz ~ 3.2GHz (SNA) keep、maximum、min、Average、LAN、USB、VGA include | [27 empty] | 48 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/xsa1032-tg/20232007.html
XSA1036-TG | Owon Technology | 1: 2983.4881 5: 2969.0801 | RF ANLZ BENCH 9KHZ-3.6GHZ | [27 empty] | 47 | https://www.unikeyic.com/media/about_us/Unikey_ISO_9001_Certification.pdf | https://www.unikeyic.com/products/signal-generator-and-analyzer/xsa1036-tg/16568089.html